## Slide 1: Visualization of MR data
Tomáš Pšorn

## Slide 2: Takeaways
Visualization of multidimensional data might be domain independent
Visualization of multidimensional data should be domain specific, if needed
We need to have an insight into every step od MR data processing

## Slide 3: MR in medical imaging context
ultrasound
scintigraphy
computed tomography
magnetic resonance imaging
single-photon emission computed tomography
Prince, Medical Imaging Signals and Systems

## Slide 4: MR in my context
clinical imaging
Prince, Medical Imaging Signals and Systems
preclinical imaging

## Slide 5: Features of MR data
Multiple processing stages
Multidimensional matrices
Complex entries
Non-uniformly sampled
Various contrasts encoded within
Certain level of uncertainty

## Slide 6
image
map
k-space
measurement
reconstruction
processing
Try to somehow see something.
Visual analysis of specific anatomical features using generic software.
Decoding visually encoded information using method specific software.

## Slide 7: Features of MR data
Multiple processing stages
Multidimensional matrices
Complex entries
Non-uniformly sampled
Various contrasts encoded within
Certain level of uncertainty

## Slide 8: Multidimensional data
r-spatial.github.io/stars

## Slide 9: Meaning of MR dimensions
Spatial frequency [1/rad]
Space [mm]
Spectrum [Hz, ppm]
Coil
Time – repetition, echo, inversion
Diffusion
Average
Phase
Contrast
Segment
Kousi, E., et al. Novel Frontiers of Advanced Neuroimaging (2012)

## Slide 10
https://ilovesymposia.com/2019/10/24/introducing-napari-a-fast-n-dimensional-image-viewer-in-python/

## Slide 11: Features of MR data
Multiple processing stages
Multidimensional matrices
Complex entries
Non-uniformly sampled
Various contrasts encoded within
Certain level of uncertainty

## Slide 12: Complex entries
A
The key concept:
Information is encoded in the phase of signal. The encoding is done using spatially and temporarlly varying magnetic field.

## Slide 13
magnitude
phase

## Slide 14: Example of correction
Hetzer, S., et al. Magnetic Resonance in Medicine (2011)

## Slide 15: Example of correction
Broche, L. M., et al. Magnetic Resonance Imaging (2017)

## Slide 16: Can we spot the problem?

## Slide 17: Features of MR data
Multiple processing stages
Multidimensional matrices
Complex entries
Non-uniformly sampled
Various contrasts encoded within
Certain level of uncertainty

## Slide 18: k-space trajectory

## Slide 19
Normally you see a nice looking image, which is not what you normally get.
  “Standard“ methods are debugged, anything else is not.
  Data visualisazion infrastructure is the debugger.

## Slide 20: Features of MR data
Multiple processing stages
Multidimensional matrices
Complex entries
Non-uniformly sampled
Various contrasts encoded within
Certain level of uncertainty

## Slide 21: Susceptibility weighted imaging
SWI

## Slide 22
https://mriquestions.com/making-an-sw-image.html

## Slide 23: …A simple step to make sure that you always view the images, in the same way, is to look at venous structures and make sure they are of low signal (if bright you should invert the greyscale). Then window the image narrowly such that the image appears a little reminiscent of a dark CT of the brain…
https://radiopaedia.org/articles/susceptibility-weighted-imaging-1
Does a common user know, what it means?
Is it possible to easily perform such a task?

## Slide 24: functional MRI
fMRI

## Slide 25
https://mriquestions.com/fmri-paradigm-design.html

## Slide 26: Response to visual stimuli
https://mriquestions.com/visual.html

## Slide 27: Normalization
https://mriquestions.com/registrationnormalization.html

## Slide 28
C. M. Bennett et al. J. Serendipitous Unexpected Results (2010)

## Slide 29: Diffusion Tensor Imaging
DTI

## Slide 30
NIH/ The Human Connectome Project

## Slide 31
https://mriquestions.com/dti-tensor-imaging.html
NIH/ The Human Connectome Project

## Slide 32
Schultz, T., NMR in Biomedicine (2017)

## Slide 33: Magnetic Resonance Spectroscopy
MRS

## Slide 34
Wetterling F., et al., Key Engineering Materials (2013)
signal
spectrum

## Slide 35
mriquestions.com
carbon
phosphorus
hydrogen
Multi-nuclear spectroscopy

## Slide 36
Jansen J. F. A, et al., Radiology (2006)
Spectroscopic fitting

## Slide 37: Shimming a.k.a. optimization in 16 dimensional parametric space
Frank, M., 57th AES Int. Conf. (2015)
https://mriquestions.com/sizeshapes-of-peaks.html

## Slide 38: Chemical Shift Imaging
CSI

## Slide 39
Keevil, S. F., Physics in Medicine and Biology (2006)

## Slide 40
CSI:
a tumor study
Mader, MAGMA 1996

## Slide 41: Features of MR data
Multiple processing stages
Multidimensional matrices
Complex entries
Non-uniformly sampled
Various contrasts encoded within
Certain level of uncertainty

## Slide 42: Uncertainty visualization in DTI MRI
Schultz, T., NMR in Biomedicine (2017)

## Slide 43: Further reading
Interview with Craig Bennett – the dead salmon guy
A Bug in FMRI Software Could Invalidate 15 Years of Brain Research
Why does the spectroscopy axis run backwards?

## Slide 44: Takeaways
Visualization of multidimensional data might be domain independent
Visualization of multidimensional data should be domain specific, if needed
We need to have an insight into every step od MR data processing