Acid base and blood gas analyser

Vocabulary warm-up

1 Match the words in English with their translations:

1 unknown			 			ponořit

2 inner side			 			tenká vrstva

3 coated				 		dosáhnout

4 immerse			 			neznámý

5 plastic jacket			 		nylonová síťka

6 basically			 			vnitřní strana

7 nylon net			 			plastikový obal

8 uncharged molecules	 			tím

9 pass through			 			v zásadě

10 thin layer			 			projít skrz

11 reach 				 		nenabité molekuly, molekuly bez náboje

12 thereby			 			potažený

Reading

1 Read the text and complete the gaps with the words from the box:

electrode uncharged partial analysers diffuse electrolyte solution

Most acid base and blood gas ___________(1) measure pH, pCO2, pO2 by means of selective electrodes.

pH electrode

A pH electrode is a glass ________(2) with a pH-sensitive glass membrane to seal its tip. On the inner side of the membrane is a buffer solution with constant pH. A silver wire coated with AgCl is immersed in this solution and, via a plug, connected to the measuring instrument. On the other side of the glass membrane is a ___________(3) of unknown pH (the sample).

pCO2 electrode

pCO2 is defined as the _________ (4) pressure of CO2 in a gas phase in equilibrium with the blood, and is measured by a pCO2 electrode.

A pCO2 electrode is a combined glass and silver/silver chloride (Ag/AgCl) reference electrode placed in a plastic jacket, which is filled with a bicarbonate_________ (5). The jacket is covered with a 20 μm silicon membrane placed on a 50 μm nylon net.

The pCO2 electrode is basically a pH electrode with a silicon membrane added. This membrane allows only ___________(6) molecules (i.e. CO2, O2, N2) to pass through it. Charged ions, such as H+, will not pass. Consequently, dissolved CO2 from the sample will __________(7) into the thin layer of bicarbonate electrolyte until equilibrium is reached.

2 Now answer these questions:

1 What are the electrodes made of?

2 Where on the electrode is the glass membrane?

3 Does the pH in the buffer solution change?

4 What is the role of the silver wire?

5 Where is the bicarbonate electrolyte situated?

6 What is the difference between a pCO2 electrode and a pH electrode?

7 What kind of molecules pass through the silicon membrane?

8 How long do the CO2 molecules move into the bicarbonate electrolyte?

Grammar Point

A Adjectives and Adverbs – Comparison

Complete the sentences using comparative or superlative forms:

1. This coffee is very weak. I like it a bit …. .........

2. The hotel was surprisingly big. I expected it to be …. ……………

3. The hotel was surprisingly cheap. I expected it to be …. ………………

4. Don’t worry. The situation isn’t so bad. It could be …. …………….

5. This is the …. film I have ever seen.

6. You were a bit depressed yesterday, but you look …............... today. (good)

7. My mother is ……………….. than my father. (old)

8. Our shop has the …. …………….prices. (low)

9. Frying is the ……………... way of cooking. (healthy)

10. Spring is …………………. of the four seasons. (beautiful)

B Expressing “už ne/ještě ne” in English

Translate into English:

1. Už mi nepíše_____________________________________________________________.

2. Už to nechci slyšet!________________________________________________________

3. Už spolu nechodí.___________________________________________________________

4. Chceš znát odpověď? Ne, ještě ne._____________________________________________

5. Ještě na tom nepracuji._______________________________________________________