## Slide 1: Examination techniques in ophthalmology E. Vlková et al.

## Slide 2: Basic examination techniques
Visual acuity (natural, best corrected)
Measurement of intraocular pressure
Slit lamp examination
Fundus examination

## Slide 3: Visual acuity
Visual acuity (natural, best corrected)
Distance vision
Near vision
Charts
Snellen
Landolt ring
Pictures
ETDRS
Jaeger

## Slide 4: Charts

## Slide 5: Near vision
Jaeger chart

## Slide 6: Visual acuity
Counting finger (metres )
Hand movement
Light perception

## Slide 7: Visual Acuity
5/50 (metres, feet 20/200)
0,1
Minimum separabile – minimum angle of resolution

## Slide 8
Refractive error is an optical abnormality in which the shape of the eye fails to bring light into sharp focus on the retina, resulting in blurred or distorted vision.
In optometry, a "refraction" procedure is the measurement of refractive error
Autorefractor
Refraction

## Slide 9: Visual acuity
Frame
Lenses

## Slide 10: Tonometry
Contact techniques
Schiötz tonometry
Goldmann applanation tonometry
Non contact techniques
Jet air (air puff)

## Slide 11: Schiötz tonometry
7/7,5
Topical anestesia

## Slide 12: Schiötz tonometry

## Slide 13: Goldmann tonometry
The normal range is 10-21 mmHg
Topical anestesia, fluorescein
Force required to flatten the cornae

## Slide 14: Goldmann tonometry

## Slide 15: Non contact tonometry

## Slide 16: Examination of anterior segment
Aspection

## Slide 17: Slit lamp biomicroscopy
table mounted microscope with a special adjustable illumination source attached

## Slide 18: Slit lamp biomicroscopy
duhovka

## Slide 19: Slit lamp biomicroscopy
,

## Slide 20: Fuchs endotelial dystrophy

## Slide 21: Synechiae posterior

## Slide 22: Sunconjunctival haemorrhage

## Slide 23: Corneal abrasion

## Slide 24: Hyphema

## Slide 25: Hypopyon

## Slide 26: Examination of fundus
Ophthalmoscopy - direct
- indirect
Slit lamp biomicrocsopy
(high power convex lens, the image is vertically inverted
and laterally reversed)

## Slide 27
Notes: 27

## Slide 28
Ocular fundus

## Slide 29
Special examination techniques

## Slide 30: Gonioscopy
Gonio lens ( mirrors)
Angle structures
Fundus examination
Notes: 30

## Slide 31
Notes: 31

## Slide 33
ERG (electroretinography)
diagnosis of functional defects of retina
Record of an action potential produced by the retina when it is stimulated by light
VEP (visual evoked potential)
-diagnosis of functional defects of visual pathways
Record of electrical activity of the visual cortex created by stimulation of the retina
Electrophysical tests

## Slide 34: Electrophysical tests

## Slide 35: Electrophysical tests

## Slide 36: Ultrasound

## Slide 37: Ultrasound
Non transparent optical media
UBM- high frequency ultrasound – imaging of anterior segment

## Slide 38
A scan ( biometry)
B scan

## Slide 39: Ultrasound

## Slide 40: Color vision – HUE test

## Slide 41: Hertl exoftalmometry

## Slide 42
Děkuji za pozornost!