## Slide 1: Photoplethysmographic blood presure measurement
Peňáz´s method, volume-clamp method

## Slide 2: Principle of continual blood pressure measurement
Arterial lumen (finger volume)
Pressure in the cuff
Control system
Constant finger volume
pressure
Before application of control system
Control system:
Correction of the pressure in the finger cuff according to the arterial lumen changes.
Aim: maintaining of constant arterial lumen through pressure changes in the cuff.
application of control system
cuff

## Slide 3
SBP
DBP
150/90
127/92

## Slide 4: Extrasystoles
supraventricular
ventricular

## Slide 5: Orthostatic hypotension

## Slide 6: Valsalva manoeuvre

## Slide 7: See videos: oscilometric method of BP measurement https://www.youtube.com/watch?v=Y-NvovSaWTc&t=113s BP changes during smoking https://www.youtube.com/watch?v=J5vPJPfNH3k&t=1s

## Slide 8: Baroreflex
Fast regulation of arterial blood pressure by changes of heart rate and peripheral vascular resistance

## Slide 9
peripheral (vascular, sympathetic) branch of baroreflexu
Cardiac (parasympathetic) branch
Baroreflex
heart
signal: heart rate
arteries
signal: blood pressure
resistance arteries
signal: peripheral resistance
CNS: vasomotor centre
CNS: kardiomotor centre

## Slide 10: Baroreflex sensitivity, BRS
RR interval
BRS:
slope
RR
SBP
R
ECG
HR
BRSf:
slope
SBP
SBP
Blood pressure
DBP
BRS: change of cardiac cycle caused by SBP change by 1 mmHg [ms/mmHg]
Evaluation of cardiac baroreflex function through SBP and heart rate (cardiac cycle) changes

## Slide 11: Evaluation of BRS
Standard(oxford) method:
- Application of phenylephrine (vasoconstrictor)
normal BRS
RR
STK
RR
STK
decreased BRS

## Slide 12
Physiologically
  psychic stress – increased sympathetic activity
  Physical exercise – increased sympathetic activity
  In old age
Pathologically
  hypertension – decreased baroreceptor sensitivity (atherosclerosis, increased arterial stiffness)
  diabetes – neuropathy of autonomic nervous system
  Chronic depression (neurogenic)
  Heart insufficiency/failure – heart do not response
  Transplanted heart - denervation
  Myocardial infarction – heart do not response
Decreased BRS

## Slide 13
Signal: time series
Beat to beat (for example 5 minutes)
RR interval: 805, 820, 815, 817, 822, 816,….. ms
Hear rate: 70, 73, 68, 65, 67, 71,….. bpm
Systolic blood pressure: 115, 117, 120, 116, 121, 119,….. mmHg
SBP
[mmHg]
RR
[ms]
700
800
900
110
120
130
20
40
60
80
100
120 s
RR interval
R
ECG
SBP
Blood pressure
DBP

## Slide 14
Frequency domain methods – spectral analysis
Spectrum
Signal in frequency domain
Time series
Signal in time domain
Signal is decomposed in individual frequencies
amplitude
time (s)
50
40
30
20
0
10
0.5
0.4
0.3
0.2
0
0.1
amplitude
frequency (Hz)

## Slide 15
Spectrum
Signal in frequency domain
Time series
Signal in time domain
Signal is decomposed in individual frequencies
amplitude
time (s)
50
40
30
20
0
10
0.5
0.4
0.3
0.2
0
0.1
amplitude
frequency (Hz)
Frequency domain methods – spectral analysis

## Slide 16
amplitude
time (s)
frequency (Hz)
T=50 s
T=10 s
T=3 s
a=0.5
a=0.3
a=0.2
period T
amplitude a
frequency f = 1/T
f = 1/3 = 0.33 Hz
f = 1/10 = 0.1 Hz
f = 1/50 = 0.02 Hz
0.5
0.2
0.3
+
+
=
+
+
=
0.5
0.2
0.3
0.33
0.02
0.1
f = 0,02 Hz
f = 0,1 Hz
f = 0,33 Hz
Spectrum
Frequency domain
Time domain
How the spectrum is formed?

## Slide 17
Physiological significance – frequency bands
High frequency (HF)
Intrathoracal pressure changes influencing blood pressure
Very low frequency (VLF)
Low frequency (LF)
Slow hormonal changes, RAS, changes of vascular tonus
Respiratory sinus arrhythmia
baroreflex
band:
Respiratory frequency
baroreflex
Systolic blood pressure
Heart rate
0.5
0.4
0.3
0
0.1
0.2
0
0,04
0,08
0,12
0
0,0
0,2
Spectrum SBP (n.u.)
Spectrum HR (n.u.)
Variability source: respiration
Variability source:

## Slide 18
High frequency (HF)
Intrathoracic pressure changes influencing blood pressure
Very low frequency (VLF)
Low frequency (LF)
Respiratory sinus arrhythmia
baroreflex
band:
baroreflex
Systolic blood pressure
Heart rate
0.5
0.4
0.3
0
0.1
0.2
0
0,04
0,08
0,12
0
0,0
0,2
Spectrum SBP (n.u.)
Spectrum HR (n.u.)
parasympathetic activity
Sympathetic activity
Time lag < 1 s
Time lag > 6 s
Slow oscillations
Fast oscillations

## Slide 19
High frequency (HF)
Very low frequency (VLF)
Low frequency (LF)
band:
Systolic blood pressure
Heart rate
0.5
0.4
0.3
0
0.1
0.2
0
0,04
0,08
0,12
0
0,0
0,2
Spectrum SBP (n.u.)
Spectrum HR (n.u.)
parasympathetic activity
Sympathetic activity
Time lag < 1 s
Time lag > 6 s
Slow oscillations
fast oscillations
baroreflex
Mechanical transfer
CNS (n. vagus)
Thoracic pressure changes
Changes of TPR
(sympathetic nerves)
???

## Slide 20
Blood pressure signal (270 s)
time (s)
Blood pressure (mmHg)
Krevní tlak (mmHg)
Sitting, paced breathing
Standing, paced breathing
Meyer waves (10 s rhythm)
respiration

## Slide 21
sequentions of SBP, DBP and inter-beat intervals
time (s)
BP (mmHg)
Sitting, paced breathing
Standing, paced breathing
IBI (ms)
BP (mmHg)
IBI (ms)

## Slide 22
Spectra of SBP and IBI
SBP
Sitting, paced breathing
Standing, paced breathing
0,1 Hz
Sympathetic activity
Respiratory frequency vagal activity
IBI
↓symp. act., ↑vagal act.
↑ symp. act., ↓vagal act.
frequency (Hz)
SBP
IBI

## Slide 23
Coherence a BRS
frequency (Hz)
Sitting, paced breathing
Standing, paced breathing
coherence
BRS (ms/mmHg)
coherence
BRS (ms/mmHg)
0,1 Hz
baroreflex
Respiratory frequency
coherence: synchronization between signals (correlation on particular frequency)