## Slide 1
Arterial stiffness

## Slide 2
INTIMA
MEDIA
ADVENTITIA
MEDIA + ADVENTITA - responsible for arterial stiffness
Stiffness is ability to resist distension when a force is applied to it.
Compliance
COMPLIANCE

## Slide 3
COMPLIANCE
Endothelial cells:
endothelial dysfunction
↑ permeability
Intima:
↑ collagen
↓ elastin
↑ AGE`s, TGF-β, VSMC
Media:
↑ collagen
↓ elastin
↑ AGE`s, MMP, VSMC
Adventicia:
↑ collagen
fibroblasts
Extrinsic influences

## Slide 4
MEASUREMENT OF THE
COMPLIANCE
Indirect ways
Ultrasound
Sphygmography (PWV a PWA)
CAVI measurement
Bioimpedance

## Slide 5
ULTRASOUND MEASUREMENT
5
Intima Media Thickness (IMT)
věk
IMTR (mm)
IMTL (mm)

## Slide 6
ULTRASOUND MEASUREMENT
6
6
β – index measurement

## Slide 7
CAVI MEASUREMENT
7

## Slide 8
CAVI MEASUREMENT

## Slide 9
PWV MEASUREMENT
A highly compliant aorta has a relatively low PWV (< 6 m/s)
PWV = distance (m) / transit time (s)
transit time = t2 – t1

## Slide 10: PULSE WAVE

## Slide 11: PULSE WAVE

## Slide 12: PULSE WAVE

## Slide 13
P1 corresponds to the pressure at peak systolic flow and is usually identified by the first shoulder of the pressure wave.
P2 corresponds to the peak of the reflected wave and is usually identified by the peak of the pressure wave after the first shoulder.
PULSE WAVE ANALYSIS

## Slide 14
PULSE WAVE ANALYSIS
14
Higher values of AP and AIx indicate increased wave reflection from the periphery and/or early return of the reflected wave as a result of increased pulse wave velocity (due to increased arterial stiffness)

## Slide 15
Čas [s]
Tlak [mmHg]
SBP
DBP
TTI
DTI
PULSE WAVE ANALYSIS
SEVR>140%
PBP
TTI - Tension Time Index (area under systolic part of the pulse curve)
DTI - Diastolic Time Index (area under diastolic part of the pulse curve)
SEVR - Buckberg Sub-Endocardial Viability Ratio – subendocardial blood supplying

## Slide 16
PULSE WAVE ANALYSIS