## Slide 1: Lectures on Medical Biophysics
Nuclear medicine and radiotherapy

## Slide 2: Nuclear medicine and radiotherapy
In this lecture we deal with selected methods of nuclear medicine and radiotherapy including their theoretical background:
Radioactive decay
Interactions of ionising radiation with matter
Biological effects of ionising radiation
Nuclear medicine
  Simple metabolic examinations
  Imaging
Radiotherapy
  Sources of radiation – radioactive and non-radioactive
  Methods of radiotherapy

## Slide 3: Radioactivity
Radioactivity or radioactive decay is the spontaneous transformation of unstable nuclei into mostly stable nuclei. This is accompanied by the emission of gamma photons, electrons, positrons, neutrons, protons, deuterons and alpha particles. In some transformations, neutrinos and antineutrinos are produced. Unstable nuclei can be found naturally or created artificially by bombarding natural stable nuclei with e.g. protons or neutrons.
Radioactive decay has a stochastic character: it is not possible to determine which nucleus will decay at what time (see tunnel effect).

## Slide 4: Laws valid for radioactive decay
Law of mass-energy conservation
Law of electric charge conservation
Law of nucleon number conservation
Law of momentum conservation
……………………

## Slide 5: Law of radioactive decay
The activity A of a radioactive sample at a given time (i.e, the number of nuclei disintegrating per second, A = dN/dt) is proportional to the total number of undecayed nuclei present in the sample at the given time:
is the decay or transformation constant
Units of A are becquerel (Bq) [disintegrations per second, s-1]
(in the past: curie, 1 Ci = 3.7·1010 Bq)
The negative sign indicates that the number of undecayed nuclei is decreasing.

## Slide 6: Law of radioactive decay
This equation is solved by integration:
Nt = N0·e-l.t
A more useful equation for nuclear medicine and radiotherapy is (obtained by dividing the above equation by dt on both sides):
At = A0·e-lt A is activity

## Slide 7: Physical half-life
Tp – time in which the sample activity At decreases to one half of the initial value A0. Derivation:
A0/2 = A0·e-lTp thus ½ = e-lTp
taking logarithm of both sides of the equation and rewriting:
Tp = ln2/lp thus Tp = 0.693/lp

## Slide 8: Biological and effective half-life
Tb – biological half-life – time necessary for the physiological removal of half of a substance from the body
lb – biological constant – relative rate of a substance removal
Biological and physical processes take place simultaneously. Therefore, we can express the Tef – effective half-life and
lef – effective decay constant
The following equations hold: lef = lb + lp and 1/Tef = 1/Tp + 1/Tb ,
thus

## Slide 9: Technetium generator
An example of practical importance of the radioactive equilibrium in clinical practice – production of technetium for diagnostics: Mo-99 half-life is 99 hrs., Tc-99m half-life is 6 hrs.
During radioactive decay, a daughter radionuclide is produced. In cases when the half-life of the parent radionuclide is much longer than the half-life of the daughter radionuclide both parent and daughter end up with the same activity (radioactive equilibrium).
l1N1 = l2N2

## Slide 10: Classes of radioactive decay
a (alpha) decay
Seaborgium transforms in rutherfordium. Helium nucleus – a particle – is liberated. Daughter nucleus recoils as a consequence of the law of momentum conservation. (http://www2.slac.stanford.edu/vvc/theory/nuclearstability.html)

## Slide 11: Classes of radioactive decay
b (beta) decay = emission of an electron or positron
K-capture
b decay is an isobaric transformation in which besides the b particles are formed also neutrinos (electron antineutrino or electron neutrino ne)
Radioactive decay

## Slide 12: Classes of radioactive decay
(gamma) decay
Transformation of dysprosium nucleus in excited state
The other classes of radioactive decay:
Emission of proton, deuteron, neutron …
Fission of heavy nuclei

## Slide 13: Interaction of ionising radiation with matter
The interaction of radiation with matter is usually accompanied by the formation of secondary radiation which differs from the primary radiation by lower energy and often also by kind of particles.
Primary or secondary radiation directly or indirectly ionises the medium, and creates also free radicals.
A portion of the radiation energy is always transformed into heat.
The energy loss of the particles of primary radiation is characterised by means of LET, linear energy transfer, i.e. energy loss of the particle in given medium per unit length of its trajectory. The higher the LET the more damaging is the radiation to tissues and the higher the risk from the radiation.

## Slide 14: Attenuation of X / gamma radiation
When a beam of X or gamma radiation passes through a substance:
absorption + scattering = attenuation
A small decrease of radiation intensity -dI in a thin substance layer is proportional to its thickness dx, intensity I of radiation falling on the layer, and a specific constant m:
-dI = I.dx.m
After rewriting:
dI/I = -dx.m
After integration:
I = I0·e-mx
I is intensity of radiation passed through the layer of thickness x, I0 is the intensity of incident radiation, m is linear coefficient of attenuation [m-1] (depending on photon energy, atomic number of medium and its density).

## Slide 15: Interactions of photon radiation (X-rays and gamma rays)
Photoelectric effect and Compton scattering – see the lecture on X-ray imaging.
Electron - positron pair production (PP) – very high energy photons only. The energy of the photon is transformed into mass and kinetic energy of an electron and positron. The mass-energy E in each particle is given by:
E = m0 c2 (= 0.51 MeV),
m0 is rest mass of an electron / positron (masses of electron and positron are equal), c is speed of light in vacuum. Energy of the photon must be higher than twice the energy calculated using the above formula (1.02 MeV). We can write:
E = hf = (m0c2 + Ek1) + (m0c2 + Ek2)
Terms in brackets: mass-energies of created particles, Ek1 a Ek2 kinetic energies of these particles.
The positron quickly interacts (annihilates) with any nearby electron, and two photons originate, each with energy of 0.51 MeV.

## Slide 16: Electron - positron pair production

## Slide 17: Interaction of corpuscular radiation with tissue
b radiation = fast electrons or positrons – ionise the medium as in X-ray production. Trajectory of a b particle is several millimetres in aqueous medium.
a radiation ionises directly by impacts. There is formed big number of ions along its very short trajectory in medium (mm) – so it loses energy very quickly along a short trajectory (= very high LET) .
Neutrons ionise by elastic and non-elastic impacts (scatter) with atomic nuclei. The result of an elastic scatter differs according to the ratio of neutron mass and atom nucleus mass. When a fast neutron hits the nucleus of a heavy element, it bounces off almost without energy loss. Collisions with light nuclei lead to big energy losses. In non-elastic scatter, the slow (moderated, thermal) neutrons penetrate into the nucleus, and if they are emitted from it again, they do not have the same energy like the incident neutrons. They can lead to the emission of other particles or fission of heavy nuclei.

## Slide 18: Main quantities and units for measurement of ionising radiation
Absolute value of particle energy is very small. Therefore, the electron volt (eV) was introduced. 1 eV is the kinetic energy of an electron accelerated from rest by electrostatic field of the potential difference 1 volt.
1 eV = 1.602·10-19 J.
Energy absorbed by the medium is described by absorbed dose (D) - unit gray, Gy). It is the amount of energy absorbed per unit mass of tissue. Gray = J·kg-1
Dose rate expresses the absorbed dose in unit time [J·kg-1·s-1]. The same absorbed dose can be reached at different dose rates during different time intervals.
The radiation hazard to biological objects depends mainly on the absorbed dose and the type of radiation. The radiation weighting factor is a number which indicates how hazardous a type of radiation is (the higher the LET the higher the radiation weighting factor).
Equivalent dose De is defined as the product of the absorbed dose and the radiation weighting factor. The unit of Equivalent dose is the sievert (Sv).
Effective dose (Sv) – kind of irradited tissue is also considered.

## Slide 19: Biological effects of ionising radiation
Physical phase – time interval of primary effects. Energy of radiation is absorbed by atoms or molecules. Mean duration is about 10-16 s.
Physical-chemical phase – time interval of intermolecular interactions (energy transfers). About 10-10 s.
Chemical (biochemical) phase – free radicals are formed. They interact with important biomolecules, mainly with DNA and proteins. About 10-6 s.
Biological phase – a complex of interactions of chemical products on various levels of the living organism and their biological consequences. Depending on these levels, the duration ranges from seconds to years.

## Slide 20: Biological effects of ionising radiation
Direct action (hits) – physical and physical-chemical process of radiation energy absorption, leading directly to changes in important cellular structures. It is the most important action mechanism in cells with low water content. Theory of direct action is called target theory. It is based on physical energy transfer.
Indirect effects are mediated by water radiolysis products, namely by free radicals H* a OH*. It is most important in cells with high water content. The free radicals have free unpaired electrons which cause their high chemical reactivity. They attack chemical bonds in biomolecules and degrade their structure. Theory of indirect action – radical theory – is based on chemical energy transfer.

## Slide 21: Effects on the cell
In proliferating cells we find these levels of radiation damage:
Transient stopping of proliferation
Reproductive death of cells (vital functions are maintained but proliferation ability is lost)
Instantaneous death of cells
Cell sensitivity to ionising radiation (radiosensitivity), or their resistance (radioresistance) depends mainly on the repair ability of the cell.

## Slide 22: Effects on the cell
Factors influencing biological effects in general:
Physical and chemical: equivalent dose, dose rate, temperature, spatial distribution of absorbed dose, presence of water and oxygen.
Biological: species, organ or tissue, degree of cell differentiation, physiological state, spontaneous ability of repair, repopulation and regeneration.
Sensitivity of cells is influenced by:
Cell cycle phase (S-phase!)
Differentiation degree. Differentiated cells are less sensitive.
Water and oxygen content. Direct proportionality (+,+)
Very sensitive are e.g. embryonic, generative, epidermal, bone marrow and also tumour cells

## Slide 23: Tissue sensitivity
lymphatic
spermatogenic epithelium of testis
bone marrow
gastrointestinal epithelium
ovaries
cells of skin cancer
connective tissue
liver
pancreas
kidneys
nerve tissue
brain
muscle
Arranged according to the decreasing radiosensitivity:
Typical symptoms of radiation sickness:
1. Non-lethal – damage to the erythropoiesis (bone marrow), effects on gonads
2. Lethal – gastrointestinal syndrome (damaged epithelium), skin burning, damage to suprarenal glands, damaged vision, nerve syndrome (nerve death)
Late sequels – cumulative – genetic damage, cancer

## Slide 24: Nuclear medicine
Nuclear medicine
  Simple metabolic examinations
  Imaging

## Slide 25: Scintillation counter and scintigraphy (history of medicine)
Scintillation counter consisted of a scintillation detector, mechanical parts and a lead collimator. The collimator enabled the detection of radiation only from a narrow spatial angle, in which the examined body part was located. Signals of the detector were amplified, counted and recorded.
Scintigraphy was used mostly for examination of kidneys and thyroid gland – by means of gamma-emitters: iodine-131 or technetium-99m. Tc-99m has a short half-life (6 hours vs. 8 days in I-131). Technetium is prepared directly in dept. of nuclear medicine in technetium generators.
Iodine used for thyroid was administered as KI, for kidneys was used technetium-labelled DTPA (diethylen-triamin-penta-acetic acid). Tc-99m is almost an ideal diagnostic radionuclide – fastly excreted, short half-life, almost pure gamma rays. (Iodine-131 produces also b-particles which increases radiation dose without any benefit). Recently, I-123 with half-life of 13.27 hours is also used in SPECT.

## Slide 26: Scintigraph (history of medicine)

## Slide 27: The Gamma Camera
thin (about 1.5 cm) NaI phosphor crystal
photomultiplier tubes
(now being replaced by a flat digital sensor)
parallel hole Pb collimator for localisation
MCA

## Slide 28: Gamma-camera (Anger camera)
The digital sensor / photomultiplier signals carry information about the position of the scintillation events. However, a defined point on the crystal has to correspond with defined point of the examined body part – we obtain an image of radionuclide distribution in the body. This can be achieved only by collimators.
Anger cameras show the radionuclide distribution very quickly. Therefore they can be used for observation of fast processes, including blood flow in coronary arteries. They can also move along the body. Physiologic (functional) information is obtained or metastases found (if the radionuclide is entrapped there, mainly technetium-99m or iodine-123).
A whole body scan showing metastases of a bone tumour

## Slide 29: SPECT – single photon emission computed tomography
Photons of radiation are detected from various directions, which allows reconstruction of a cross-section.
Most frequent arrangements and movements of detectors:
  Anger scintillation camera revolves around the body.
  Many detectors are arranged around the body in a circle or square. The whole system can revolve around the body in a spiral (helix).

## Slide 30: Principle of SPECT
An object with a radiation source Z (captured technetium compound) is surrounded by scintillation detectors F with collimators K. The collimators allow detection only of gamma-rays falling normally onto the detector blocks. It enables us to localise the source of rays.
In SPECT, common sources of radiation (mainly technetium-99m) are used.

## Slide 31: SPECT – images http://www.physics.ubc.ca/~mirg/home/tutorial/applications.html#heart
Perfusion of heart in different planes. „Hot“ regions are well blood supplied parts of the heart
Brain with „hot“ regions

## Slide 32: PET - positron emission tomography
In PET, positron emitters are used. They are prepared in accelerators, and their half-lives are very short – max. hours. For that reason, the examination must be done close to the accelerator, in a limited number of medical centres.
The positrons travel only very short distance, because they annihilate with electrons forming two gamma photons (0.51 MeV), which move in exactly opposite directions. These photons can be detected by two opposite detectors connected in a coincidence circuit. Voltage pulses are recorded and processed only when detected simultaneously in both detectors. Detectors scan and rotate around the patient's body.
The spatial resolution of PET is substantially higher than in SPECT. The positron emitters are attached to e.g. glucose derivatives, so that we can obtain also physiological (functional) information. PET of brain visualises those brain centres which are at the moment active (have increased uptake of glucose). PET allows to follow CNS activity on the level of brain centres.

## Slide 33: PET principle
Explanation of the high spatial resolution of PET: The opposite detectors in a coincidence circuit. A source of radiation Z is detected only when lying on a line connecting the detectors. Detector A but not the detector B can be hit through a collimator from the source Z2, because this source is outside the detection angle of B. In SPECT, the signal detected by A from Z1 would be partially overlapped by the signal coming from source Z2.
More realistic scheme

## Slide 34: Functional PET of brain http://www.crump.ucla.edu/software/lpp/clinpetneuro/lggifs/n_petbrainfunc_2.html
resting
Music – a non-verbal acoustic stimulus
Visual stimulus

## Slide 35
intensive thinking
remembering a picture
skipping on left leg

## Slide 36: Brain tumour - astrocytoma
FDG – fluorodeoxyglucose, F-18

## Slide 37: Radiotherapy
  Sources of radiation
– radioactive
- non-radioactive
  Methods of radiotherapy

## Slide 38: Sources of radiation - radioactive
Artificial radionuclides are used. The source is in direct contact with a tissue or is sealed in an envelope (open or closed sources).
The open sources:
  (1) Can be applied by metabolic way. Therapy of thyroid gland tumours by radioactive iodine I-131, which is selectively captured by the thyroid.
  (2) Infiltration of the tumour by radionuclide solution, e.g. a prostate tumour by the colloid gold Au-198. This way of application is seldom used today as well.
The closed sources are more widely used today:
  (1) Needles with a small amount of radioactive substance. They usually contain cobalt Co-60 or caesium Cs-137. The needles are applied interstitially (directly into the tumour).
  (2) The sources are also inserted into body cavities (intracavitary irradiation - afterloaders).
  (3) Large irradiation devices (‘bombs’) for teletherapy. The radionuclide is enclosed in a shielded container. The radioactive material is moved into working position during irradiation. The most commonly used are cobalt Co-60 or caesium Cs-137. These devices are obsolete today.

## Slide 39: „The cobalt bomb“
In 1951, Canadian Harold E. Johns used cobalt-60 for therapy first. Becomes history of medicine.

## Slide 40: „The cobalt bomb“ http://www.cs.nsw.gov.au/rpa/pet/RadTraining/
Radiotherapy

## Slide 41: Leksell Gamma Knife (still used)
1951 – idea of radiosurgery by L. Leksell of Sweden
The Leksell Gamma Knife is used for treatment of some brain tumours and other lesions (aneurysms, epilepsy etc.)
201 Co60 sources are placed in a central unit with diameter of 400 mm in 5 circles, which are separated by the angle of 7.5 degree. Each beam is collimated by a tungsten collimator with a conical channel and a circular orifice (4, 8, 14 a 18 mm in diameter). The focus is in the centre where all the channel axes (beams) intersect. The beams converge in the common focus with accuracy of 0.3 mm.
The treatment table is equipped by a movable couch. The patient‘s head is fastened in the collimator helmet. It is attached to the couch, which can move inside the irradiation area.

## Slide 42
Leksell Gamma Knife
http://www.nrc.gov/images/reading-rm/photo-gallery/20071114-040.jpg

## Slide 43: Leksell Gamma Knife
A Leksell stereotactic coordinate frame is attached to patient‘s head by means of four vertical supports and fixation screws. The head is so placed in a 3D coordinate system, where each point is defined by coordinates x, y, z. Their values can be read on the frame. The target area can be located with an accuracy better than ± 1 mm.
A radiological image of the lesion is transferred to the planning system which calculates the total dose from all the 201 sources. By connecting of points with the same dose a curve – isodose – is constructed. The borders of treated lesion should correspond with isodose showing 50-70% of dose maximum. The isodoses copy precisely the outlines of the pathologic lesion in tomographic scans.

## Slide 44
Leksell Gamma Knife

## Slide 45
Leksell Gamma Knife

## Slide 46: Afterloader works with Ir-192. An instrument for safe intracavitary irradiation.
https://www.saginova.info/saginova_afterloader/
(the mentioned phantom is not displayed here)

## Slide 47: Radiation sources – non-radioactive
X-ray tube devices: Therapeutic X-ray tubes differ in construction from diagnostic X-ray tubes. They have larger focus area, robust anode and effective cooling. They are (were) produced in three sorts:
  low-voltage (40 - 100 kV) for contact surface therapy. The radiation is fully absorbed by a soft tissue layer 2 - 3 cm thick. e.g., Chaoul lamp.
  medium-voltage (120 - 150 kV) for brachytherapy – from distance of max. 25cm. They were used to irradiate tumours at max depth 5 cm.
  ortho-voltage (160 - 400 kV) for teletherapy (deep irradiation from distance). These have been replaced by the radionuclide sources and accelerators.
B) Electron Accelerators: X-rays with photon energy above 1 MeV and g-radiation with photon energy above 0.66 MeV are used for megavoltage therapy. Their sources are mainly electron accelerators. The accelerated electrons are usually not used for direct irradiation but the production of high-energy X-rays.

## Slide 48: The linear accelerator
CLINAC 2100C in Masaryk memorial institute of oncology in Brno

## Slide 49: The linear accelerator http://www.cs.nsw.gov.au/rpa/pet/RadTraining/MedicalLinacs.htm

## Slide 50: The cyclotron
Z – source of the accelerated particles (protons),
D1 and D2 – duants or dees,
G - generator of high-frequency voltage.
The cyclotron frequency formula

## Slide 51: The cyclotron http://www.aip.org/history/lawrence/first.htm
1933 – one of the first cyclotrons in background
Ernest O. Lawrence (1901-1958)

## Slide 52: CyberKnife
https://ohfoundation.ca/be-inspired/cyberknife-destroys-inoperable-tumours/
Small but extremely precise linear accelerator!

## Slide 53: The cyclotron in oncology – proton (hadron) therapy
The Sumitomo cyclotron
Radiotherapy

## Slide 54: Hadron radiotherapy
Hadrons (protons and light ions) lose their energy mainly in collisions with nuclei and electron shells. The collisions with electrons are dominant for energies used in radiotherapy. The energy deposited is indirectly proportional to the second power of hadron velocity. It means practically that the hadrons deposit most of their energy shortly before end of their tracks in the tissue. This fact is exploited in hadron therapy because (in contrary to the conventionally used photons) the tissues lying in front of the Bragg peak receive a much smaller dose compared with the target area. The tissues behind the target are not irradiated. The target can be precisely determined and thus damage to the surrounding healthy tissue is minimised. The Bragg peak area is given by energy of the particle. In therapy, the necessary penetration depth is about 2 – 25 cm, which corresponds to an energy of 60 – 250 MeV for protons and 120 – 400 MeV for light ions.

## Slide 55: Radiotherapy planning for X-ray beams
After tumour localisation, the radiotherapist determines the best way of irradiation in co-operation with a medical physicist. The tumour has to receive maximum amount of radiation but the healthy tissues should be irradiated minimally and some should be totally avoided. When irradiating the tumour from only one side, the tissues in front of it would receive higher dose than the tumour and the near side of the tumour more than the far one. That is why irradiation is performed from different directions. The skin area, through which the radiation beam enters the body, is called the irradiation field; irradiation from different directions (2, 3, 4) is called multi-field treatment. In some cases (tumours of oesophagus and prostate) the multi-field treatment is replaced by moving beam treatment – the source of radiation moves above or around the patient in circle or arc (tumour-centred) during irradiation. The radiotherapeutic plan involves the energy of radiation, daily and total dose of radiation, number of fractions etc.

## Slide 56: Simulator
X-ray simulator is an XRI device having the same geometry as the accelerator. It is used to locate the target tissues which should be irradiated. To ensure always the same patient positioning both in the simulator and the accelerator, there is a system of laser lights in the room. An identical system of laser beams is used in the accelerator room.
Radiotherapeutic simulator Acuity

## Slide 57: Geometry of irradiation
For irradiation of surface tumours, we have to use radiation of low energy, for deep tumours, the energy must be substantially higher.
In radiotherapy, mainly X-ray sources are used (the accelerators for the so-called megavoltage therapy) as well as the cobalt-60 g-radiation sources. The radiation dose is optimised by means of simulators. To achieve maximum selectivity of deep tumour irradiation, the appropriate irradiation geometry must be applied:
Focal distance effect. Intensity of radiation decreases with the square of source distance. The ratio of surface and deep dose is higher when irradiating from short distance. Therefore, surface lesions are irradiated by soft rays from short distances (contact therapy, brachytherapy). Deep tumours are treated by penetrating radiation from longer distance (teletherapy).
Irradiation from different directions or by a moving source. The lesion must be precisely localised, the irradiation conditions must be reproducible. Advantage: The dose absorbed in the lesion (tumour) is high – radiation beams intersect there. Dose absorbed in surrounding tissue is lower.

## Slide 58: Geometry of irradiation
The effectiveness of repair processes in most normal tissues is higher than in tumours. Therefore, partition (fractionation) of the therapeutic dose in certain number of fractions or use of „moving beam treatment“ spares the normal tissue.
„moving beam treatment“

## Slide 59: Authors: Vojtěch Mornstein, Ivo Hrazdira Content collaboration and language revision: Carmel J. Caruana Last revision October 2021, soundtrack added 2020