## Slide 1: Lectures on Medical Biophysics
Endoscopes, tissue ablation devices and lithotripters

## Slide 2: Lecture content
This lecture deals with the following biomedical devices:
  Endoscopes
  Lasers
  Electrosurgery devices
  Ultrasonic surgery devices
  Cryosurgery devices
  Water jet surgery devices
  Plasma scalpel
  Lithotripters
Keep in mind that endoscopes are often equipped with surgical tools including lasers (for tissue ablation). Lithotripsy is a minimally invasive method for removal of kidney stones and gallstones (helps avoid major surgery).

## Slide 3: Endoscopy
Endoscopes are devices for the visual examination of body cavities. They are based on the reflection and refraction of light.
They are inserted into the body cavity to be examined either through natural body openings (nasal and pharyngeal cavity, larynx, airways, urethra, uterus, rectum) or surgical incisions (abdomen, thorax, joints).
Endoscopes can be categorized according to their complexity, method of illumination and method of observation.
There are groups of endoscopes with different complexity:
  Endoscopic mirrors
  Endoscopes with rigid tubes
  Fiberscopes and videoendoscopes
  Endoscopic capsules
Endoscopes are used also for minor surgery as they can be equiped with small surgical tools.

## Slide 4: Way of illumination and observation
Lighting can be:
  Internal: source of light is part of the device
  External: examined cavity is illuminated by an external source (Endoscopic mirrors are typical representatives of the second group).
In endoscopes with internal lighting, the source is directly inside the body cavity (distal lighting) or outside the cavity (light is guided into the cavity by an optical system, proximal lighting).
The observation of the body cavity can be:
  direct when the physician uses his/her own eyes aided by an optical system
  indirect when the images are taken by a digital video camera and observed on a monitor

## Slide 5: Endoscopic mirrors (specula)
Laryngoscope. Spoon-like mirror used for the examination of the larynx and posterior part of the nasal cavity.
Otoscope. Funnel-like endoscope inserted into the auditory meatus to examine its distal part and the ear drum.
Rhinoscope. Pliers-like instrument with concave reflecting jaws – examination of anterior part of nasal cavity.
Ophtalmoscopic mirror. Planar or concave mirror with an central orifice. It serves for induction of the so-called red reflex – reflection of light from the retina.
Retina is examined by direct ophtalmoscopy – an ophtalmoscope, a small see-through endoscope with light source and correction of the doctor’s visual handicap.
Vaginal speculum (colposcope). Pliers-like instrument with concave reflecting jaws – examination of vagina and cervix.

## Slide 6: Endoscopic mirrors
laryngoscope
Rhino-scope
otoscope

## Slide 7: Endoscopic mirrors
ophtalmoscope
vaginal speculum

## Slide 8: Rigid tube endoscopes
Rigid metallic tubes with optical system and built-in light source (proximal or distal). Disadvantages: relatively high light loss and the rigidity of tubes. The first gastroscopic examination was done by Adolf Kussmaul in 1868.
  Cystoscope – urinary bladder
  Rectoscope – rectum and sigmoid colon
Endoscopes inserted surgically:
  Laparoscope – abdominal cavity.
  Arthroscope – joints (namely knee joint).

## Slide 9: Rigid tube endoscope

## Slide 10: Rigid tube endoscope
rectoscope
cystoscope

## Slide 11: Fiberscopes
Fibre optics, total reflection, critical angle.
The lowest light loss is typical for two-layer optical fibres made of glass or plastics. The core has higher index of refraction n1 than the coating n2. Total reflection occurs when sina < (n12 - n22)1/2. The fibres form bundles serving for illumination and image transfer.
trachea and bronchi (bronchoscopy)
oesophageal mucosa(Oesophagoscopy)
gastric mucosa (Gastroscopy)
colon (colonoscopy)
In the image transferring bundle, the fibres are arranged in the same way both on input and the output of the bundle. Light signal loss: 0.001 – 0.005 dB per 1 m of length.

## Slide 12: Fiberscopes
The fiberscopes make possible to take tissue samples and to make minor surgery. The are flexible so we can examine body parts which are not accessible by rigid endoscopes. Length 130 - 140 cm.
Inside the flexible cable we can see:
  3 bundles of optical fibres (2 for illumination, 1 for image transfer),
  a tube for air or water,
  a channel for insertion of surgical tools and
  control drawbars enabling movement of the distal end with objective giving a sharp image from the distance of 3 - 100 mm.
The proximal end is equipped by an eyepiece mounted in the rigid part of the tube. There is also the control device for distal end movement.
A powerful source of light, air and water pump and vacuum pump also belong to the device accessories.

## Slide 13: Fiberscopes
Frontal part of the colo(no)scope - www.endoscopy.ru/diler/ pentaxvideo.html.

## Slide 14: Fiberscopes

## Slide 15: Videoendoscopy
http://www.bethesda.de/kliniken/medizinische-klinik-ii---gastroenterologie/endoskopien-spiegelungen/index.php
Videoendoscopy – modern endoscopes with a video camera. The image is shown on a monitor.

## Slide 16: Endoscopic capsule

## Slide 17: Laser
Light Amplification by Stimulated Emission of Radiation.
The first ruby laser was constructed by T.H. Maimann in 1960. Main parts of a laser:
  active medium
  optical resonator
  source of excitation energy
Principle of the laser: alternating excitation and deexcitation.
  Electrons of the atoms of the active medium are excited (brought to a higher energy level) by the source energy („optical pumping“).
  Thereafter they are deexcited by a stimulating photon, new photons of the same energy arise, and the effect is repeated – amplification occurs.
  In the so-called three-level laser, the third energy level is broad, thus it is not necessary to use monochromatic (i.e. monoenergetic) light for optical pumping. Because of small energy difference between the second and third energy level, the electron transition to the second energy level is spontaneous („thermal“) – electrons are waiting for the stimulating photon there.

## Slide 18: Three-level laser
Scheme of the 1st ruby laser http://www.llnl.gov/nif/library/aboutlasers/Ruby%20cutaway.GIF

## Slide 20: Lasers
Solid l. (compact, semiconductor): ruby laser (694.3 nm), neodymium (1.06 µm),
Semiconductor l. – based on the principle of electroluminescence.
Liquid l. An organic dye solution is used as active medium. Advantage: can be tuned to different wavelengths (from near IR, VIS to UV range).
Gaseous l.. Important for medicine. Helium-neon laser (1.06 µm) and ion lasers (argon and krypton). CO2-N2-He-laser etc.
Plasma l. Active medium is plasma, fully ionised carbon – irradiates soft X-rays.
Lasers can operate in two modes: continuous and pulsed
Laser power ranges from 10-3 to 104 W. Low-power lasers (soft-lasers) are used mainly in physical therapy. High-power lasers are used as surgical tools (laser scalpel).

## Slide 21: Effects of laser radiation
Laser light is monochromatic and coherent. This allows us to concentrate the laser beam on a small area and to reach a high output density, that makes this surgical instrument useful even in microsurgery. The laser beam can be guided by mirrors, lenses, or optical fibres. Photons are absorbed in the surface layers of tissues.
Thermal effects depend on the power density of light and its wavelength. They are exploited mainly in surgery and microsurgery. Non-thermal effects are typical for soft-lasers, they depend little on the wavelength – based perhaps on a molecular action mechanism (action on enzymes of the respiratory chain, enhancement of mitochondrial DNA replication, enhancement of enzyme activity). Membrane potentials are also affected, possibly due to changes in membrane permeability for Na+, K+ a Ca++ ions.
Laser light also has a photodynamic effect – chemical changes of inactive substances irradiated by laser light of certain wavelength can lead to formation of biologically active (cytotoxic) derivatives.

## Slide 22: Laser therapy – Safety
In non-invasive phototherapy, powers below 500 mW are used. Classes of lasers used are:
  II (power up to 1 mW),
  IIIa (power up to 5 mW)
  IIIb (power up to 500 mW).
Surgery: Power lasers IV are used
Safety:
  Labels placed on lasers must state class,
  from IIIb also warning on eye damage by focussed beam
  Medical staff as well as the patient must wear goggles absorbing laser light of given wavelength.

## Slide 23: Soft-laser therapy
Surface applications – short wavelength, deep applications – long wavelength (near IR).
laser pens are the simplest devices, based on laser diodes, fed by batteries, constant power setting.
Small lasers (pocket) with exchangeable probe, different frequency modes are possible.
Tabletop lasers – user comfort, many functions and applications.

## Slide 24
Laser pen
Table-top soft-laser

## Slide 25: Soft-laser therapy
Analgesic effect: increase of O2 partial pressure, increase of resting potential  lowering of its excitability.
Anti-inflammatory effect should be caused by activation of monocytes and macrophages, increased phagocytosis, increased proliferation of lymphocytes.
Biostimulating effect: referred increased synthesis of collagen, better blood supply, faster regeneration of some tissues.
Indications: laryngology, dentistry, orthopaedics and gynaecology. Seldom used as monotherapy.
Opinion of biophysicists: mostly placebo effect, specific action is supported by little research evidence.

## Slide 26
?
Surgical laser unit

## Slide 27: High-power laser application
General surgery:
A laser can serve as an optical lancet cutting without contact. The blood vessels are coagulated and the cut practically does not bleed. The cutting speed depends on intensity (output density) and on the properties of the tissue. The most frequently used lasers are infrared, namely CO2 laser (10.6 mm) or solid Nd:YAG laser (1.064 mm).
Ophthalmology:
Besides being the light source of many optical instruments used for examination, the main use is photocoagulation of retina and photoablation of cornea to correct refraction defects.
Lasers used for photocoagulation are mostly Nd:YAG with green light 532 nm, adjustable output up to 1.5 W.
For corneal refraction defects removal – photoablation - ArF or KrF excimer (excited dimers) lasers are used. They emit UV radiation with 193 nm wavelength. It causes photochemical ablation of the collagen macromolecules in the cornea (every impulse removes 0.1 - 0.5 mm of the tissue). The aim is to change the curvature of the cornea and its refraction, thus improving the patient's vision.

## Slide 28: http://www.dekamela.com/lasertessuto/fig5.gif
The effect of laser beam depends on its energy!

## Slide 29: High-power laser application
In dentistry, neodymium and erbium YAG lasers are used. The Nd:YAG laser (1.064 mm) is used in oral surgery and endodontics. The Er:YAG laser (2.940 mm) is used for precise preparation of the tooth enamel and dentine.
Dermatology uses ruby lasers (690 nm) or other laser types including Nd:YAG and alexandrite lasers (adjustable from 720 to 830 nm, well absorbed by skin melanin). The main applications are photocoagulation of varicose veins, wart removal, skin lifting, depilation and tattoo removal.

## Slide 30: Laser applications
caries removal
Face lifting
removal of warts

## Slide 31: Electrosurgery
These methods use heating effects of high frequency electrical currents. An electrode with a point or a sharp edge can develop a high density of current.
Heat effects are so extensive that water evaporates in the cells, causing their destruction. The high temperature causes coagulation of the tissues and blood, so no bleeding (haemorrhage) occurs. The operating frequency of electrosurgical instruments is about 3 MHz, the output is adjustable up to 500 W. The power differs according to the aim of the surgical intervention (50 W is used in eye and teeth surgery, higher output in breast and abdominal surgery and traumatology).
Electrosurgery devices are equipped with electrodes for electrocoagulation, which closes bleeding vessels by coagulation of proteins.

## Slide 32: Electrosurgery
Electrosurgical unit
Point electrode for removal skin defects

## Slide 33: Electrosurgery
Whipple procedure. Transection of the neck of the pancreas with electrocautery.

## Slide 34: Endoscopic electrosurgery
Removal of the polypus from intestinal mucosa by hot wire loop
Removal of a small gastric tumour

## Slide 35: Ultrasonic tools
Ultrasound of high intensities (50-1000 W·cm-2) can be used in surgery for selective tissue destruction.
1. Focused ultrasound with high frequency (1-3 MHz) for selective destruction of soft tissue structures. These systems are in clinical test for breast tumour ablation.
2. Low frequency ultrasound (20 - 50 kHz) has been developed for surgical use. Ultrasound produced by piezoelectric or magnetostrictive generators is transmitted to the tissue by special wave-guides, able to enhance the amplitude of ultrasound oscillations up to 10 times. A steel lancet or removable tip is attached to the end of the wave-guide. The removable tip is used also as an aspiration tube, so that the destroyed tissue can be sucked away (aspired).

## Slide 36: Ultrasonic tools
Aspirator. The acoustic vibrator contracts and expands due to ultrasonic oscillations. The motion of the tip (stroke) is approximately 200 μm. The end of the tip experiences high velocities and accelerations that produce the effect of fragmenting contacted tissues.
Cavitational Ultrasonic Surgical Aspirator. This modified probe includes an extended flue and a vibrating tip for laparoscopic surgery.

## Slide 37: Ultrasonic tools
Low frequency intensive ultrasound source –phacoemulsifier - is an indispensable aid for eye surgeons in the extraction of opaque eye lenses (cataracts). The emulsified lens is immediately sucked away (aspired).

## Slide 38: Ultrasonic tools in dentistry
The main application field: tartar removal - scaling. Ultrasonic scalers are fast and efficient. They consist of two main parts: the source of electric oscillations necessary to driving generator of ultrasound, and a handpiece containing ultrasonic transducer, working at a frequency of about 40 kHz. The transducer is linked to variously shaped working tips. Some devices are equipped with water spray (rinsing and cooling).
Ultrasonic scaling mechanisms:
  direct effect of ultrasonic oscillations of the working tip on the deposited tartar
  ultrasonic cavitation
  ultrasonic microstreaming

## Slide 39: A schematic diagram of ultrasonic scaler (up with magnetostrictive, down with piezoelectric transducer)
Ultrasonic tools in dentistry

## Slide 40: Cryosurgery
The temperature -25 °C down to -190 °C creates ice crystals inside cells and in intracellular spaces. Cell lysis occurs when the ice thaws.
The advantage is the limitation of tissue destruction to the frozen area sparing nearby healthy tissue. The freezing has an anaesthetic effect so that the cryosurgical intervention causes little pain. The wound practically does not bleed. The frozen tissue sometimes is fixed to the tool, which can be used to extract it (cryoextraction of the eye lens when the cataract is operated). Applications in eye surgery, urology, oncology, gynaecology and plastic surgery.
Cryosurgical devices use liquid nitrogen (-196 °C) or other gases to reach low temperature. The proper cryosurgical tool –- has a freezing part on its distant end. The end part of the cryocauter is changeable and has a different shape according to the procedure performed. A digital thermometer displays the temperature.

## Slide 41: Cryosurgery
Cryosurgical equipment using nitrous oxide (N2O) and carbon dioxide (CO2)

## Slide 42: Cryosurgery (using liquid nitrogen)

## Slide 43: Water jet dissector as a surgical tool
The device comprises a pressure pump, a high-pressure tube and a manipulation part with the thin jet of 0.1 mm diameter on its end.
Pressures in the range from 1.5 to 5.0 MPa are usually used.
The cut borders are smooth.
The jet is a sterile isotonic solution, sometimes with medicaments added to limit bleeding or resist infection.
It is said that it gives excellent control of the cut, which is especially significant at brain and parenchyma-tous organs (liver, spleen).

## Slide 44: Plasma scalpel in fibroma removal

## Slide 45: Lithotripsy
In the early 80s, extracorporeal shock-wave lithotripsy (ESWL) was introduced in clinical practice. Destruction of stones (kidney, biliary) by the action of multiple shock waves – strong impulses of acoustic pressure. The debris is removed from the body via natural efferent ways. It is a minimally invasive method.
A rapid onset of pressure gradient arises on an interface of two media as a result of difference in acoustic impedances. If the pressure force exceeds the mechanical resistance of a stone, its progressive fragmentation occurs. Pressures of about 108 Pa are necessary. Many shock waves (50 to 4000, on average 1000) must be applied (synchronously with heart beats).
Main parts of the lithotripter: source of shock waves, focussing device, coupling medium, accurate device for stone targeting (ultrasonograph or X-ray device).

## Slide 46: Lithotripsy time-course of a shock wave
time

## Slide 47: Lithotripsy production of shock waves and their focussing
Ellipsoidal metallic mirrors. Shock waves are produced in one focus and are reflected to the second focus.

## Slide 48: Lithotripsy Destruction of a kidney stone
http://www.nlm.nih.gov/medlineplus/ency/imagepages/19246.htm

## Slide 49: Lithotripsy (beginnings – Munich - Germany)

## Slide 50: www.uni-duesseldorf.de/.../Urologie/ Klinik/lithotry.htm.
Lithotripsy - lithotripter in clinical practice

## Slide 51: Lithotripsy - Czech lithotripter MEDILIT M8

## Slide 52: ESWT – extracorporeal shock-wave therapy
Calcification of tendons in shoulder, calcaneal spur, stimulation of fracture healing www.physio-chelsea.co.uk/ shockwave.htm.
The shock waves of energy 1.2-40 mJ have energy density of 0.14 – 1.8 mJ/mm2 in focus. This energy is sufficient to penetrate to max. 60mm in depth. The frequency can be changed from 1 to 4 Hz. The focal pressure is 10 – 100-times lower that that produced by a lithotripter.

## Slide 53: Last revision September 2024
Author: Vojtěch Mornstein
Content collaboration and language revision: Carmel J. Caruana