CD data analysis

As mentioned in the introduction, the difference in absorption to be measured is very small. The differential absorption is usually a few 1/100ths to a few 1/10th of a percent, but it can be determined quite accurately. The raw data plotted on the chart recorder represent the ellipticity of the sample in radians

which can be easily converted into degrees

To be able to compare these ellipticity values we need to convert into a normalized value. The unit most commonly used in protein and peptide work is the mean molar ellipticity per residue. We need to consider path length l, concentration c , molecular weight M and number of residues

in proper units (CD spectroscopists use decimol)

which finally reduces to

The values for mean molar ellipticity per residue are usually in the 10.000's