## Slide 1: Fyzika ve Firmě FEI Přednáška pro MU, PřF
Jiří Očadlík,
VP Manufacturing FEI

## Slide 2
EXPLORE
NANO SPACE
Mikrotrhlina po testu ohýbání.
Šířka obrázku 67μm

## Slide 3: Kdo jsme?
Jsme největším dodavatelem elektronově a iontově optických zařízení pro širokou škálu výzkumných a vývojových laboratoří i průmyslových podniků.
Celosvětově máme 2150 zaměstnanců z toho v Brně 500.
Prodej a servis našich přístrojů zajišťujeme ve více než 50 zemích po celém světě.
Jsme listováni na trhu NASDAQ.
Z Brna – největší továrna FEI - dodáváme asi čtvrtinu (25%) celosvětového obchodu s elektronovými mikroskopy

## Slide 4: Kde sídlíme?
Naše tři výrobní a vývojová centra:
Hillsboro – USA
Eindhoven – Nizozemí
Brno – Česká republika

## Slide 5: Vize kam směřuje FEI …
Představte si…
Za 20 let …
Svět bez…
    Rakoviny

## Slide 6: Vize kam směřuje FEI …
Představte si…
Za 20 let …
Svět bez…
    Nedostatku energie

## Slide 7: Vize kam směřuje FEI …
Představte si……….
Za 20 let ….
Svět s výzkumem
    v ohromném tempu
    Výzkumnými daty sdílenými po celém světě
    Porozuměním jak fungují molekuly

## Slide 8: Vize kam směřuje FEI …
A již……….
Dnes….
Elektronika v našich rukách
    Internet
    Mobile communication
    Zábava

## Slide 9: Fyzika ve FEI
Fyzika (Wikipedie) je přírodní věda, která zahrnuje studium hmoty a její pohyb v časoprostoru, spolu s příbuznými pojmy, jako je energie a síly. V širším měřítku, je to obecná analýza přírody, vedená s cílem pochopit, jak se vesmír chová.
Potřebujeme fyziky, aby pochopili nano-vesmír a nacházeli nová a neznámá:
technická
technologická řešení
Ve výzkumu,
Ve vývoji,
V inženýrství,
V aplikacích
vedoucí ke kvalitním a výkonným produktům, k zákaznické spokojenosti s produkty FEI.

## Slide 10: Od vývojáře po presidenta
Fyzikové nacházejí uplatnění jako
Výrobní inženýr - řeší technická řešení v okruhu vyrobitelnosti, jakosti,
Vývojový inženýr – hledá nová řešení a jejich uplatnění v produktech
Systémový inženýr – hledá způsoby fungování celých systémů, jejich vzájemnou vazbu
Projektový manažer – řídí projekty
Produktový manažer – řídí výrobky, jejich životní cyklus, vlastnosti
Aplikační inženýr – nachází a zkoumá zákaznické aplikace přístrojů
Leader – vedoucí na všech stupních – fyziky jsou CEO Don Kania a mnoho dalších.
Práce v týmu – klíč k dosahování výsledů - spolupráce
Komunikace – jak se umíte vyjadřovat, působit na ostatní
Řídící schopnosti, schopnost ovlivnit svět kolem sebe
Jazyky
Přizpůsobivost, pružnost
Chtění dále růst

## Slide 11: Fyzika v průmyslu
2
V průmyslu pracuje mnohem víc fyziků než na školách a v ústavech
Rozdíl mezi fyzikou v průmyslu a v institucích:
  Je v poměru počtu fyziků, kteří se zabývají výzkumem, a kteří se zabývají vývojem
  Je v rychlosti realizace výsledků
Myšlenka
Concept
Simulace
Vzorek
Prototyp
Výrobek
Výzkum
Vývoj
Notes: Interactive. Questions any time!

## Slide 12: Příklad applikace fyziky v průmyslu - Moore’s law
2
Jeden z nejvýznamnějších fenoménů dnešní doby je minituarizace elektronických obvodů a digitalizace
Od samotného vynálezu tranzistoru je převážně řízen a realizován fyzikou v průmyslu
Trend vyjádřen Mooreovým zákonem:
  Každých 18 -24 měsíců se zdvojnásobuje výpočetní výkon čipů
  Za poloviční cenu
  Při zachování příkonu
Notes: Interactive. Questions any time!

## Slide 13: Fyzici a Moore’s law
2
Mooreův zákon pomáhá realizovat v každém okamžiku stovky a tisíce fyziků v různých oborech zabývajícími se materiály, nanostrukturami, výrobními a diagnostickými přístroji
FEI má mimo jiné vedoucí roli ve vývoji přístrojů pro diagnostiku nanoelektronických struktur
  Každé 3 až 4 roky musíme být schopni rozlišit dvakrát menší struktury
  Musíme adekvátně zrychlovat analýzu vzorků tak, aby přes narůstající počet technologických kroků a testů se nezvyšovaly náklady na čip
Notes: Interactive. Questions any time!

## Slide 14: Titan Family – Téma 1
Titan3 80-300
Titan 80-300
Titan ETEM

## Slide 15: Titan ETEM technology and hardware components
Condenser Aperture
Gas inlet
Gas outlet
Primary electron beam
Differential Aperture
Gas control unit with vales
for accurate control of the
gas pressure and mixture
E-cell with differential
pumping apertures and
additional oil free pumps
Mass spectrometer to
determine gas composition
+
+

## Slide 16: Titan ETEM performance in various modes
Youngs fringe experiment
at 5mbar pressure
EELS zero-loss peak in ETEM mode
HR-STEM image of Si110
in ETEM mode

## Slide 17: Where are we going…?
In situ nucleation of carbon nanotubes by the injection of carbon atoms into metal particles . by J.A. Rodriguez-Manzo et al. nature nanotechnology
In situ experiments – down to the atoms Heating + vapour
MWNT from a FeCo crystal

## Slide 18: In situ experiments – down to the atoms Heating + vapour (+ correctors)
Hofmann et al (2008) Nature Materials 7(5)
Au catalyst crystals on SiOx membrane, exposed to Si2H6 vapour at T = 590 °C. On melting an Au-Si liquid alloy is formed, before nucleation of Si and growth of nanowires
Where are we going…?

## Slide 19
New application results
on Titan G2
Sorin Lazar Bert Freitag 2010

## Slide 20: Advantages of the new FEI triple On-axis BF/DF1/DF2 detectors Position and geometry of the multiple STEM detectors on Titan G2
DF1
ABF/DF2
BF
Entrance aperture
filter
Optimized for simultaneous acquisition of BF/ABF/ADF/HAADF images
Optimized geometry for simultaneous acquisition of ADF/HAADF/EELS signals
HAADF
Detector positions
Mechanical design
EELS
e-
DF1
ABF/DF2
BF
Cross section
e-
Notes: New on-axis BF/DF STEM detector developed by FEI. Key benefits are the possibility for simultaneous acquisition of BF and DF image. DF2 detector as smaller inner ole and therefore more area for signal detection. DF4 is the one which is optimized to parallel STEM+EELS data acquisition since its inner diameter allows maximum EELS signal into the FS-1 (or GIF) entrance aperture. All electrons which are not entering the EELS spectrometer (or GIF) are captured by the DF detector and contribute therefore to the DF STEM image.
BF and DF image can be acquired simultaneously together with HAADF image.

## Slide 21: Comparison between HR-TEM, ABF STEM and HAADF STEM imaging on the same sample of LaB6 in [100] projection The images are taken on Cs corrected Titan G2
The boron lattice can be visualized using HR-TEM and ABF imaging, while it is invisible in the HAADF image.
Images : S.Lazar,B.Freitag, FEI, J. Etheridge, Monash University, Australia

## Slide 22: ABF/HAADF STEM on Cs-corrected Titan G2 at 200kV SrTiO3 in [110] projection
  Sample courtesy of C.L. Jia, Ernst Ruska Centre, Research Centre Juelich, Germany.
  Image data courtesy of Prof. J. Etheridge, Monash University, Australia and S. Lazar
Sr/O
Ti
O
The Strontium oxide, Titanium and the pure oxygen columns can be visualized in the atomic resolution ABF STEM images in [110] projection.
A contrast difference between the titanium and pure oxygen columns is in the ABF images detectable.
ABF
HAADF

## Slide 23
BaTiO3
SrTiO3
Sr/O
Ti
O
Ba/O
ABF/HAADF STEM on Cs-corrected Titan G2 at 200kV
BaTiO3/SrTiO3 interface in [110] projection
The Strontium oxide, Titanium and the pure oxygen columns can be visualized in the atomic resolution ABF STEM images in [110] projection.
Hardly any contrast difference between the Ba and Sr columns is visible in the BaTiO3/SrTiO3 interface sample using ABF imaging , while it is clearly visible in the HAADF image taken at the same area.
  Sample courtesy of C.L. Jia, Ernst Ruska Centre, Research Centre Juelich, Germany.
  Image data courtesy of Prof. J. Etheridge, Monash University, Australia and S. Lazar
ABF
HAADF

## Slide 24: Téma 2 – touch the limits
SEM monochromator story

## Slide 25: The Magellan 400 - Unique electron optics
Sample
CP
CP
XHR performance
Schottky-UC (monochromatized) gun
Schottky-UC,
hot -swap gun
* inherited from Titan developments
Double magnetic shielding*
Uncompromised stability
ConstantPowerTM
lens technology*
CP
Electrostatic scanning
Full autoalignments
New fast beam blanker
New fast beam blanker for lithography and prototyping
Full autoalignment* for best use of the different regimes
Electrostatic scanning for improved linearity & reproducibility
New TLD design
vCD
Bias
Beam deceleration
2-mode objective lens
with field-free and
immersion capability
Beam at HV
Beam at landing V
Uncompromised detection
Elstar SEM column
TLD (through the lens detector, SE/BSE)
ETD (Everhart Thornley, SE)
vCD (low voltage high contrast solid state detector, below the lens)
STEM BF DF HAADF, 14 segments
FEI Copyright © 2011

## Slide 26: How to improve further SEM resolution?
Aim: better resolution at low kV’s (≤ 2 kV)
→ limiting contribution: chromatic aberration ~ Cc∙∆U/U
  Correct lens aberration Cc? → Cc-corrector needed: complex and costly mechanics/electronics/software
  Decrease ∆U?
  → using cold-FEG: less stable and less max current than Schottky FEG
  → using monochromator: can we maintain versatility of the column?
SEM Corrector
FEI Copyright © 2010

## Slide 27: The UC Gun
Schottky-FEG
extractor, 2 apertures
segmented gun lens
aperture and slit
deflector
Standard High current UC mode (monochromated)
3 beam modes
From: Henstra et al, M&M 2008 proc.
FEI Copyright © 2010
Gun technology | Energy spread
Schottky | 0.5-1.0 eV
Cold Field | 0.25-0.35 eV
Schottky-UC | 0.15 eV
Notes: 18um
100nm *2um
Fast contamination free tip exchange: Hot-swap module
High stability: <0.4% over 10 h
High currents: up to 26 nA
High resolution @ low kV: 0.9 nm @ 1 kV

## Slide 28: The Elstar UC Gun - Benefit of reducing the energy spread
From: Young et al, SPIE 2009
FEI Copyright © 2010
Notes: 1 kV, 1 mm
Typical Schottky 0.7 down to 0.15 with UC

## Slide 29: Why a low-voltage, high resolution SEM?
Monte Carlo simulations of electron scattering in silicon illustrate the effect of beam energy on interaction volume over two orders of magnitude. Primary electrons are blue, back-scattered electrons are red.
500 V
25 kV
Higher surface sensitivity
Reduced edge effects
More control over beam damage or charging
Different contrasts
Nanowires sample courtesy of Dr. Emanuel Tutuc, University of Texas, Austin
FEI Copyright © 2011

## Slide 30: Reduced edge effects
Source: Joy and Joy, Micron 27(3-4), 247-263 (1996)
2000 V
200 V
FEI Copyright © 2011

## Slide 31: Co můžete čekat vy od nás?
Dovedeme pracovat se studenty - Internship program
Udělujeme každoročně FEI stipendium pro absolventy do 30let ve výši 2 x 100tis.Kč
Podporujeme Přednášky na školách – nyní MU Elektronová mikroskopie
Zapůjčili jsme přístroj Quanta 3D na MU PřF
Umožníme Vám získat mezinárodní zkušenosti.
V platovém ohodnocení jsme na špici průmyslu IT/Telco.
Systémem výhod podporujeme zaměstnance v každé etapě jejich života.
Záleží nám na životním prostředí a našem okolí.

## Slide 32: ...a hlavně s námi není nuda 

## Slide 33: Imagine

## Slide 34: Děkuji Vám za pozornost
Jiri.Ocadlik@fei.com