## Info
TRAP
2018-04-11 15:56
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Kinetics by plate
Cycles | 160
Interval | 0:00:00
Shake | No shake
Luminescence
Technology | Luminescence
Filter | IR Cutoff
Counting time (s) | 1
Aperture | Default
Read mode | Top
Focus (mm) | Default
PMT voltage | Default
Discriminator voltage | Default
Incubate
Technology | Incubate
Duration | 0:00:15
Shake | Normal orbital
End kinetics

## Luminescence
TRAP
2018-04-11 15:56
Assay was completed successfully.
Luminescence (CPS)
Plate # | Well | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160
1 | Time (s) | 0 | 46.643 | 93.268 | 140.063 | 186.733 | 233.402 | 280.072 | 326.688 | 373.34 | 420.009 | 466.715 | 513.465 | 560.099 | 606.697 | 653.393 | 700.108 | 746.786 | 793.447 | 840.072 | 886.733 | 933.402 | 980.072 | 1026.75 | 1073.429 | 1120.045 | 1166.67 | 1213.411 | 1260.099 | 1306.768 | 1353.42 | 1400.036 | 1446.67 | 1493.34 | 1540.036 | 1586.706 | 1633.402 | 1680 | 1726.652 | 1773.331 | 1819.991 | 1866.679 | 1913.322 | 1959.92 | 2006.536 | 2053.224 | 2099.893 | 2146.563 | 2193.224 | 2239.858 | 2286.491 | 2333.17 | 2379.849 | 2426.545 | 2473.215 | 2519.822 | 2566.438 | 2613.116 | 2659.813 | 2706.483 | 2753.161 | 2799.804 | 2846.465 | 2893.143 | 2939.84 | 2986.545 | 3033.17 | 3079.804 | 3126.456 | 3173.224 | 3219.911 | 3266.59 | 3313.224 | 3359.849 | 3406.527 | 3453.215 | 3499.965 | 3546.616 | 3593.224 | 3639.884 | 3686.572 | 3733.277 | 3779.938 | 3826.581 | 3873.197 | 3919.858 | 3966.545 | 4013.277 | 4059.991 | 4106.643 | 4153.268 | 4199.956 | 4246.652 | 4293.349 | 4340.018 | 4386.661 | 4433.304 | 4480.072 | 4526.777 | 4573.447 | 4620.072 | 4666.697 | 4713.42 | 4760.116 | 4806.884 | 4853.518 | 4900.17 | 4946.786 | 4993.483 | 5040.188 | 5086.875 | 5133.518 | 5180.134 | 5226.822 | 5273.5 | 5320.188 | 5366.858 | 5413.491 | 5460.188 | 5506.875 | 5553.643 | 5600.313 | 5646.947 | 5693.572 | 5740.233 | 5787.036 | 5833.724 | 5880.358 | 5926.965 | 5973.616 | 6020.34 | 6067.018 | 6113.697 | 6160.34 | 6206.965 | 6253.608 | 6300.313 | 6347.009 | 6393.697 | 6440.331 | 6486.974 | 6533.661 | 6580.393 | 6627.072 | 6673.759 | 6720.366 | 6767.036 | 6813.733 | 6860.393 | 6907.09 | 6953.759 | 7000.349 | 7047.063 | 7093.741 | 7140.438 | 7187.099 | 7233.724 | 7280.375 | 7327.054 | 7373.822 | 7420.536
1 | A1 | 1061 | 1269 | 1212 | 1360 | 1446 | 1691 | 1955 | 2071 | 2158 | 2322 | 2479 | 2564 | 2807 | 3107 | 3132 | 3237 | 3427 | 3446 | 3614 | 3756 | 3741 | 3801 | 3722 | 3955 | 4135 | 4109 | 4341 | 4147 | 4247 | 4345 | 4352 | 4428 | 4529 | 4675 | 4665 | 4818 | 4640 | 4687 | 4686 | 4817 | 4662 | 4715 | 4628 | 4794 | 4818 | 4764 | 4831 | 4879 | 4698 | 4623 | 5058 | 4986 | 4883 | 4860 | 4802 | 4759 | 4967 | 4694 | 4572 | 4732 | 4720 | 4665 | 4900 | 4675 | 4681 | 4490 | 4518 | 4802 | 4549 | 4587 | 4503 | 4562 | 4597 | 4331 | 4305 | 4406 | 4403 | 4471 | 4339 | 4433 | 4183 | 4146 | 4397 | 4296 | 4150 | 4126 | 4111 | 4106 | 4149 | 4051 | 4254 | 3981 | 4071 | 3917 | 3937 | 3782 | 3937 | 3868 | 3899 | 3828 | 3662 | 3957 | 3659 | 3710 | 3826 | 3759 | 3776 | 3599 | 3515 | 3737 | 3576 | 3349 | 3652 | 3512 | 3455 | 3522 | 3349 | 3221 | 3362 | 3302 | 3318 | 3332 | 3103 | 3072 | 3172 | 3043 | 3064 | 3123 | 2957 | 3007 | 3023 | 2942 | 3048 | 2994 | 2814 | 2779 | 2902 | 2855 | 2917 | 2687 | 2781 | 2815 | 2788 | 2784 | 2736 | 2611 | 2887 | 2660 | 2560 | 2506 | 2492 | 2589 | 2481 | 2469 | 2386 | 2334 | 2448 | 2442 | 2385 | 2481
1 | A2 | 466 | 466 | 481 | 445 | 465 | 447 | 520 | 456 | 578 | 710 | 897 | 1071 | 1220 | 1388 | 1494 | 1737 | 1874 | 1925 | 2073 | 2237 | 2357 | 2483 | 2501 | 2766 | 2589 | 2630 | 2758 | 2887 | 3027 | 2891 | 2971 | 2915 | 2933 | 2949 | 3057 | 3140 | 3003 | 3167 | 3194 | 3261 | 3182 | 3089 | 3148 | 3291 | 3233 | 3178 | 3219 | 3477 | 3263 | 3329 | 3425 | 3311 | 3328 | 3516 | 3385 | 3471 | 3622 | 3558 | 3696 | 4197 | 4521 | 4741 | 4845 | 4894 | 4923 | 4977 | 5055 | 5167 | 4827 | 4994 | 5132 | 5121 | 5073 | 4971 | 4919 | 5129 | 4987 | 4630 | 4914 | 4581 | 4844 | 4710 | 4847 | 4708 | 4670 | 4795 | 4569 | 4500 | 4498 | 4644 | 4597 | 4467 | 4486 | 4344 | 4380 | 4176 | 4309 | 4348 | 4206 | 4184 | 4154 | 4290 | 4023 | 4093 | 4005 | 3873 | 4097 | 3913 | 4025 | 3963 | 3861 | 3827 | 3802 | 3796 | 3684 | 3691 | 3893 | 3640 | 3564 | 3711 | 3554 | 3569 | 3598 | 3627 | 3463 | 3461 | 3369 | 3456 | 3483 | 3371 | 3406 | 3414 | 3252 | 3256 | 3233 | 3257 | 3170 | 3070 | 3085 | 3015 | 2975 | 2963 | 2976 | 2892 | 2896 | 2910 | 2864 | 2944 | 2884 | 2762 | 2856 | 2888 | 2782 | 2652 | 2725 | 2663 | 2653 | 2629 | 2687 | 2690
1 | A3 | 440 | 460 | 441 | 463 | 416 | 431 | 459 | 442 | 442 | 420 | 466 | 480 | 429 | 419 | 439 | 501 | 624 | 892 | 1003 | 1217 | 1280 | 1419 | 1702 | 1748 | 1844 | 2047 | 2140 | 2130 | 2265 | 2267 | 2316 | 2412 | 2393 | 2521 | 2487 | 2434 | 2562 | 2636 | 2797 | 2655 | 2653 | 2706 | 2792 | 2783 | 2793 | 2779 | 2743 | 2765 | 2755 | 2828 | 2804 | 2772 | 2792 | 2866 | 2884 | 2741 | 2961 | 2859 | 2840 | 2799 | 2852 | 2935 | 2856 | 2843 | 2746 | 2814 | 2890 | 2944 | 2893 | 2927 | 2924 | 3065 | 3088 | 2891 | 2972 | 2996 | 3087 | 3122 | 2967 | 3030 | 3088 | 3075 | 3807 | 4123 | 4659 | 4812 | 4991 | 4997 | 4954 | 4980 | 5075 | 4924 | 4770 | 5035 | 5004 | 4872 | 4796 | 4756 | 4775 | 4649 | 4719 | 4856 | 4725 | 4646 | 4564 | 4695 | 4718 | 4510 | 4497 | 4299 | 4434 | 4482 | 4303 | 4366 | 4269 | 4276 | 4342 | 4233 | 4190 | 4015 | 4025 | 4082 | 4047 | 3926 | 3895 | 3956 | 3996 | 3926 | 3834 | 3747 | 3762 | 3728 | 3672 | 3721 | 3620 | 3711 | 3547 | 3548 | 3417 | 3531 | 3436 | 3391 | 3418 | 3293 | 3388 | 3261 | 3343 | 3268 | 3120 | 3169 | 3306 | 3339 | 3122 | 3099 | 3015 | 3046 | 3018 | 2969 | 2962 | 2994
1 | A4 | 492 | 506 | 477 | 438 | 510 | 464 | 464 | 446 | 436 | 460 | 447 | 462 | 441 | 509 | 453 | 457 | 446 | 479 | 596 | 445 | 609 | 473 | 493 | 512 | 509 | 483 | 463 | 529 | 619 | 786 | 973 | 1135 | 1411 | 1491 | 1648 | 1734 | 1991 | 1966 | 1996 | 2053 | 2057 | 2165 | 2389 | 2359 | 2387 | 2243 | 2375 | 2386 | 2394 | 2350 | 2538 | 2435 | 2338 | 2499 | 2370 | 2641 | 2584 | 2551 | 2598 | 2648 | 2594 | 2627 | 2829 | 2629 | 2625 | 2766 | 2749 | 2612 | 2586 | 2627 | 2773 | 2760 | 2572 | 2742 | 2697 | 2723 | 2814 | 2778 | 2761 | 2595 | 2589 | 2727 | 2767 | 2686 | 2773 | 2741 | 2551 | 2757 | 2799 | 2841 | 2820 | 3307 | 4506 | 4825 | 5303 | 5347 | 5333 | 5316 | 5410 | 5299 | 5355 | 5449 | 5441 | 5242 | 5223 | 5232 | 5310 | 5279 | 5139 | 5175 | 5068 | 5039 | 5189 | 5020 | 4798 | 5159 | 4960 | 4915 | 4783 | 4772 | 4732 | 4759 | 4611 | 4571 | 4498 | 4658 | 4538 | 4460 | 4344 | 4281 | 4332 | 4310 | 4198 | 4377 | 4321 | 4203 | 4061 | 4048 | 4056 | 3972 | 4017 | 3963 | 4041 | 3791 | 3975 | 3957 | 3859 | 3593 | 3701 | 3672 | 3487 | 3519 | 3463 | 3550 | 3443 | 3502 | 3345 | 3432 | 3397 | 3446
1 | A5 | 464 | 467 | 507 | 483 | 479 | 473 | 484 | 425 | 466 | 474 | 446 | 472 | 471 | 511 | 455 | 476 | 498 | 435 | 479 | 509 | 506 | 520 | 492 | 523 | 509 | 510 | 509 | 465 | 530 | 557 | 536 | 676 | 753 | 982 | 1243 | 1333 | 1739 | 1703 | 1863 | 1920 | 1996 | 2034 | 2153 | 2256 | 2117 | 2236 | 2218 | 2308 | 2418 | 2393 | 2430 | 2382 | 2360 | 2308 | 2533 | 2422 | 2500 | 2472 | 2523 | 2452 | 2498 | 2527 | 2507 | 2474 | 2536 | 2463 | 2482 | 2480 | 2452 | 2511 | 2455 | 2528 | 2390 | 2451 | 2458 | 2400 | 2390 | 2481 | 2418 | 2240 | 2606 | 2401 | 2500 | 2324 | 2260 | 2269 | 2378 | 2354 | 2238 | 2436 | 2413 | 2386 | 2360 | 2371 | 2346 | 2388 | 2310 | 2289 | 2382 | 2173 | 2271 | 2272 | 2360 | 2255 | 2340 | 2231 | 2339 | 2408 | 2248 | 2298 | 2316 | 2350 | 2611 | 3563 | 4440 | 4701 | 4997 | 4794 | 4925 | 4901 | 4887 | 5029 | 4910 | 4970 | 4837 | 4888 | 4949 | 4651 | 4828 | 4708 | 4695 | 4655 | 4504 | 4414 | 4517 | 4533 | 4627 | 4503 | 4374 | 4410 | 4245 | 4192 | 4270 | 4207 | 4128 | 4225 | 3950 | 4080 | 3943 | 4013 | 3868 | 3907 | 3927 | 3822 | 3719 | 3649 | 3774 | 3608 | 3674 | 3684
1 | A6 | 475 | 482 | 453 | 488 | 573 | 558 | 609 | 640 | 669 | 655 | 695 | 789 | 889 | 973 | 1083 | 1111 | 1229 | 1434 | 1719 | 1920 | 2052 | 2132 | 2556 | 2813 | 3023 | 3416 | 3658 | 3951 | 4271 | 4719 | 5043 | 5273 | 5626 | 6070 | 6424 | 6685 | 6881 | 7293 | 7628 | 8087 | 8425 | 8578 | 8862 | 9277 | 9645 | 10075 | 10198 | 10251 | 10958 | 11265 | 11527 | 11883 | 11821 | 12303 | 12593 | 12940 | 13282 | 13703 | 13766 | 13456 | 13744 | 14011 | 14699 | 14397 | 14803 | 15049 | 15019 | 15138 | 15523 | 15610 | 15833 | 16038 | 16277 | 16510 | 16300 | 16420 | 16707 | 17085 | 16659 | 17002 | 17641 | 17386 | 18126 | 17730 | 18383 | 18473 | 18740 | 19347 | 19676 | 19999 | 20059 | 20383 | 20768 | 21142 | 20894 | 21413 | 21515 | 21839 | 21724 | 22048 | 21970 | 22220 | 22741 | 22696 | 22973 | 22573 | 22826 | 22819 | 22292 | 23008 | 22364 | 22507 | 22463 | 22468 | 22527 | 22524 | 22397 | 22164 | 22134 | 22314 | 22152 | 22145 | 21765 | 21783 | 21458 | 21354 | 21163 | 21157 | 21202 | 20778 | 21040 | 20717 | 20449 | 20431 | 20358 | 19911 | 19761 | 19504 | 19500 | 19125 | 19258 | 19070 | 18747 | 18571 | 19080 | 18547 | 18175 | 18091 | 18022 | 18170 | 17656 | 17667 | 17279 | 17157 | 17144 | 16857 | 16669 | 16472 | 16101 | 15927
1 | A7 | 602 | 725 | 813 | 865 | 1134 | 1154 | 1468 | 1621 | 1824 | 2067 | 2365 | 2725 | 2993 | 3365 | 3512 | 3924 | 4251 | 4570 | 4969 | 5154 | 5522 | 5852 | 6150 | 6225 | 6779 | 7056 | 7584 | 7457 | 7873 | 7925 | 8117 | 8518 | 8557 | 8651 | 8887 | 9331 | 9468 | 9517 | 9668 | 9750 | 9880 | 10223 | 10013 | 10242 | 10500 | 10514 | 10760 | 10705 | 10818 | 11090 | 11012 | 10978 | 11236 | 10983 | 11657 | 11552 | 11475 | 11830 | 11777 | 11725 | 12299 | 11817 | 12271 | 12391 | 12442 | 12402 | 12713 | 13048 | 13209 | 13391 | 13454 | 13795 | 14174 | 14330 | 14558 | 14944 | 15156 | 15734 | 15781 | 16164 | 16036 | 16281 | 16468 | 16608 | 16703 | 17130 | 16636 | 16665 | 16702 | 17057 | 16741 | 16605 | 16691 | 16343 | 16738 | 16527 | 16655 | 16402 | 16318 | 16016 | 16324 | 16243 | 15841 | 15355 | 15808 | 15504 | 15605 | 15122 | 15261 | 14955 | 14884 | 14861 | 14414 | 14994 | 14600 | 14339 | 14682 | 14390 | 14060 | 14038 | 13937 | 13915 | 13614 | 13403 | 13551 | 13639 | 13104 | 13197 | 12806 | 12656 | 12665 | 12409 | 12145 | 12400 | 12344 | 12041 | 11810 | 12109 | 11797 | 11609 | 11673 | 11442 | 11262 | 11262 | 10934 | 10626 | 10696 | 10426 | 10640 | 10438 | 10393 | 10417 | 9927 | 9872 | 9841 | 9699 | 9682 | 9509 | 9552 | 9572
1 | A8 | 1422 | 1475 | 1464 | 1778 | 1843 | 1913 | 2018 | 2243 | 2365 | 2602 | 2640 | 2850 | 2881 | 3108 | 3290 | 3426 | 3450 | 3694 | 3755 | 3692 | 3983 | 4103 | 4112 | 4351 | 4238 | 4381 | 4686 | 4732 | 4654 | 4878 | 4754 | 5141 | 5193 | 5036 | 5459 | 5505 | 5595 | 5414 | 5567 | 5801 | 5725 | 5933 | 5783 | 5993 | 6136 | 5987 | 6429 | 6289 | 6328 | 6715 | 6341 | 6688 | 6582 | 6503 | 6627 | 6664 | 6530 | 6636 | 6555 | 6724 | 6973 | 6777 | 6700 | 6541 | 6692 | 6865 | 6770 | 6916 | 6684 | 6845 | 6937 | 6947 | 7028 | 6795 | 6620 | 6839 | 6964 | 6643 | 6871 | 6580 | 6817 | 6659 | 6589 | 6677 | 6770 | 6656 | 6628 | 6554 | 6522 | 6602 | 6517 | 6475 | 6360 | 6293 | 6357 | 6265 | 6167 | 6179 | 6197 | 6133 | 6124 | 6193 | 6191 | 6202 | 6036 | 6200 | 5950 | 6001 | 5857 | 5914 | 5885 | 5840 | 5962 | 5786 | 5905 | 6102 | 5910 | 5819 | 5702 | 5840 | 5632 | 5843 | 5561 | 5733 | 5526 | 5540 | 5376 | 5657 | 5462 | 5372 | 5555 | 5265 | 5368 | 5382 | 5263 | 5268 | 5189 | 5236 | 5357 | 5309 | 5253 | 5148 | 5065 | 5318 | 4981 | 4925 | 5047 | 4993 | 4874 | 4939 | 5019 | 4873 | 4884 | 4931 | 4827 | 4775 | 4728 | 4925 | 4501 | 4628
1 | A9 | 1517 | 1647 | 1891 | 1952 | 2357 | 2526 | 2547 | 2719 | 3088 | 3237 | 3427 | 3588 | 3884 | 3870 | 4066 | 4165 | 4628 | 4588 | 4598 | 4938 | 5205 | 5049 | 5348 | 5314 | 5379 | 5453 | 5508 | 5776 | 5954 | 5798 | 6042 | 6096 | 6086 | 6101 | 6026 | 6171 | 6388 | 6223 | 6224 | 6459 | 6275 | 6427 | 6301 | 6477 | 6345 | 6531 | 6351 | 6662 | 6607 | 6653 | 6554 | 6574 | 6638 | 6505 | 6615 | 6387 | 6333 | 6569 | 6554 | 6548 | 6579 | 6376 | 6340 | 6319 | 6541 | 6398 | 6527 | 6530 | 6471 | 6237 | 6234 | 6399 | 6316 | 6323 | 6271 | 6288 | 6125 | 6305 | 6210 | 6211 | 6378 | 6164 | 6171 | 5991 | 6022 | 6070 | 6124 | 6198 | 5939 | 6268 | 5993 | 5915 | 5975 | 5916 | 6230 | 5686 | 5752 | 5632 | 5635 | 5738 | 6062 | 5785 | 5740 | 5669 | 5612 | 5668 | 5650 | 5684 | 5655 | 5594 | 5593 | 5485 | 5512 | 5421 | 5300 | 5221 | 5518 | 5357 | 5462 | 5301 | 5241 | 5283 | 5368 | 5187 | 5150 | 5182 | 5138 | 5102 | 5209 | 5263 | 5068 | 4957 | 4725 | 4814 | 4879 | 4652 | 4918 | 4804 | 4892 | 4823 | 4619 | 4606 | 4687 | 4700 | 4670 | 4924 | 4483 | 4621 | 4474 | 4586 | 4654 | 4481 | 4389 | 4432 | 4528 | 4307 | 4221 | 4494 | 4302 | 4325
1 | A10 | 472 | 469 | 515 | 599 | 556 | 582 | 679 | 731 | 760 | 821 | 834 | 947 | 972 | 1204 | 1307 | 1555 | 1758 | 2082 | 2476 | 2826 | 3054 | 3445 | 4161 | 4433 | 4836 | 5078 | 5669 | 5986 | 6413 | 6750 | 7008 | 7569 | 7932 | 8179 | 8666 | 8827 | 8962 | 9385 | 9672 | 9764 | 10101 | 10114 | 10676 | 10631 | 10946 | 10996 | 11373 | 11564 | 11580 | 11883 | 12181 | 12164 | 12210 | 12584 | 12542 | 12410 | 12555 | 12755 | 12776 | 13017 | 12947 | 13152 | 12862 | 13051 | 13062 | 13091 | 13162 | 13170 | 13410 | 13233 | 13417 | 13405 | 13317 | 13227 | 13306 | 13711 | 13614 | 13639 | 13526 | 13846 | 13542 | 13888 | 13827 | 14009 | 14224 | 14406 | 14947 | 15004 | 15340 | 15509 | 15777 | 16011 | 16257 | 16675 | 17157 | 17458 | 17119 | 17386 | 18315 | 18230 | 18250 | 18411 | 18895 | 18872 | 19186 | 19350 | 19525 | 19602 | 19834 | 19504 | 19829 | 19744 | 20105 | 20507 | 20277 | 19635 | 19842 | 19866 | 19897 | 20077 | 19860 | 19954 | 19786 | 20286 | 19479 | 20003 | 19349 | 19338 | 19373 | 19122 | 19490 | 19009 | 18759 | 18504 | 18793 | 18611 | 18793 | 18140 | 18390 | 18219 | 17598 | 17919 | 17443 | 17434 | 17248 | 17038 | 16873 | 17057 | 16859 | 16586 | 16682 | 16419 | 16040 | 16224 | 15884 | 15621 | 15494 | 15683 | 15220 | 15005
1 | A11 | 540 | 682 | 731 | 821 | 983 | 1141 | 1281 | 1567 | 1836 | 2350 | 2781 | 3257 | 3944 | 4437 | 4820 | 5364 | 5888 | 6397 | 6960 | 7161 | 7741 | 8277 | 8720 | 9192 | 9400 | 9522 | 10070 | 10227 | 10356 | 10663 | 10880 | 10966 | 11434 | 11398 | 11809 | 11761 | 12150 | 11920 | 12603 | 12386 | 12739 | 12722 | 13112 | 13373 | 13329 | 13412 | 13378 | 13661 | 14239 | 14699 | 14597 | 15072 | 15333 | 15033 | 15692 | 15937 | 16227 | 16692 | 16618 | 16770 | 16881 | 17123 | 17389 | 17307 | 17588 | 17459 | 17947 | 17931 | 17731 | 17806 | 17384 | 17624 | 17698 | 17494 | 17794 | 17119 | 17507 | 16996 | 16894 | 17164 | 16667 | 16529 | 16442 | 16212 | 16363 | 16365 | 15924 | 15843 | 15759 | 15531 | 15160 | 15181 | 15209 | 15082 | 14933 | 14747 | 14598 | 14421 | 14029 | 14002 | 13576 | 13497 | 13737 | 13529 | 13414 | 13045 | 13358 | 12713 | 12783 | 12645 | 12498 | 12200 | 11940 | 11942 | 12099 | 11929 | 11946 | 11773 | 11165 | 11577 | 11326 | 10723 | 11046 | 10539 | 10782 | 10530 | 10558 | 10371 | 10037 | 10177 | 9936 | 9879 | 9695 | 9838 | 9469 | 9295 | 9405 | 9156 | 8934 | 9021 | 8775 | 8707 | 8524 | 8568 | 8079 | 8405 | 8359 | 8057 | 7938 | 7789 | 7649 | 7656 | 7687 | 7432 | 7459 | 7247 | 7155 | 7042 | 7154 | 6880
1 | A12 | 1641 | 1920 | 2205 | 2579 | 2761 | 3124 | 3330 | 3633 | 3759 | 4026 | 4340 | 4479 | 4565 | 4660 | 4621 | 5067 | 5000 | 5291 | 5256 | 5219 | 5510 | 5561 | 5684 | 5981 | 6093 | 6013 | 6099 | 6438 | 6435 | 6626 | 6508 | 6657 | 6988 | 6999 | 6837 | 6822 | 7033 | 7138 | 7125 | 7106 | 7182 | 7250 | 7408 | 7116 | 6988 | 7081 | 6867 | 7058 | 7110 | 7038 | 6970 | 6958 | 6966 | 7021 | 6769 | 6838 | 6801 | 6771 | 6691 | 6893 | 6598 | 6512 | 6658 | 6425 | 6580 | 6340 | 6162 | 6265 | 6384 | 6383 | 6054 | 6212 | 5984 | 6048 | 6076 | 5955 | 5914 | 5874 | 5826 | 5969 | 5639 | 5707 | 5681 | 5717 | 5383 | 5442 | 5547 | 5518 | 5319 | 5431 | 5203 | 5347 | 5283 | 5008 | 5165 | 5086 | 5101 | 4895 | 5048 | 4949 | 4808 | 4796 | 4817 | 4700 | 4543 | 4622 | 4610 | 4421 | 4497 | 4318 | 4360 | 4234 | 4421 | 4307 | 4344 | 4299 | 4204 | 4141 | 4153 | 4131 | 4066 | 3993 | 3901 | 3945 | 4023 | 3946 | 3843 | 3693 | 3871 | 3855 | 3676 | 3800 | 3651 | 3618 | 3490 | 3503 | 3551 | 3459 | 3583 | 3313 | 3344 | 3243 | 3284 | 3318 | 3279 | 3154 | 3287 | 3141 | 3224 | 3217 | 2991 | 3155 | 2952 | 3033 | 3032 | 2945 | 2978 | 2922 | 2880 | 2934
1 | B1 | 507 | 582 | 531 | 549 | 531 | 552 | 602 | 586 | 657 | 679 | 713 | 784 | 866 | 1028 | 1203 | 1574 | 1842 | 2489 | 3035 | 3754 | 4431 | 5148 | 5710 | 6744 | 7256 | 7772 | 8668 | 9314 | 9775 | 10606 | 11476 | 11666 | 12178 | 12900 | 13214 | 14272 | 14229 | 14900 | 15206 | 15759 | 15965 | 16540 | 16691 | 17325 | 17853 | 17977 | 18174 | 18405 | 18738 | 19253 | 19327 | 19858 | 19799 | 19769 | 20085 | 20264 | 20335 | 20683 | 20920 | 21033 | 20921 | 21308 | 21087 | 21550 | 21238 | 21510 | 21287 | 21162 | 21097 | 21538 | 21228 | 21746 | 21331 | 21484 | 21296 | 21663 | 21907 | 21775 | 21361 | 21466 | 21672 | 21586 | 21705 | 21905 | 22065 | 21893 | 22263 | 22254 | 22562 | 23002 | 23352 | 23223 | 24121 | 24460 | 24783 | 25632 | 26238 | 27232 | 27483 | 28204 | 28303 | 29146 | 29975 | 30449 | 30951 | 30747 | 31927 | 31657 | 32300 | 32281 | 32674 | 32710 | 32515 | 32732 | 33172 | 33110 | 32546 | 33221 | 32916 | 32672 | 32455 | 32982 | 32222 | 32454 | 31964 | 32059 | 32023 | 32005 | 31522 | 30417 | 30941 | 31040 | 30085 | 30408 | 30386 | 29837 | 29173 | 29690 | 29016 | 28931 | 28512 | 28355 | 28012 | 27784 | 27346 | 27475 | 26501 | 26942 | 26689 | 26193 | 25859 | 25578 | 25169 | 25066 | 25016 | 24183 | 24380 | 23825 | 23782 | 23246
1 | B2 | 474 | 474 | 514 | 477 | 475 | 483 | 520 | 488 | 493 | 485 | 521 | 519 | 522 | 547 | 542 | 609 | 554 | 532 | 617 | 585 | 601 | 640 | 637 | 738 | 792 | 754 | 832 | 862 | 977 | 1183 | 1231 | 1471 | 1773 | 1801 | 1985 | 2307 | 2560 | 2756 | 3175 | 3213 | 3518 | 4060 | 4067 | 4334 | 4451 | 4793 | 4909 | 5075 | 5425 | 5684 | 5666 | 6004 | 6245 | 6189 | 6664 | 6722 | 6743 | 7005 | 7181 | 7378 | 7379 | 7582 | 7705 | 7873 | 7790 | 7858 | 8162 | 8259 | 8162 | 8351 | 8728 | 8787 | 8731 | 8533 | 8657 | 8865 | 8789 | 8840 | 8926 | 9033 | 8930 | 9081 | 9259 | 9219 | 9266 | 9152 | 8908 | 9117 | 8742 | 9095 | 9072 | 8965 | 9060 | 8749 | 8707 | 9090 | 8948 | 8737 | 8822 | 8386 | 8521 | 8459 | 8527 | 8231 | 8269 | 8150 | 8245 | 8139 | 8164 | 7932 | 8060 | 8104 | 7864 | 7839 | 8068 | 8033 | 8327 | 8465 | 8770 | 8697 | 9156 | 9496 | 9508 | 10055 | 10694 | 10777 | 11152 | 11553 | 11798 | 12201 | 12798 | 12534 | 12909 | 13070 | 13393 | 13756 | 14082 | 14274 | 14440 | 14655 | 14593 | 15013 | 15003 | 15203 | 15256 | 15576 | 15531 | 15617 | 15988 | 15615 | 15780 | 15885 | 16303 | 16075 | 16055 | 15580 | 16002 | 16052 | 15697 | 15978
1 | B3 | 1851 | 2143 | 2536 | 2964 | 3144 | 3561 | 4005 | 4462 | 4739 | 5210 | 5512 | 5872 | 6213 | 6312 | 6413 | 6978 | 7118 | 7325 | 7712 | 7877 | 7920 | 8661 | 8936 | 8958 | 9311 | 9710 | 10030 | 10244 | 10522 | 10955 | 11023 | 11745 | 12065 | 12288 | 12617 | 12317 | 12633 | 12528 | 12565 | 12645 | 12844 | 12247 | 12751 | 12501 | 12685 | 12103 | 12283 | 12465 | 12156 | 11836 | 11910 | 11979 | 11554 | 11563 | 11690 | 11351 | 11695 | 11218 | 11385 | 11167 | 10957 | 10949 | 10856 | 10690 | 10569 | 10354 | 10571 | 10272 | 10516 | 10142 | 10137 | 10040 | 9755 | 9781 | 9610 | 9582 | 9796 | 9685 | 9452 | 9220 | 9298 | 8989 | 8737 | 8830 | 8857 | 8525 | 8681 | 8579 | 8700 | 8575 | 8415 | 8349 | 7923 | 8179 | 7899 | 7968 | 7772 | 7737 | 7582 | 7564 | 7586 | 7626 | 7382 | 7325 | 6849 | 7004 | 7174 | 6907 | 7020 | 6630 | 6650 | 6503 | 6788 | 6367 | 6496 | 6641 | 6255 | 6288 | 6135 | 6051 | 5940 | 5978 | 5842 | 5802 | 5461 | 5681 | 5718 | 5433 | 5482 | 5431 | 5608 | 5329 | 5219 | 5339 | 5062 | 5004 | 4865 | 4824 | 4817 | 4722 | 4898 | 4683 | 4648 | 4618 | 4513 | 4290 | 4272 | 4425 | 4345 | 4257 | 4293 | 4232 | 4150 | 4130 | 4181 | 3954 | 4014 | 3998 | 3902 | 3812
1 | B4 | 1306 | 1479 | 1450 | 1671 | 1754 | 1928 | 1956 | 2151 | 2177 | 2280 | 2459 | 2567 | 2727 | 2670 | 2763 | 2877 | 2894 | 3049 | 3236 | 3286 | 3153 | 3304 | 3468 | 3593 | 3373 | 3490 | 3390 | 3496 | 3563 | 3740 | 3815 | 3876 | 3665 | 3702 | 3742 | 3846 | 3708 | 3682 | 3985 | 3866 | 3965 | 3892 | 3738 | 3846 | 3806 | 3780 | 3707 | 3773 | 3885 | 3973 | 3769 | 3739 | 3708 | 3682 | 3715 | 3689 | 3677 | 3695 | 3652 | 3626 | 3666 | 3548 | 3522 | 3602 | 3650 | 3544 | 3522 | 3478 | 3457 | 3445 | 3553 | 3504 | 3428 | 3495 | 3397 | 3412 | 3369 | 3252 | 3303 | 3214 | 3106 | 3124 | 3379 | 3097 | 3091 | 3150 | 3175 | 3048 | 3024 | 2890 | 2983 | 2961 | 2943 | 2839 | 2800 | 2880 | 2636 | 2750 | 2776 | 2701 | 2847 | 2710 | 2909 | 2716 | 2676 | 2736 | 2562 | 2726 | 2708 | 2649 | 2595 | 2550 | 2495 | 2568 | 2509 | 2492 | 2468 | 2523 | 2415 | 2334 | 2513 | 2393 | 2418 | 2308 | 2391 | 2295 | 2455 | 2326 | 2294 | 2255 | 2340 | 2179 | 2304 | 2216 | 2106 | 2267 | 2244 | 2254 | 2041 | 2229 | 2099 | 2207 | 2082 | 1924 | 2078 | 2174 | 2005 | 1999 | 1891 | 1950 | 1867 | 1923 | 2009 | 1919 | 1948 | 2032 | 1872 | 1914 | 1859 | 1855
1 | B5 | 644 | 719 | 717 | 827 | 1164 | 1304 | 1933 | 2677 | 3361 | 3923 | 4840 | 5615 | 6239 | 7182 | 8101 | 8616 | 9089 | 10027 | 10365 | 11062 | 11526 | 12187 | 12480 | 12901 | 13165 | 13444 | 13879 | 13983 | 14032 | 14433 | 14132 | 14098 | 14554 | 14491 | 14365 | 14259 | 14388 | 14229 | 14030 | 13961 | 13736 | 13797 | 13543 | 13572 | 13498 | 13235 | 13466 | 13111 | 13386 | 13404 | 13386 | 13451 | 13394 | 13862 | 14431 | 14822 | 15854 | 17189 | 18949 | 21950 | 23876 | 25335 | 25838 | 25627 | 25622 | 24874 | 24825 | 24384 | 23801 | 23439 | 22921 | 22109 | 22092 | 21147 | 20628 | 20560 | 20111 | 18912 | 18863 | 17949 | 17600 | 17033 | 16893 | 16063 | 15709 | 15139 | 14915 | 14704 | 13903 | 13585 | 13651 | 13087 | 12472 | 12410 | 12192 | 11932 | 11659 | 11339 | 11348 | 11209 | 10661 | 10550 | 10516 | 10166 | 10040 | 10058 | 9795 | 9522 | 9399 | 9380 | 9563 | 9179 | 9210 | 8901 | 8836 | 8718 | 8657 | 8479 | 8419 | 8284 | 8234 | 8180 | 8121 | 7963 | 8190 | 8168 | 7877 | 7767 | 7823 | 7732 | 7735 | 7739 | 7811 | 7634 | 7736 | 7431 | 7525 | 7529 | 7246 | 7218 | 7290 | 7193 | 7110 | 7043 | 6959 | 7083 | 6996 | 6840 | 6993 | 6772 | 6754 | 6484 | 6682 | 6855 | 6442 | 6425 | 6551 | 6432 | 6282 | 6498
1 | B6 | 1278 | 1462 | 1618 | 1828 | 1983 | 2038 | 2299 | 2331 | 2697 | 2623 | 2686 | 2892 | 2936 | 3212 | 3302 | 3476 | 3735 | 3791 | 3879 | 3860 | 4206 | 4111 | 4141 | 4195 | 4233 | 4443 | 4410 | 4526 | 4726 | 4645 | 4687 | 4770 | 4718 | 4637 | 4953 | 4954 | 4961 | 4999 | 5052 | 5070 | 5095 | 5040 | 5217 | 5362 | 5345 | 5419 | 5097 | 5258 | 5333 | 5493 | 5355 | 5582 | 5514 | 5423 | 5431 | 5346 | 5554 | 5393 | 5233 | 5402 | 5397 | 5390 | 5303 | 5278 | 5150 | 5200 | 5402 | 5111 | 4908 | 5185 | 4832 | 4912 | 4709 | 5007 | 4945 | 4858 | 4773 | 4761 | 4637 | 4731 | 4856 | 4710 | 4532 | 4527 | 4457 | 4440 | 4360 | 4331 | 4247 | 4233 | 4304 | 4379 | 4213 | 3999 | 4001 | 4045 | 4012 | 3850 | 4070 | 3999 | 3906 | 3879 | 3908 | 3855 | 3759 | 3843 | 3830 | 3696 | 3671 | 3683 | 3523 | 3616 | 3500 | 3423 | 3620 | 3494 | 3405 | 3375 | 3351 | 3505 | 3337 | 3272 | 3336 | 3329 | 3292 | 3249 | 3349 | 3223 | 3204 | 3122 | 3104 | 3133 | 3221 | 3083 | 3206 | 3147 | 3081 | 3046 | 2967 | 2952 | 3041 | 2893 | 2803 | 2802 | 2916 | 2971 | 2735 | 2712 | 2868 | 2873 | 2816 | 2868 | 2654 | 2761 | 2644 | 2663 | 2528 | 2671 | 2648 | 2553
1 | B7 | 1533 | 1861 | 2230 | 2574 | 2896 | 3402 | 3932 | 4396 | 4885 | 5339 | 5904 | 6266 | 6705 | 7568 | 7546 | 8450 | 8975 | 9068 | 9378 | 9735 | 9990 | 10260 | 10535 | 10796 | 10775 | 10993 | 11277 | 11735 | 11377 | 11356 | 11477 | 11737 | 11596 | 11723 | 11933 | 12004 | 11728 | 11997 | 11906 | 11954 | 11849 | 11893 | 11818 | 11895 | 11984 | 12055 | 12201 | 11859 | 12100 | 12091 | 12001 | 11771 | 11609 | 11694 | 11523 | 11500 | 11644 | 11424 | 11685 | 11214 | 11436 | 11201 | 10937 | 11118 | 10878 | 11091 | 10890 | 10819 | 10868 | 10458 | 10358 | 10428 | 10357 | 10429 | 10115 | 10203 | 10248 | 10221 | 9511 | 9541 | 9633 | 9491 | 9396 | 9442 | 9211 | 9118 | 9015 | 9081 | 9072 | 8913 | 8766 | 8379 | 8400 | 8557 | 8180 | 8303 | 8148 | 8033 | 7941 | 7859 | 7861 | 7687 | 7752 | 7744 | 7460 | 7689 | 7401 | 7242 | 7124 | 7258 | 6927 | 7150 | 7006 | 6985 | 6895 | 6732 | 6654 | 6678 | 6697 | 6785 | 6362 | 6465 | 6548 | 6496 | 6468 | 6441 | 6274 | 6370 | 6226 | 6184 | 6255 | 6482 | 6094 | 6101 | 6133 | 5808 | 6084 | 5940 | 5822 | 5968 | 5895 | 5784 | 5865 | 5680 | 5473 | 5806 | 5671 | 5674 | 5448 | 5834 | 5478 | 5586 | 5639 | 5404 | 5363 | 5318 | 5487 | 5308 | 5258 | 5145
1 | B8 | 1423 | 1561 | 1666 | 1826 | 2047 | 2355 | 2388 | 2748 | 2722 | 2972 | 3144 | 3498 | 3545 | 3682 | 3955 | 4052 | 4249 | 4438 | 4554 | 4558 | 5007 | 4836 | 4913 | 5154 | 5309 | 5375 | 5317 | 5430 | 5463 | 5430 | 5422 | 5385 | 5697 | 5650 | 5658 | 5878 | 5730 | 5669 | 5783 | 5925 | 5668 | 5833 | 5797 | 5658 | 5935 | 5817 | 5761 | 5938 | 5777 | 5669 | 5865 | 5802 | 5702 | 5674 | 5642 | 5779 | 5759 | 5639 | 5430 | 5559 | 5640 | 5540 | 5539 | 5405 | 5614 | 5508 | 5341 | 5278 | 5386 | 5467 | 5388 | 5365 | 5294 | 5294 | 5147 | 5264 | 5325 | 5182 | 5303 | 4828 | 5028 | 5069 | 4895 | 4854 | 4897 | 4830 | 4759 | 4836 | 4733 | 4631 | 4597 | 4701 | 4559 | 4645 | 4614 | 4432 | 4505 | 4506 | 4396 | 4367 | 4450 | 4401 | 4228 | 4318 | 4333 | 4261 | 4255 | 3991 | 4044 | 4018 | 3962 | 3856 | 3954 | 3972 | 4003 | 3905 | 3910 | 3780 | 3801 | 3722 | 3776 | 3692 | 3802 | 3688 | 3724 | 3637 | 3607 | 3505 | 3537 | 3702 | 3396 | 3513 | 3370 | 3355 | 3429 | 3443 | 3240 | 3268 | 3358 | 3386 | 3286 | 3279 | 3142 | 3069 | 3181 | 3161 | 3133 | 2975 | 3059 | 3099 | 3074 | 2961 | 3011 | 2937 | 2874 | 2756 | 2971 | 2841 | 2826 | 2729
1 | B9 | 489 | 429 | 462 | 464 | 518 | 575 | 702 | 842 | 1050 | 1191 | 1459 | 1740 | 1972 | 2334 | 2648 | 3044 | 3467 | 3895 | 4148 | 4484 | 5061 | 5497 | 5955 | 6328 | 6807 | 7367 | 7621 | 8365 | 8665 | 9045 | 9113 | 9683 | 10183 | 10576 | 11010 | 11272 | 11852 | 12369 | 13163 | 13150 | 13962 | 14126 | 14508 | 14894 | 15786 | 15810 | 16282 | 16581 | 17197 | 17551 | 17910 | 18181 | 18596 | 18711 | 19164 | 18985 | 19498 | 19734 | 20288 | 20680 | 20635 | 20988 | 21470 | 21636 | 21837 | 22192 | 22495 | 22674 | 22656 | 23219 | 23175 | 23899 | 23695 | 24010 | 24475 | 24455 | 24270 | 24675 | 24265 | 24780 | 24976 | 24406 | 24329 | 24440 | 24692 | 24470 | 24770 | 24841 | 24887 | 24959 | 24435 | 25004 | 24597 | 24599 | 24552 | 24650 | 24289 | 24100 | 24321 | 24034 | 23538 | 23938 | 23963 | 23653 | 24109 | 23778 | 23996 | 23328 | 23608 | 23353 | 23193 | 23077 | 23404 | 23142 | 23067 | 23188 | 22851 | 22540 | 22586 | 22613 | 22728 | 22538 | 22144 | 22021 | 22046 | 22113 | 21864 | 21936 | 21895 | 21707 | 21823 | 21602 | 21147 | 21286 | 21248 | 21188 | 21285 | 21301 | 20654 | 20899 | 20888 | 20230 | 20418 | 20310 | 20204 | 20103 | 19967 | 19958 | 19823 | 20274 | 19807 | 19648 | 19645 | 19110 | 18792 | 19050 | 19195 | 18753 | 18764 | 18675
1 | B10 | 565 | 585 | 626 | 753 | 1010 | 1537 | 2125 | 2829 | 3516 | 4301 | 5169 | 5970 | 7067 | 8050 | 8651 | 9459 | 10427 | 10933 | 11941 | 12711 | 13060 | 13828 | 14522 | 15334 | 16064 | 16597 | 17191 | 18069 | 18323 | 19016 | 19635 | 19759 | 19848 | 20625 | 21107 | 21118 | 21435 | 22004 | 22127 | 22500 | 22656 | 22777 | 23045 | 23929 | 23616 | 23872 | 24036 | 24256 | 24490 | 24664 | 24856 | 25283 | 25335 | 24766 | 25917 | 25745 | 25481 | 25626 | 25705 | 25684 | 25553 | 25903 | 25368 | 25544 | 25394 | 25469 | 25400 | 25571 | 24996 | 25316 | 25184 | 25512 | 24891 | 24885 | 25189 | 25015 | 25292 | 24992 | 24678 | 24471 | 24381 | 24117 | 24332 | 24230 | 24165 | 23754 | 23610 | 23904 | 23799 | 23398 | 23429 | 23427 | 23553 | 23108 | 22955 | 22826 | 22596 | 22894 | 22422 | 22631 | 22448 | 21953 | 22175 | 22041 | 22262 | 21774 | 21710 | 21565 | 21329 | 21403 | 21012 | 21016 | 21000 | 20934 | 20833 | 20832 | 20403 | 20309 | 20407 | 20179 | 19927 | 20013 | 20142 | 19453 | 19569 | 19329 | 19426 | 19310 | 19150 | 18898 | 18845 | 18888 | 18731 | 18639 | 18328 | 18240 | 18014 | 18143 | 18076 | 17724 | 17830 | 17158 | 17629 | 17330 | 17138 | 17247 | 16852 | 17197 | 16820 | 16729 | 16528 | 15992 | 16338 | 16080 | 16091 | 15958 | 16043 | 15966 | 15542 | 15437
1 | B11 | 1460 | 1773 | 1847 | 2196 | 2252 | 2641 | 2895 | 3155 | 3393 | 3699 | 4084 | 4419 | 4452 | 4757 | 4805 | 5155 | 5371 | 5426 | 5788 | 5982 | 6151 | 6211 | 6526 | 6427 | 6689 | 6840 | 6750 | 6866 | 7342 | 7122 | 7279 | 7375 | 7211 | 7437 | 7580 | 7618 | 7572 | 7813 | 7877 | 7431 | 7680 | 7540 | 7718 | 7804 | 7955 | 7655 | 7801 | 7713 | 7838 | 7695 | 7488 | 7682 | 7552 | 7727 | 7513 | 7526 | 7558 | 7525 | 7350 | 7434 | 7649 | 7243 | 7410 | 7504 | 7327 | 7300 | 7240 | 7100 | 7233 | 7035 | 7227 | 6943 | 7280 | 6993 | 7056 | 7006 | 6942 | 6924 | 6902 | 6850 | 6881 | 6643 | 6777 | 6597 | 6699 | 6499 | 6706 | 6661 | 6556 | 6535 | 6297 | 6399 | 6195 | 6191 | 6194 | 6207 | 6398 | 5960 | 6449 | 5958 | 5861 | 6107 | 5869 | 5765 | 5720 | 5600 | 5983 | 5706 | 5809 | 5704 | 5570 | 5496 | 5630 | 5662 | 5728 | 5397 | 5596 | 5407 | 5406 | 5205 | 5143 | 5142 | 5230 | 5275 | 5162 | 5109 | 5224 | 5181 | 4999 | 4894 | 4855 | 4936 | 4905 | 4832 | 4783 | 4673 | 4665 | 4809 | 4691 | 4589 | 4581 | 4547 | 4514 | 4402 | 4401 | 4425 | 4364 | 4406 | 4363 | 4134 | 4273 | 4176 | 4151 | 4066 | 4219 | 4077 | 3980 | 4054 | 4081 | 4114
1 | B12 | 1020 | 1170 | 1348 | 1427 | 1607 | 1803 | 1835 | 2031 | 2339 | 2471 | 2476 | 2681 | 2890 | 2849 | 3049 | 3087 | 3273 | 3303 | 3379 | 3574 | 3556 | 3465 | 3727 | 3752 | 3913 | 3898 | 3839 | 3881 | 3932 | 4020 | 4084 | 4211 | 4166 | 4179 | 4111 | 4122 | 4123 | 4242 | 4249 | 4339 | 4327 | 4401 | 4245 | 4421 | 4262 | 4336 | 4433 | 4283 | 4294 | 4341 | 4375 | 4267 | 4096 | 4141 | 4289 | 4274 | 4255 | 4306 | 4225 | 4315 | 4107 | 4194 | 4189 | 4147 | 4201 | 4073 | 4168 | 3990 | 4064 | 4086 | 4199 | 4072 | 4060 | 3990 | 4014 | 4078 | 4021 | 4044 | 3875 | 4121 | 3893 | 3811 | 3889 | 3887 | 3810 | 3807 | 3929 | 3708 | 3575 | 3667 | 3677 | 3678 | 3577 | 3822 | 3795 | 3532 | 3731 | 3484 | 3453 | 3515 | 3543 | 3539 | 3516 | 3591 | 3404 | 3435 | 3469 | 3431 | 3476 | 3383 | 3350 | 3250 | 3407 | 3223 | 3517 | 3298 | 3351 | 3321 | 3217 | 3189 | 3189 | 3067 | 3127 | 3068 | 3185 | 3062 | 3121 | 2939 | 2978 | 3164 | 2996 | 2997 | 2981 | 2998 | 2824 | 2829 | 2918 | 2842 | 2775 | 2778 | 2840 | 2801 | 2786 | 2877 | 2807 | 2767 | 2792 | 2721 | 2723 | 2663 | 2555 | 2440 | 2590 | 2573 | 2591 | 2535 | 2582 | 2479 | 2592 | 2538