## Results by well
Phenoloxidase ESP
2019-04-02 17:09
Assay was completed successfully.
Results
Well | Sample | Cycles | Maximum slope (1/cycle)
A6 | A6 | 7 | 0.006
A7 | A7 | 7 | 0.001
A8 | A8 | 7 | 0.019
A9 | A9 | 7 | 0.016
B6 | B6 | 7 | 0.363
B7 | B7 | 7 | 0.005
B8 | B8 | 7 | 0.331
B9 | B9 | 7 | 0.244
C6 | C6 | 7 | 0.263
C7 | C7 | 7 | 0.025
C8 | C8 | 7 | 0.309
C9 | C9 | 7 | 0.167
D6 | D6 | 7 | 0.046
D7 | D7 | 7 | 0.015
D8 | D8 | 7 | 0.044
D9 | D9 | 7 | 0.044

## Replicate statistics
Phenoloxidase ESP
2019-04-02 17:09
Assay was completed successfully.
Replicate statistics
Absorbance
Maximum slope (1/cycle)
Sample | Dilution | N | CV | Mean
A6 | All | 1 | 0% | 0.006
A6 | 1:1 | 1 | 0% | 0.006
A7 | All | 1 | 0% | 0.001
A7 | 1:1 | 1 | 0% | 0.001
A8 | All | 1 | 0% | 0.019
A8 | 1:1 | 1 | 0% | 0.019
A9 | All | 1 | 0% | 0.016
A9 | 1:1 | 1 | 0% | 0.016
B6 | All | 1 | 0% | 0.363
B6 | 1:1 | 1 | 0% | 0.363
B7 | All | 1 | 0% | 0.005
B7 | 1:1 | 1 | 0% | 0.005
B8 | All | 1 | 0% | 0.331
B8 | 1:1 | 1 | 0% | 0.331
B9 | All | 1 | 0% | 0.244
B9 | 1:1 | 1 | 0% | 0.244
C6 | All | 1 | 0% | 0.263
C6 | 1:1 | 1 | 0% | 0.263
C7 | All | 1 | 0% | 0.025
C7 | 1:1 | 1 | 0% | 0.025
C8 | All | 1 | 0% | 0.309
C8 | 1:1 | 1 | 0% | 0.309
C9 | All | 1 | 0% | 0.167
C9 | 1:1 | 1 | 0% | 0.167
D6 | All | 1 | 0% | 0.046
D6 | 1:1 | 1 | 0% | 0.046
D7 | All | 1 | 0% | 0.015
D7 | 1:1 | 1 | 0% | 0.015
D8 | All | 1 | 0% | 0.044
D8 | 1:1 | 1 | 0% | 0.044
D9 | All | 1 | 0% | 0.044
D9 | 1:1 | 1 | 0% | 0.044

## Raw OD(492)
Phenoloxidase ESP
2019-04-02 17:09
Assay was completed successfully.
Raw OD(492)
Plate # | Well | Cycle # | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | A6 | Time (s) | 0 | 296.857 | 593.152 | 889.42 | 1185.715 | 1482.054 | 1778.313
1 | A6 | Result | 0.335 | 0.343 | 0.347 | 0.346 | 0.349 | 0.352 | 0.353
1 | A7 | Time (s) | 0.643 | 297.491 | 593.786 | 890.054 | 1186.348 | 1482.688 | 1778.947
1 | A7 | Result | 0.077 | 0.078 | 0.079 | 0.078 | 0.079 | 0.079 | 0.08
1 | A8 | Time (s) | 1.286 | 298.134 | 594.429 | 890.697 | 1186.991 | 1483.331 | 1779.59
1 | A8 | Result | 0.398 | 0.425 | 0.437 | 0.445 | 0.452 | 0.462 | 0.472
1 | A9 | Time (s) | 1.92 | 298.768 | 595.063 | 891.331 | 1187.616 | 1483.965 | 1780.223
1 | A9 | Result | 0.428 | 0.455 | 0.46 | 0.468 | 0.48 | 0.488 | 0.494
1 | B6 | Time (s) | 4.393 | 301.179 | 597.465 | 893.741 | 1190.018 | 1486.348 | 1782.59
1 | B6 | Result | 0.864 | 1.385 | 1.59 | 1.712 | 1.79 | 1.858 | 1.919
1 | B7 | Time (s) | 3.75 | 300.536 | 596.822 | 893.098 | 1189.375 | 1485.706 | 1781.947
1 | B7 | Result | 0.076 | 0.08 | 0.087 | 0.091 | 0.097 | 0.101 | 0.105
1 | B8 | Time (s) | 3.143 | 299.965 | 596.259 | 892.527 | 1188.813 | 1485.143 | 1781.384
1 | B8 | Result | 1.141 | 1.686 | 1.803 | 1.953 | 2.018 | 2.107 | 2.25
1 | B9 | Time (s) | 2.554 | 299.393 | 595.688 | 891.965 | 1188.25 | 1484.59 | 1780.848
1 | B9 | Result | 1.466 | 1.775 | 1.954 | 2.09 | 2.211 | 2.359 | 2.502
1 | C6 | Time (s) | 5.018 | 301.759 | 598.036 | 894.304 | 1190.581 | 1486.911 | 1783.152
1 | C6 | Result | 1.273 | 1.62 | 1.799 | 1.902 | 2.017 | 2.103 | 2.167
1 | C7 | Time (s) | 5.607 | 302.331 | 598.607 | 894.866 | 1191.143 | 1487.473 | 1783.706
1 | C7 | Result | 0.211 | 0.225 | 0.251 | 0.275 | 0.301 | 0.323 | 0.347
1 | C8 | Time (s) | 6.25 | 302.973 | 599.241 | 895.509 | 1191.786 | 1488.107 | 1784.348
1 | C8 | Result | 1.432 | 1.912 | 2.05 | 2.137 | 2.234 | 2.347 | 2.489
1 | C9 | Time (s) | 6.822 | 303.536 | 599.804 | 896.072 | 1192.34 | 1488.661 | 1784.884
1 | C9 | Result | 1.574 | 1.764 | 1.858 | 1.992 | 2.073 | 2.18 | 2.406
1 | D6 | Time (s) | 9.313 | 306.018 | 602.286 | 898.545 | 1194.813 | 1491.125 | 1787.331
1 | D6 | Result | 0.356 | 0.397 | 0.448 | 0.482 | 0.517 | 0.554 | 0.594
1 | D7 | Time (s) | 8.67 | 305.375 | 601.643 | 897.902 | 1194.17 | 1490.482 | 1786.688
1 | D7 | Result | 0.101 | 0.117 | 0.132 | 0.145 | 0.157 | 0.171 | 0.183
1 | D8 | Time (s) | 8.036 | 304.741 | 601.009 | 897.268 | 1193.536 | 1489.848 | 1786.063
1 | D8 | Result | 0.352 | 0.402 | 0.439 | 0.476 | 0.509 | 0.54 | 0.567
1 | D9 | Time (s) | 7.402 | 304.107 | 600.375 | 896.634 | 1192.902 | 1489.223 | 1785.429
1 | D9 | Result | 0.341 | 0.385 | 0.43 | 0.466 | 0.503 | 0.537 | 0.568

## Info
Phenoloxidase ESP
2019-04-02 17:09
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Kinetics by plate
Cycles | 7
Interval | 0:05:00
Shake | No shake
Absorbance
Technology | Absorbance
Flashes | 25
Calculation | OD(492)
End kinetics