## Results by well
AMP
2019-03-04 12:23
Assay was completed successfully.
Results
Well | Sample | Cycles
A1 | A1 | 3
B1 | B1 | 3
C1 | C1 | 3
D1 | D1 | 3

## Replicate statistics
AMP
2019-03-04 12:23
Assay was completed successfully.
Replicate statistics
Luminescence
Cycles
Sample | Dilution | N | CV | Mean
A1 | All | 1 | 0% | 3
A1 | 1:1 | 1 | 0% | 3
B1 | All | 1 | 0% | 3
B1 | 1:1 | 1 | 0% | 3
C1 | All | 1 | 0% | 3
C1 | 1:1 | 1 | 0% | 3
D1 | All | 1 | 0% | 3
D1 | 1:1 | 1 | 0% | 3

## Luminescence
AMP
2019-03-04 12:23
Assay was completed successfully.
Luminescence (counts)
Plate # | Well | Cycle # | 1 | 2 | 3
1 | A1 | Time (s) | 0 | 4.991 | 9.973
1 | A1 | Result | 984 | 1159 | 958
1 | B1 | Time (s) | 1.143 | 6.143 | 11.125
1 | B1 | Result | 260567 | 260025 | 260039
1 | C1 | Time (s) | 2.285 | 7.285 | 12.277
1 | C1 | Result | 624 | 780 | 653
1 | D1 | Time (s) | 3.428 | 8.428 | 13.419
1 | D1 | Result | 275 | 289 | 248

## Info
AMP
2019-03-04 12:23
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Kinetics by plate
Cycles | 3
Interval | 0:00:00
Shake | No shake
Luminescence
Technology | Luminescence
Filter | IR Cutoff
Counting time (s) | 1
Aperture | Default
Read mode | Top
Focus (mm) | Default
PMT voltage | Default
Discriminator voltage | Default
End kinetics