Notes to the Excercise
1. Install NMRFAM-Sparky or alternative program for NMR.
2. Open *ucsf files and adjust spectral properties (S/N ration, colors, levels). Create *save and *proj files. (SPARKY)
3. Inspect the skeleton of solved compound (attached figure).
4. Assign max. of 1H and 13C resonances, determine position of 2 fragments. Specify stereochemistry of all 1H signals/substituents.

---
Few comments
HSQC spectrum is not fully evolved for all crosspeaks :-(
Two bond couplings in HMBC are in some cases smaller than three-bond.
For crosspeaks in t1-noise check their presence in opposite dimension.
Always double check the individual assignments steps!
Solvent chloroform with water residuals, t = 5°C.

---
Requested outputs
1. Complete assignment of crosspeaks → send *save files.
2. Build final structure of the molecule.
3. Prepare a comprehensive report with comments describing logically the procedure of your work. Wrap your report together with *save files and deposit it via IS.