## List1
Document Name: A2 LaR odp sk1 24112010.sds
Plate Type: Absolute Quantification
User: 7500RTPCR
Document Information
Operator: zdenek
Run Date: Wednesday | November 24 | 2010 19:56:00
Last Modified: Thursday | November 25 | 2010 06:47:36
Instrument Type: Applied Biosystems 7500 Real-Time PCR System
Comments:
SDS v1.3.1
Thermal Cycler Profile
Stage | Repetitions | Temperature | Time | Ramp Rate | Auto Increment
1 | 1 | 50.0 ｰC | 2:00 | 100
2 | 1 | 95.0 ｰC | 10:00 | 100
3 | 40 | 95.0 ｰC | 0:15 | 100
|  | 60.0 ｰC | 1:00 | 100
Standard 7500 Mode
Data Collection : Stage 3 Step 1
PCR Volume: 25 ｵL
Well | Sample Name | Detector | Task | Ct | StdDev Ct | Qty | Mean Qty | StdDev Qty | Filtered | Tm
A1 | HL60 bez EtOH | GAPDH | Unknown | 22.17 | 3.042
|  | cycD1 | Unknown | 26.72 | 0.425
A2 | HL60 bez EtOH | GAPDH | Unknown | 20.9 | 3.042
|  | cycD1 | Unknown | 26.16 | 0.425
A3 | HL60 bez EtOH | GAPDH | Unknown | 26.69 | 3.042
|  | cycD1 | Unknown | 27 | 0.425
A4 | NoRNA | GAPDH | Unknown | Undetermined
|  | cycD1 | Unknown | Undetermined
A5 | NoRT | GAPDH | Unknown | Undetermined
|  | cycD1 | Unknown | Undetermined
B1 | HL60 ATRA bez EtOH | GAPDH | Unknown | 21 | 0.253
|  | cycD1 | Unknown | 26.14 | 0.15
B2 | HL60 ATRA bez EtOH | GAPDH | Unknown | 20.54 | 0.253
|  | cycD1 | Unknown | 25.86 | 0.15
B3 | HL60 ATRA bez EtOH | GAPDH | Unknown | 20.96 | 0.253
|  | cycD1 | Unknown | 26.1 | 0.15
B4 | NoRNA | GAPDH | Unknown | Undetermined |  |  |  |  | Noisy BL
|  | cycD1 | Unknown | Undetermined
B5 | NoRT | GAPDH | Unknown | Undetermined
|  | cycD1 | Unknown | Undetermined
C1 | HL60 0,5 ul | GAPDH | Unknown | 22.66 | 0.935
|  | cycD1 | Unknown | 26.45 | 0.417
C2 | HL60 0,5 ul | GAPDH | Unknown | 21.17 | 0.935
|  | cycD1 | Unknown | 25.81 | 0.417
C3 | HL60 0,5 ul | GAPDH | Unknown | 20.93 | 0.935
|  | cycD1 | Unknown | 25.66 | 0.417
D1 | HL60 1 ul | GAPDH | Unknown | 22.23 | 2.681
|  | cycD1 | Unknown | 26.42 | 3.648
D2 | HL60 1 ul | GAPDH | Unknown | 26.02 | 2.681
|  | cycD1 | Unknown | 31.37 | 3.648
D3 | HL60 1 ul | GAPDH | Unknown | Undetermined
|  | cycD1 | Unknown | 33.54 | 3.648