## List1
Document Name: A2 skupina 1 odp 23112010.sds
Plate Type: Absolute Quantification
User: 7500RTPCR
Document Information
Operator: 7500RTPCR
Run Date: Wednesday | November 24 | 2010 07:43:32
Last Modified: Wednesday | November 24 | 2010 10:28:29
Instrument Type: Applied Biosystems 7500 Real-Time PCR System
Comments:
SDS v1.3.1
Thermal Cycler Profile
Stage | Repetitions | Temperature | Time | Ramp Rate | Auto Increment
1 | 1 | 50.0 °C | 2:00 | 100
2 | 1 | 95.0 °C | 10:00 | 100
3 | 40 | 95.0 °C | 0:15 | 100
|  | 60.0 °C | 1:00 | 100
Standard 7500 Mode
Data Collection : Stage 3 Step 1
PCR Volume: 25 µL
Well | Sample Name | Detector | Task | Ct | StdDev Ct | Qty | Mean Qty | StdDev Qty | Filtered | Tm
D1 | 25 ng | cycD1 | Unknown | 26.8 | 0.099
|  | GAPDH-human | Unknown | 21.5 | 0.096
D2 | 25 ng | cycD1 | Unknown | 27 | 0.099
|  | GAPDH-human | Unknown | 21.66 | 0.096
D3 | 25 ng | cycD1 | Unknown | 26.89 | 0.099
|  | GAPDH-human | Unknown | 21.66 | 0.096
D5 | 2.5 ng | cycD1 | Unknown | 30.9 | 0.42
|  | GAPDH-human | Unknown | 25.35 | 0.361
D6 | 2.5 ng | cycD1 | Unknown | 31 | 0.42
|  | GAPDH-human | Unknown | 25.72 | 0.361
D7 | 2.5 ng | cycD1 | Unknown | 30.23 | 0.42
|  | GAPDH-human | Unknown | 25 | 0.361
D9 | 250 pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
D10 | 250 pg | cycD1 | Unknown | 34.01 | 0.117
|  | GAPDH-human | Unknown | 28.87 | 0.001
D11 | 250 pg | cycD1 | Unknown | 34.18 | 0.117
|  | GAPDH-human | Unknown | 28.88 | 0.001
E1 | 25 pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
E2 | 25 pg | cycD1 | Unknown | 37.56 | 0.294
|  | GAPDH-human | Unknown | 33.14 | 0.142
E3 | 25 pg | cycD1 | Unknown | 37.97 | 0.294
|  | GAPDH-human | Unknown | 32.93 | 0.142
E5 | 2.5pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | 36.28 | 0.453
E6 | 2.5pg | cycD1 | Unknown | 38.98
|  | GAPDH-human | Unknown | 35.98 | 0.453
E7 | 2.5pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | 35.39 | 0.453
E9 | 0.25pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
E10 | 0.25pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | 39.38 | 0.347
E11 | 0.25pg | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | 39.87 | 0.347
F1 | NoRT | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
F2 | NoRT | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
F3 | NoRT | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
F5 | H2O | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined |  |  |  |  | Noisy BL
F6 | H2O | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | Undetermined
F7 | H2O | cycD1 | Unknown | Undetermined
|  | GAPDH-human | Unknown | 38.73