## List1
Document Name: A549-izolace_U-2(M | MI | DM | DMI | 0E) | 2.3.2010.sds
Plate Type: Absolute Quantification
User: 7500RTPCR
Document Information
Operator: 7500RTPCR
Run Date: Tuesday | March 02 | 2010 14:57:18
Last Modified: Tuesday | March 02 | 2010 17:19:04
Instrument Type: Applied Biosystems 7500 Real-Time PCR System
Comments:
SDS v1.3.1
Thermal Cycler Profile
Stage | Repetitions | Temperature | Time | Ramp Rate | Auto Increment
1 | 1 | 50.0 ｰC | 2:00 | 100
2 | 1 | 95.0 ｰC | 10:00 | 100
3 | 50 | 95.0 ｰC | 0:15 | 100
|  | 60.0 ｰC | 1:00 | 100
Standard 7500 Mode
Data Collection : Stage 3 Step 1
PCR Volume: 25 ｵL
Well | Sample Name | Detector | Task | Ct | StdDev Ct | Qty | Mean Qty | StdDev Qty | Filtered | Tm
A1 | 100 ng | GAPDH-human | Unknown | 15.45 | 0.116
|  | SFTPA1 | Unknown | 22.51 | 0.32
A2 | 100 ng | GAPDH-human | Unknown | 15.47 | 0.116
|  | SFTPA1 | Unknown | 22.45 | 0.32
A3 | 100 ng | GAPDH-human | Unknown | 15.34 | 0.116
|  | SFTPA1 | Unknown | 22.32 | 0.101
A4 | 10 ng | GAPDH-human | Unknown | 19.11 | 0.116
|  | SFTPA1 | Unknown | 22.11 | 0.101
A5 | 10 ng | GAPDH-human | Unknown | 18.7 | 0.116
|  | SFTPA1 | Unknown | 24.19 | 0.055
A6 | 10 ng | GAPDH-human | Unknown | 18.72 | 0.116
|  | SFTPA1 | Unknown | 23.99 | 0.055
A7 | 1 ng | GAPDH-human | Unknown | 22.88 | 0.1
|  | SFTPA1 | Unknown | 28.01 | 0.223
A8 | 1 ng | GAPDH-human | Unknown | 22.74 | 0.1
|  | SFTPA1 | Unknown | 28.22 | 0.223
A9 | 1 ng | GAPDH-human | Unknown | 22.69 | 0.1
|  | SFTPA1 | Unknown | 27.98 | 0.038
A10 | 100 pg | GAPDH-human | Unknown | 26.03 | 0.1
|  | SFTPA1 | Unknown | 32.05 | 0.038
A11 | 100 pg | GAPDH-human | Unknown | 25.94 | 0.1
|  | SFTPA1 | Unknown | 32.07 | 0.346
A12 | 100 pg | GAPDH-human | Unknown | 25.81 | 0.1
|  | SFTPA1 | Unknown | 32.1 | 0.346
B1 | 10 pg | GAPDH-human | Unknown | 28.11 | 0.183
|  | SFTPA1 | Unknown | 35.21 | 0.284
B2 | 10 pg | GAPDH-human | Unknown | 28.46 | 0.183
|  | SFTPA1 | Unknown | 35.11 | 0.284
B3 | 10 pg | GAPDH-human | Unknown | 28.49 | 0.183
|  | SFTPA1 | Unknown | 34.87 | 0.053
B4 | 1 pg | GAPDH-human | Unknown | 32.02 | 0.183
|  | SFTPA1 | Unknown | 39.07 | 0.053
B5 | 1 pg | GAPDH-human | Unknown | 31.87 | 0.183
|  | SFTPA1 | Unknown | 38.7 | 0.019
B6 | 1 pg | GAPDH-human | Unknown | 31.73 | 0.183
|  | SFTPA1 | Unknown | 38.77 | 0.019
B7 | No RT | GAPDH-human | Unknown | Undetermined
|  | SFTPA1 | Unknown | Undetermined
B8 | NTC | GAPDH-human | Unknown | Undetermined
|  | SFTPA1 | Unknown | Undetermined
B9
B10
B11
B12
C1 | 100 ng | GAPDH-human | Unknown | 15.35 | 0.116
|  | SFTPA2 | Unknown | 23.51 | 0.32
C2 | 100 ng | GAPDH-human | Unknown | 15.21 | 0.116
|  | SFTPA2 | Unknown | 23.45 | 0.32
C3 | 100 ng | GAPDH-human | Unknown | 14.98 | 0.116
|  | SFTPA2 | Unknown | 23.89 | 0.101
C4 | 10 ng | GAPDH-human | Unknown | 19.02 | 0.116
|  | SFTPA2 | Unknown | 26.01 | 0.101
C5 | 10 ng | GAPDH-human | Unknown | 18.7 | 0.116
|  | SFTPA2 | Unknown | 25.98 | 0.055
C6 | 10 ng | GAPDH-human | Unknown | 18.64 | 0.116
|  | SFTPA2 | Unknown | 26.15 | 0.055
C7 | 1 ng | GAPDH-human | Unknown | 22.52 | 0.1
|  | SFTPA2 | Unknown | 29.5 | 0.223
C8 | 1 ng | GAPDH-human | Unknown | 22.41 | 0.1
|  | SFTPA2 | Unknown | 29.86 | 0.223
C9 | 1 ng | GAPDH-human | Unknown | 22.32 | 0.1
|  | SFTPA2 | Unknown | 29.77 | 0.038
C10 | 100 pg | GAPDH-human | Unknown | 25.81 | 0.1
|  | SFTPA2 | Unknown | 33.69 | 0.038
C11 | 100 pg | GAPDH-human | Unknown | 25.74 | 0.1
|  | SFTPA2 | Unknown | 33.9 | 0.346
C12 | 100 pg | GAPDH-human | Unknown | 25.69 | 0.1
|  | SFTPA2 | Unknown | 33.89 | 0.346
D1 | 10 pg | GAPDH-human | Unknown | 27.55 | 0.183
|  | SFTPA2 | Unknown | 37.01 | 0.284
D2 | 10 pg | GAPDH-human | Unknown | 27.62 | 0.183
|  | SFTPA2 | Unknown | 37.2 | 0.284
D3 | 10 pg | GAPDH-human | Unknown | 27.42 | 0.183
|  | SFTPA2 | Unknown | 37.33 | 0.053
D4 | 1 pg | GAPDH-human | Unknown | 31.01 | 0.183
|  | SFTPA2 | Unknown | 39.01 | 0.053
D5 | 1 pg | GAPDH-human | Unknown | 31.2 | 0.183
|  | SFTPA2 | Unknown | 39.92 | 0.019
D6 | 1 pg | GAPDH-human | Unknown | 30.89 | 0.183
|  | SFTPA2 | Unknown | Undetermined
D7 | No RT | GAPDH-human | Unknown | Undetermined
|  | SFTPA2 | Unknown | Undetermined
D8 | NTC | GAPDH-human | Unknown | Undetermined
|  | SFTPA2 | Unknown | Undetermined
D9
D10
D11
D12
E1 | 100 ng | GAPDH-human | Unknown | 15.51 | 0.116
|  | SFTPB | Unknown | 26.01 | 0.32
E2 | 100 ng | GAPDH-human | Unknown | 15.62 | 0.116
|  | SFTPB | Unknown | 26.1 | 0.32
E3 | 100 ng | GAPDH-human | Unknown | 15.32 | 0.116
|  | SFTPB | Unknown | 26.36 | 0.101
E4 | 10 ng | GAPDH-human | Unknown | 19.21 | 0.116
|  | SFTPB | Unknown | 28.94 | 0.101
E5 | 10 ng | GAPDH-human | Unknown | 18.82 | 0.116
|  | SFTPB | Unknown | 28.86 | 0.055
E6 | 10 ng | GAPDH-human | Unknown | 18.76 | 0.116
|  | SFTPB | Unknown | 28.74 | 0.055
E7 | 1 ng | GAPDH-human | Unknown | 22.99 | 0.1
|  | SFTPB | Unknown | 31.99 | 0.223
E8 | 1 ng | GAPDH-human | Unknown | 22.81 | 0.1
|  | SFTPB | Unknown | 32.54 | 0.223
E9 | 1 ng | GAPDH-human | Unknown | 22.71 | 0.1
|  | SFTPB | Unknown | 32.45 | 0.038
E10 | 100 pg | GAPDH-human | Unknown | 26.03 | 0.1
|  | SFTPB | Unknown | 35.6 | 0.038
E11 | 100 pg | GAPDH-human | Unknown | 25.94 | 0.1
|  | SFTPB | Unknown | 35.84 | 0.346
E12 | 100 pg | GAPDH-human | Unknown | 25.89 | 0.1
|  | SFTPB | Unknown | 35.23 | 0.346
F1 | 10 pg | GAPDH-human | Unknown | 28.13 | 0.183
|  | SFTPB | Unknown | 38.96 | 0.284
F2 | 10 pg | GAPDH-human | Unknown | 29.51 | 0.183
|  | SFTPB | Unknown | 38.21 | 0.284
F3 | 10 pg | GAPDH-human | Unknown | 28.6 | 0.183
|  | SFTPB | Unknown | 38.53 | 0.053
F4 | 1 pg | GAPDH-human | Unknown | 32.12 | 0.183
|  | SFTPB | Unknown | Undetermined | 0.053
F5 | 1 pg | GAPDH-human | Unknown | 32.05 | 0.183
|  | SFTPB | Unknown | Undetermined | 0.019
F6 | 1 pg | GAPDH-human | Unknown | 31.97 | 0.183
|  | SFTPB | Unknown | Undetermined | 0.019
F7 | No RT | GAPDH-human | Unknown | Undetermined
|  | SFTPB | Unknown | Undetermined
F8 | NTC | GAPDH-human | Unknown | Undetermined
|  | SFTPB | Unknown | Undetermined
F9
F10
F11
F12
G1 | 100 ng | GAPDH-human | Unknown | 14.98 | 0.116
|  | SFTPC | Unknown | 30.65 | 0.32
G2 | 100 ng | GAPDH-human | Unknown | 15.55 | 0.116
|  | SFTPC | Unknown | 30.79 | 0.32
G3 | 100 ng | GAPDH-human | Unknown | 15.23 | 0.116
|  | SFTPC | Unknown | 30.84 | 0.101
G4 | 10 ng | GAPDH-human | Unknown | 19.21 | 0.116
|  | SFTPC | Unknown | 33.26 | 0.101
G5 | 10 ng | GAPDH-human | Unknown | 18.82 | 0.116
|  | SFTPC | Unknown | 33.31 | 0.055
G6 | 10 ng | GAPDH-human | Unknown | 18.76 | 0.116
|  | SFTPC | Unknown | 33.51 | 0.055
G7 | 1 ng | GAPDH-human | Unknown | 22.99 | 0.1
|  | SFTPC | Unknown | 37.12 | 0.223
G8 | 1 ng | GAPDH-human | Unknown | 22.81 | 0.1
|  | SFTPC | Unknown | 36.79 | 0.223
G9 | 1 ng | GAPDH-human | Unknown | 22.71 | 0.1
|  | SFTPC | Unknown | 36.93 | 0.038
G10 | 100 pg | GAPDH-human | Unknown | 26.03 | 0.1
|  | SFTPC | Unknown | Undetermined
G11 | 100 pg | GAPDH-human | Unknown | 25.94 | 0.1
|  | SFTPC | Unknown | 39.76 | 0.346
G12 | 100 pg | GAPDH-human | Unknown | 25.89 | 0.1
|  | SFTPC | Unknown | Undetermined
H1 | 10 pg | GAPDH-human | Unknown | 28.13 | 0.183
|  | SFTPC | Unknown | Undetermined
H2 | 10 pg | GAPDH-human | Unknown | 29.51 | 0.183
|  | SFTPC | Unknown | Undetermined
H3 | 10 pg | GAPDH-human | Unknown | 28.6 | 0.183
|  | SFTPC | Unknown | Undetermined
H4 | 1 pg | GAPDH-human | Unknown | 31.81 | 0.183
|  | SFTPC | Unknown | Undetermined | 0.053
H5 | 1 pg | GAPDH-human | Unknown | 32.01 | 0.183
|  | SFTPC | Unknown | Undetermined | 0.019
H6 | 1 pg | GAPDH-human | Unknown | 31.74 | 0.183
|  | SFTPC | Unknown | Undetermined | 0.019
H7 | No RT | GAPDH-human | Unknown | Undetermined
|  | SFTPC | Unknown | Undetermined
H8 | NTC | GAPDH-human | Unknown | Undetermined
|  | SFTPC | Unknown | Undetermined
H9
H10
H11
H12