## List1
Document Name: A549-izolace_U-2(M | MI | DM | DMI | 0E) | 2.3.2010.sds
Plate Type: Absolute Quantification
User: 7500RTPCR
Document Information
Operator: 7500RTPCR
Run Date: Tuesday | March 02 | 2010 14:57:18
Last Modified: Tuesday | March 02 | 2010 17:19:04
Instrument Type: Applied Biosystems 7500 Real-Time PCR System
Comments:
SDS v1.3.1
Thermal Cycler Profile
Stage | Repetitions | Temperature | Time | Ramp Rate | Auto Increment
1 | 1 | 50.0 ｰC | 2:00 | 100
2 | 1 | 95.0 ｰC | 10:00 | 100
3 | 50 | 95.0 ｰC | 0:15 | 100
|  | 60.0 ｰC | 1:00 | 100
Standard 7500 Mode
Data Collection : Stage 3 Step 1
PCR Volume: 25 ｵL
Well | Sample Name | Detector | Task | Ct | StdDev Ct | Qty | Mean Qty | StdDev Qty | Filtered | Tm
A1 | 100 ng | GAPDH-human | Unknown | 14.98 | 0.116
|  | SFTPD | Unknown | 24.11 | 0.32
A2 | 100 ng | GAPDH-human | Unknown | 15.21 | 0.116
|  | SFTPD | Unknown | 24.23 | 0.32
A3 | 100 ng | GAPDH-human | Unknown | 15.13 | 0.116
|  | SFTPD | Unknown | 24.65 | 0.101
A4 | 10 ng | GAPDH-human | Unknown | 19.11 | 0.116
|  | SFTPD | Unknown | 27.97 | 0.101
A5 | 10 ng | GAPDH-human | Unknown | 18.7 | 0.116
|  | SFTPD | Unknown | 27.99 | 0.055
A6 | 10 ng | GAPDH-human | Unknown | 18.72 | 0.116
|  | SFTPD | Unknown | 28.28 | 0.055
A7 | 1 ng | GAPDH-human | Unknown | 22.88 | 0.1
|  | SFTPD | Unknown | 32.31 | 0.223
A8 | 1 ng | GAPDH-human | Unknown | 22.74 | 0.1
|  | SFTPD | Unknown | 32.11 | 0.223
A9 | 1 ng | GAPDH-human | Unknown | 22.69 | 0.1
|  | SFTPD | Unknown | 31.96 | 0.038
A10 | 100 pg | GAPDH-human | Unknown | 26.03 | 0.1
|  | SFTPD | Unknown | 34.11 | 0.038
A11 | 100 pg | GAPDH-human | Unknown | 25.94 | 0.1
|  | SFTPD | Unknown | 34.23 | 0.346
A12 | 100 pg | GAPDH-human | Unknown | 25.81 | 0.1
|  | SFTPD | Unknown | 34.04 | 0.346
B1 | 10 pg | GAPDH-human | Unknown | 28.11 | 0.183
|  | SFTPD | Unknown | 37.99 | 0.284
B2 | 10 pg | GAPDH-human | Unknown | 28.46 | 0.183
|  | SFTPD | Unknown | 38.12 | 0.284
B3 | 10 pg | GAPDH-human | Unknown | 28.49 | 0.183
|  | SFTPD | Unknown | 38.64 | 0.053
B4 | 1 pg | GAPDH-human | Unknown | 32.02 | 0.183
|  | SFTPD | Unknown | 39.65 | 0.053
B5 | 1 pg | GAPDH-human | Unknown | 32.23 | 0.183
|  | SFTPD | Unknown | 39.74 | 0.019
B6 | 1 pg | GAPDH-human | Unknown | 32.11 | 0.183
|  | SFTPD | Unknown | Undetermined
B7 | No RT | GAPDH-human | Unknown | Undetermined
|  | SFTPD | Unknown | Undetermined
B8 | NTC | GAPDH-human | Unknown | Undetermined
|  | SFTPD | Unknown | Undetermined
B9
B10
B11
B12
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
D12
E1
E2
E3
E4
E5
E6
E7
E8
E9
E10
E11
E12
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12