## Slide 1: Bi9393 Analytická cytometrie Lekce 5
Oddělení cytokinetiky
Biofyzikální ústav AVČR, v.v.i.
Královopolská 135
612 65 Brno
e-mail: ksoucek@ibp.cz
tel.: 541 517 166
Karel Souček, Ph.D.
K. Souček Bi9393 Analytická cytometrie

## Slide 2: Fluorescenční proteiny
bioluminescence resonance energy transfer (BRET)
  Aequorea victoria - medúza žijící ve vodách na pobřeží Severní Ameriky.
  je schopna modře světélkovat (bioluminescence). Ca2+ interaguje s fotoproteinem aequorinem.
  modré světlo excituje green fluorescent protein.
  Renilla reniformis – korál žijící ve vodách na severním pobřeží Floridy.
  luminescence vzniká degradací coelenterazinu za katalytického působení luciferázy.
  modré světlo excituje green fluorescent protein.
Renilla reniformis "Sea Pansy"
http://www.mbayaq.org/efc/living_species/default.asp?hOri=1&inhab=440
Aequorea victoria “Crystal jelly “
http://www.whitney.ufl.edu/species/seapansy.htm

## Slide 3: Fluorescenční proteiny
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 5
O2• –
O2
H2O2
• OH
H2O
4 e– reduction to water
e–
e–
e–
e–
Not so terribly reactive with most biomolecules
Maintained at very low concentration
Catalases, peroxidases, GSH, etc…
Actually a chemical reductant
Not so terribly reactive with most biomolecules
Mitochondrial superoxide the major source of active oxygen
Maintained at very low concentration
Superoxide dismutases
Reacts with virtually any molecule at diffusion-limited rates
The molecule that makes ionizing radiation toxic
Unreactive at STP, but a great electron acceptor
Biological activation via radicals, transition metals
Generally, radical intermediates are enzyme-bound
© Simon Melov

## Slide 6
DCFH-DA DCFH DCF
COOH
H
Cl
O
O-C-CH3
O
CH3-C-O
Cl
O
COOH
H
Cl
OH
HO
Cl
O
COOH
H
Cl
O
HO
Cl
O
Fluorescent
Hydrolysis
Oxidation
2’,7’-dichlorofluorescin
2’,7’-dichlorofluorescin diacetate
2’,7’-dichlorofluorescein
Cellular Esterases
H2O2
DCFH-DA
DCFH-DA
DCFH
DCF
H O
2 2
Lymphocytes
Monocytes
Neutrophils
log FITC Fluorescence
.1
1000
100
10
1
0
20
40
60
counts
PMA-stimulated PMN
Control
80
© J. P. Robinson, Purdue University

## Slide 7: Fluorescent sensors for detection of H2O2

## Slide 8: Variants & fusions
pHyPer-cyto vector
pHyPer-dMito vector
  Duplicated mitochondrial targeting sequence (MTS) is fused to the HyPer N-terminus. MTS was derived from the subunit VIII of human cytochrome C oxidase [Rizzuto et al., 1989; Rizzuto et al., 1995].
pHyPer-nuc vector
  Three copies of the nuclear localization signal (NLS) fused to the HyPer C-terminus provide for efficient translocation of HyPer to the nuclei of mammalian cells [Fischer-Fantuzzi and Vesco, 1988]

## Slide 10: „High Throughput Flow Cytometry“
automatizace + robotizace = urychlení a efektivita sběru dat (měření desítky vzorků za hodinu s minimálním zásahem operátora )
využití principu vícebarevné analýzy
K. Souček Bi9393 Analytická cytometrie

## Slide 11: Automatizované systémy měření vzorků
Automatický karusel (autosampler)
Adaptér pro nasávání vzorků z
mikrotitrační desky

## Slide 12: Automatizovaný „microsampler“ systém
K. Souček Bi9393 Analytická cytometrie

## Slide 15: The steps in a high-throughput fluorescence-microscopy experiment.

## Slide 16: Analysis

## Slide 20
http://www.stanford.edu/group/nolan/
Garry Nolan
Peter Krutzik
„Fluorescent cell barcoding“

## Slide 21
Krutzik PO, Nolan Fluorescent cell barcoding in flow cytometry allows high-throughput drug screening and signaling profiling. Nat Methods. 2006 May;3(5):361-8.
K. Souček Bi9393 Analytická cytometrie

## Slide 22
Krutzik PO, Nolan Fluorescent cell barcoding in flow cytometry allows high-throughput drug screening and signaling profiling. Nat Methods. 2006 May;3(5):361-8.
K. Souček Bi9393 Analytická cytometrie

## Slide 23: Cytometric bead array (CBA)
Multiplexed Bead-Based Immunoassays
flow cytometry application that allows users to quantify multiple proteins simultaneously

## Slide 24: Multiplex microsphere‐based flow cytometric platforms for protein analysis and their application in clinical proteomics – from assays to results
ELECTROPHORESIS Volume 30, Issue 23, pages 4008-4019, 3 DEC 2009 DOI: 10.1002/elps.200900211 http://onlinelibrary.wiley.com/doi/10.1002/elps.200900211/full#fig1
Notes: Microspheres can be immobilized with capture molecules and immunoassays can be performed. (A) Coupling reactions for microspheres: Microspheres with functional groups (carboxyl‐, thiol‐) can be used for immobilizing peptides, proteins, or amino group‐functionalized molecules; alternatively, streptavidin‐functionalized microspheres can be applied for biotin‐labeled capture molecules. (B) Standard capture sandwich assay: An individual assay involving an optically encoded microsphere immobilized with a specific capture molecule (antibody) is being carried out on the particle. After sample incubation, another analyte‐specific antibody (a so‐called detection antibody, which is biotinylated and usually recognizes epitopes that are different from that of the capture antibodies) is then applied to the reaction. The presence and quantity of the reporter tag (e.g. strepavidin‐phycoerythrin) allows the precise quantification of the reactions that occur.
© This slide is made available for non-commercial use only. Please note that permission may be required for re-use of images in which the copyright is owned by a third party.

## Slide 25: CBA

## Slide 26: CBA
multiplexing capabilities
speed
incorporation of multiple assay formats
rapid assay development and reasonable cost
automation

## Slide 27: Biologické aplikace průtokové cytometrie
Cytogenetika
  analýza chromozómů
    karyotyp
    sortrování
      chromozómové DNA knihovny
      FISH značení (chromosome painting)
K. Souček Bi9393 Analytická cytometrie

## Slide 28: Analýza a sortrování chromozómů

## Slide 29: Analýza a sortrování chromozómů
synchronizace buněk – zisk metafázních chromozómů (colcemid, hydroxyurea)
izolace chromozómů
značení DAPI nebo Hoechst vs. chromomycin A3 (CA3) nebo mithramycin
= celková DNA vs. G/C-bohaté oblasti
http://www.scienceclarified.com/Ca-Ch/Chromosome.html
http://www.nccr-oncology.ch/scripts/page9243.html

## Slide 30: Analýza a sortrování chromozómů

## Slide 32: „Flow karyotype“
http://www.sanger.ac.uk/HGP/Cytogenetics/
♂
♀
Karcinom močového měchýře

## Slide 33: Sortrování chromozómů
Pisum sativum

## Slide 34: Sortrování chromozómů
Vicia faba

## Slide 35: Aplikace průtokové cytometrie v mikrobiologii
ekologie
potravinářství
bioterorismus
http://www.cyto.purdue.edu/flowcyt/research/micrflow/

## Slide 36: Aplikace průtokové cytometrie v mikrobiologii

## Slide 37: Aplikace průtokové cytometrie v mikrobiologii
viabilita
metabolické funkce
sortrování
analýza aerosolů (Fluorescence Aerodynamic Particle Sizer (Flaps))

## Slide 38: Aplikace průtokové cytometrie v mikrobiologii
Sortrování
  EPICS + Autoclone® modul

## Slide 39: Fluorescence Aerodynamic Particle Sizer (Flaps)
http://www.dres.dnd.ca/ResearchTech/Products/CB_PRODUCTS/RD98001/index_e.html

## Slide 40: Průtoková cytometrie kvasinek
buněčné dělení
viabilita
membránový potenciál
respirace
produkce H2O2
citlivost k antibiotikům
separace
Saccharomyces cerevisiae
http://en.wikipedia.org/wiki/Image:Budding_yeast_Lifecycle.png
http://www.sbs.utexas.edu/mycology/sza_images_SEM.htm

## Slide 41: Průtoková cytometrie kvasinek

## Slide 42: Průtoková cytometrie v hydrobiologii
studium pico- a nano-fytoplanktonu (< 20 mM)
analýza metabolických funkcí planktonu
studium pigmentace (analýza chlorofylu a fykoeritrinu)

## Slide 43: Průtoková cytometrie v hydrobiologii

## Slide 44: Průtoková cytometrie v hydrobiologii
analýza DNA
http://planktonnet.awi.de/portal.php?pagetitle=assetfactsheet&asset_id=15127
http://www.soes.soton.ac.uk/staff/tt/

## Slide 45: Průtoková cytometrie v hydrobiologii
http://www.cyto.purdue.edu/flowcyt/research/micrflow/sieracki/sierack2.htm
http://omlc.ogi.edu/spectra/PhotochemCAD/html/chlorophyll-a(MeOH).html

## Slide 47: Průtoková cytometrie bezobratlých
lze aplikovat běžné metodické přístupy a fluorescenční značky
Příklady aplikací:
  buněčný cyklus
  cytotoxicita
  apoptóza

## Slide 48: Invertebrate Survival Journal
http://www.icms.qmul.ac.uk/flowcytometry/uses/insects/index.html

## Slide 49
Figure 5. Representative flow-cytometry scatter plot of hemocytes from 25 oysters.
Rebelo MdF, Figueiredo EdS, Mariante RM, Nóbrega A, et al. (2013) New Insights from the Oyster Crassostrea rhizophorae on Bivalve Circulating Hemocytes. PLoS ONE 8(2): e57384. doi:10.1371/journal.pone.0057384
http://www.plosone.org/article/info:doi/10.1371/journal.pone.0057384

## Slide 50
Figure 6. Proposed model for hemocyte maturation, as seen by flow cytometry.
Rebelo MdF, Figueiredo EdS, Mariante RM, Nóbrega A, et al. (2013) New Insights from the Oyster Crassostrea rhizophorae on Bivalve Circulating Hemocytes. PLoS ONE 8(2): e57384. doi:10.1371/journal.pone.0057384
http://www.plosone.org/article/info:doi/10.1371/journal.pone.0057384

## Slide 51: ex vivo flow cytometrie - limitace
Ovlivnění některých vlastností buněk (morfologie, exprese znaků);
neumožnuje dlouhodobější studie buněčného metabolismu a buněčných interakcí (komunikace, adheze) v přirozeném tkáňovém mikroprostředí;
další:
  nízká citlivost pro detekci vzácných buněčných subpopulací (1-10 buněk/ml ~ 5000 – 50000 buněk v 5 litrech krve dospělého člověka);
  časově náročná příprava vzorku (hodiny, dny);
  diskontinuita odebíraných vzorků.
Cytometry part A 79A: 737-745, 2011

## Slide 52: in vivo vizualizace - limitace
Tloušťka tkáně

## Slide 53: Imaging Basics – Reporter Molecules
Biology
Fluorescent dyes
Label Cells
Label Bacteria
Genetic Marker
+ ATP and O2 – Live cells
Quantum dots and Nanoparticles
+ D-luciferin substrate
Fluorescent Proteins
+ excitation light source
Label Proteins
Luciferase
Transfection Direct cell/protein labeling

## Slide 54: IVIS® Lumina XR – Hardware
Hardware
  Customized for in-vivo imaging
  High sensitivity from 300-900 nm
  Large dynamic range

## Slide 55: The IVIS® Lumina XR Imaging Chamber
Hardware
CCD Camera Cooled -90C
Interchangeable Emission Filter Wheel
Heated Sample Stage
f/1 Lens & Aperture
Light-tight and shielded imaging chamber
Cesium Iodide
(CsI(Tl)) scintillator
Automated aluminum filter
X-Ray Source (40kVp,100mA)
Tungsten Anode

## Slide 56: The Value of X-Ray + Optical Imaging
Mechanics
The Question: Where is the source origin relative to the surface signal?
The Problem: Tissue attenuation/ scattering makes 2D optical signals difficult to locate at a defined location.
The Solution: A co-registered X-ray image provides a fixed anatomical reference, defining skeletal structure and soft tissue organs and enabling better localization of the optical signal.
X-Ray Provides a Fixed Anatomical Reference

## Slide 57: Camera and Lens Settings are Analogous to Photography
Field of View (FOV) is dependent on the distance from the lens to the sample
Light collected is proportional to how long the shutter is open (exposure time)
Aperture (ƒ/stop) controls the amount of light collected
Digital pixel binning is possible on the CCD – alters sensitivity/resolution
Mechanics
Lens
Aperture (f/stop)
Shutter
CCD
Field of View
D
C
B
A
Emission Filters

## Slide 58: Field of View
Mechanics
FOV B = 7.5 x 7.5 cm
FOV A = 5 x 5 cm
FOV C = 10 x 10 cm
FOV D = 12.5 x 12.5 cm

## Slide 59: Photons Diffuse Through Tissue – Surface Light Pattern is Recorded
Light traveling through tissue scatters many times creating a “fuzzy” image at the surface of the animal
The IVIS® views the diffuse image on the camera-facing (top) surface of the subject
Not all light from the source will make it to the camera – light absorption will occur as signal exits the animal
Mechanics
CCD
Optics
Bioluminescent Source

## Slide 60
Christ with St. Joseph in the Carpenter's Shop
Georges De La Tour, ~ 1640 (Musee du Louvre, Paris).
http://osa.magnet.fsu.edu/teachersparents/articles/sourcesoflight.html

## Slide 61: Průchod světla tkání
The absorption spectrum of a human hand. The spectrum was recorded with a very sensitive spectrophotometer with the hand in close juxtaposition with the photocathode (unpublished data of Karl H. Norris, from The Science of Photobiology (KC Smith, ed., Plenum Press, 1977; p. 400).

## Slide 62: Effective penetration depth in breast tissue

## Slide 63: Challenge of in vivo Optical Imaging
Photons are absorbed and scattered in tissue
Surface signal depends on source depth
Tissue is both autoluminescent and autofluorescent
Autofluorescence levels are much higher that autoluminescence
Mechanics
Autoluminescence
Luminescent or Fluorescent source

## Slide 64: How an X-Ray Image is Acquired
Mechanics
CCD
Optics
X-ray Source
Scintillator
Stage
  X-rays will be attenuated in tissue differently resulting in an image on the scintillator
  The CCD views the scintillator resulting in a planar X-ray image
  X-ray and Optical images have different path lengths. To correct this geometrical difference, the X-ray image is registered to the optical image
Close Up of Scintillator in Position

## Slide 65: Field of View (X-ray)
Mechanics
FOV B
7.5 x 7.5 cm
FOV A
5 x 5 cm
FOV C
10 x 10 cm

## Slide 66: Optional Z-FOV (2.5)
Mechanics
Magnified Mouse Paw
Magnified Hip Ball and Socket

## Slide 67: IVIS® Lumina Fluorescence Components
Overview
  Fully computer controlled
  User interchangeable eight position Emission filter wheel
  Twelve position Excitation filter wheel
  Low Auto Fluorescence optics and fiber optics
  150 Watt Tungsten/Halogen lamp with computer controlled intensity

## Slide 68: IVIS® Lumina XR
Overview
10 excitation filters
CCD Array
Optical Filter Wheel
Heated Sample Stage
Electronics Tray
Camera Cover
f/1 Lens & Aperture
Light-tight Enclosure
Shutter

## Slide 69: In Vivo Fluorescent Agent Applications
ProSense
ProSense FAST
CatB FAST
MMPSense
MMPSense FAST
AngioSPARK
AngioSense
Neutrophil Elastase FAST
RediJect 2-DG
RediJect COX-2
Cat K FAST
OsteoSense
Arthritis
IntegriSense
Annexin Vivo
Inflammation
ReninSense
GastroSense
Oncology
Bone Biology
Hypertension
Cardiovascular
Gastric emptying
Agents support multiple in vivo research areas
Infectious Disease Bacterial Detection Probe

## Slide 70
tools for in vivo molecular imaging
  Prostate, Breast, Melanoma, and Colon Carcinoma Models
    for syngeneic immunocompetent mice strains C57Bl/6 or BALB/c
    stable transfected with lentiviral luc vector
      CT26 luc, GFP - mouse colon cancer in process
      4T1 luc - mouse breast cancer done, tested in vivo
      B16 F10 luc, GFP – mouse melanoma done, tested in vivo
      TRAMP-C1 GFP, luc – mouse prostate cancer in process
      Future plan: transfect cells with pLKO.1-CMV-fLuc-IRES-mCherry

## Slide 71
4T1 luc - s.c. injection

## Slide 72: B16 F10 luc - s.c. injection

## Slide 73
GFP ex-vivo imaging: example

## Slide 74: Color is a “pigment” of our imagination
Light has no color
“Color” resides in the eye of the observer
These two yellows are visually indistinguishable
BUT multispectral imaging can be used to resolve their spectral differences

## Slide 75
Fluorescence unmixing in cell biological research
Modern Research and Educational Topics in Microscopy.
A. Méndez-Vilas and J. Díaz (Eds.) ©FORMATEX 2007

## Slide 76
Modern Research and Educational Topics in Microscopy.
A. Méndez-Vilas and J. Díaz (Eds.) ©FORMATEX 2007
Spectral unmixing: basic principle

## Slide 77
Modern Research and Educational Topics in Microscopy.
A. Méndez-Vilas and J. Díaz (Eds.) ©FORMATEX 2007
Spectral unmixing: results

## Slide 78
IntegriSense 680 Fluorescent Imaging Agent
IntegriSense™ 680 fluorescent imaging agent is used for in vivo detection of integrin v3 using a low molecular weight peptidomimetic antagonist coupled to a red fluorochrome. IntegriSense 680, an integrin-targeted molecular imaging agent allows the non-invasive imaging of disease status and progression.

## Slide 79
Excitation unmixing: Setup

## Slide 80
Excitation unmixing: Setup

## Slide 81
Excitation unmixing: Raw data - Autoflurescence, GFP, AF680

## Slide 82
Excitation unmixing: Autoflurescence, GFP, AF680

## Slide 83
Excitation unmixing: Autoflurescence, GFP, AF680

## Slide 84
Excitation unmixing: Autoflurescence, GFP, AF680

## Slide 85
In vitro 3D imaging using Lumina XR: autofluorescence & GFP
- B16 F10 GFP cells
- seeded 100 000, 200 000, 300 000 cells per insert (bottom row, 3D) and the same per well (top row, 2D)
- imaging using IVIS Lumina XR
- excitation from the top, plate without the lid
- data analysis using spectral unmixing
Ex. 430/Em. 515-575
Ex. 465/Em. 515-575

## Slide 86
In vitro 3D imaging using Lumina XR: autofluorescence & GFP
48 h
24 h
72 h

## Slide 87
IVIS Lumina XR souhrn
Výhody:
možnost kombinace detekce luminescence, fluorescence, X-ray
intuitivní ovládání
option Z-FOV 2.5 x 2.5 cm
spektrální unmixing
Limitace:
omezený počet emisních filtrů
aktuální konfigurace FOV max. 12.5 x 12.5 cm (tendr option 24 x 23 cm)
zatím jen syngenní in vivo modely
X-ray pouze pro malé hlodavce a FOV max. 10 x 10 cm
3D object - > 2D image

## Slide 88: in vivo flow cytometry – základní principy
Zobrazení buněk přímo v krevním nebo lymfatickém řečišti.
Vizualizace pomocí CCD nebo CMOS kamery po ozáření konvenční mikroskopickou lampou nebo lasery.
Detekce absorbce, fluorescence, Ramanova spektra, fototermálních nebo fotoakustických signálů.
Cytometry part A 79A: 737-745, 2011

## Slide 89: in vivo flow cytometry
Cytometry part A 79A: 737-745, 2011

## Slide 90: in vivo flow cytometry – bez značení
Nahrávka videa pomocí vysokorychlostní CCD nebo CMOS kamery s vysokým rozlišením v režimu propustnosti nebo odrazu.
Příklad: high-speed transmittance digital microscopy (TDM)
Limity: hloubka tkáně.
TDM může sloužit k navedení zdrojů záření pro další analýzu do určené oblasti.
Cytometry part A 79A: 737-745, 2011

## Slide 91: photoacoustic and photothermal imaging
The photoacoustic effect was first discovered by Alexander Graham Bell in his search for a means of wireless communication.1 Bell succeeded in transmitting sound with an invention he called the “photophone,” which carried a vocal signal with a beam of sunlight that was reflected by a vocally modulated mirror. The sound could be recovered with an ordinary telephone receiver connected to a selenium cell illuminated by the light. Bell published the results in a presentation to the American Association for the Advancement of Science in 1880.
The Photoacoustic Effect
Benjamin T. Spike
Physics 325
April 21, 2006

## Slide 92: Schematic illustration of photoacoustic imaging
Cytometry part A 79A: 737-745, 2011

## Slide 93
ACS Nano 2010 4 (8), 4559-4564

## Slide 94: In vivo flow cytometrie – detekce specifických signálů
Detekce fotoakustických a fototermálních jevů
Cytometry part A 79A: 737-745, 2011

## Slide 95: in vivo flow cytometry - aplikace

## Slide 96: Shrnutí přednášky
„High-throughput“ průtoková cytometrie …
… a uplatnění vícebarevné detekce a beads array
sortrování chromozómů
aplikace v mikrobiologii, hydrobiologii a studiu bezobratlých
in vivo průtoková cytometrie
in vivo zabrazovací metody
Na konci dnešní přednášky byste měli:
vědět co je to „high-throughput„ průtoká cytometrie
  …a jak se v ní může uplatnit princip vícebarevného značení.
znát základní principy měření a sortrování chromozómů pomocí průtokového cytometru;
mít představu o možných aplikacích průtokové cytometrie v mikrobiologii, hydrobiologii a studiu bezobratlých;
rozumět limitům a principům in vivo zobrazovaní a in vivo průtokové cytometrie.
K. Souček Bi9393 Analytická cytometrie