## Slide 1: Bi9393 Analytická cytometrie Lekce 5
Oddělení cytokinetiky
Biofyzikální ústav AVČR, v.v.i.
Královopolská 135
612 65 Brno
e-mail: ksoucek@ibp.cz
tel.: 541 517 166
Karel Souček, Ph.D.
K. Souček Bi9393 Analytická cytometrie

## Slide 2
Analýza inkorporace BrdU
K. Souček Bi9393 Analytická cytometrie
bromodeoxyuridin se inkorporuje do DNA namísto tymidinu během S-fáze
po fixaci a částečné denaturaci DNA je možné BrdU detekovat pomocí specifické protilátky značené fluorochromem
v posledním kroku můžeme obarvit DNA

## Slide 3
Analýza inkorporace BrdU
K. Souček Bi9393 Analytická cytometrie

## Slide 5: Analýza DNA a RNA
Pyronin Y vs. Hoechst 33342
- Pyronin interaguje s ds RNA a DNA ale jeho vazba na DNA je inhibována přítomností Hoechst 33342
Acridine orange
- při interakci s RNA emituje červené světlo a při interakci s DNA zelené

## Slide 8: Detekce intracelulárních proteinů v kombinaci s detekcí DNA

## Slide 9: Detekce mitotických buněk
Histone H3 je specificky fosforylován během mitózy (Ser10, Ser28, Thr11)
dvojité značení DNA vs. H3-P identifikuje populaci buněk v M-fázi

## Slide 10: Analýza buněčných funkcí
Průtoková cytometrie umožňuje vícebarevnou analýzu vitálních buněk

## Slide 11: Detekce viability
jedna z nejjednodušších analýz
funguje na principu:
  detekce membránové integrity - neprůchodnosti některých fluorescenčních značek cytoplazmatickou membránou živých buněk – propidium iodide, ethidium bromide, 7-amino actinomycin D
  detekce fyziologického stavu buněk – použití fluorescenčních značek barvících pouze živé buňky - Rhodamine-123, Calcein-AM
ethidium monoazide – lze jím obarvit mrtvé buňky a následně fixovat
Pomocí LDS-751 (laser dye styryl-751) je možné odlišit mrtvé buňky i po fixaci
LIVE/DEAD® Fixable Dead Cell Stain Kits

## Slide 12: Detekce viability

## Slide 13
Přenos signálu pomocí Ca2+
Cytosol (koncentrace - „klidová“ 100 nM vs. 1-10 mM aktivovaná)
[Ca2+]c aktivuje proteinkinázu C
interaguje s „Ca2+ - binding proteins“
Alberts, B. et.al. Essential Cell Biology, 1998
K. Souček Bi9393 Analytická cytometrie

## Slide 14
Malviya, A. N. (1998) Cell 92: 17-23.
Jádro
[Ca2+]n interaguje s „Ca2+ - binding proteins“
Přenos signálu pomocí Ca2+
K. Souček Bi9393 Analytická cytometrie

## Slide 15
Mitochondrie
„mitochondriální retikulum“
[Ca2+]c => [Ca2+]m <=> DYm => apoptóza
Přenos signálu pomocí Ca2+
K. Souček Bi9393 Analytická cytometrie

## Slide 16
Ca 2+ influx
- Fura-2
- Fluo-3
- Indo-1
K. Souček Bi9393 Analytická cytometrie
ionophor
ionophor

## Slide 17
Zajištění vhodných podmínek pro detekci [Ca2+]i
standardizace barvení a kalibrace
- zlepšení rozpustnosti AM estery modifikovaných indikátorů (BSA, Pluronic ® -127)
- inhibice aktivního vylučování indikátoru buňkou (Probecid)
- pro kalibraci vhodné AM estery modifikované chelátory (BAPTA-AM)
temperace vzorku po celou dobu měření
standardizace způsobu přidávání induktoru
K. Souček Bi9393 Analytická cytometrie

## Slide 18
Burns, J. M. et.al. (1997).
"Improved measurement of calcium mobilization by flow cytometry." Biotechniques 23(6): 1022-4, 1026.
http://www.cytekdev.com
K. Souček Bi9393 Analytická cytometrie

## Slide 19
K. Souček Bi9393 Analytická cytometrie

## Slide 20
Kalibrace
(pro jednu vlnovou délku)
Fluo-3 (Kd ~ 400nM, 22°C; 864 nM, 37°C)
Fmin = 1.25 x FMnCl2 - 0.25 x Fmax
K. Souček Bi9393 Analytická cytometrie
Notes: - pro ziska Fmax - přidání ionoforu = A23187-Br, ionomycin
- Fmin - 2mM MgCl2, Fluo-3 vytváří fluorescenční komplex i s Mg2+ (ale 5x méně intenzinví fluo nez s Ca2+

## Slide 21: Detekce intracelulárního pH
Fluorescenční značky měnící intenzitu fluorescence v závislosti na pH
SNARF-1, BCECF

## Slide 22: Detekce intracelulárního pH
Nutná kalibrace pomocí draslíkových pufrů a ionoforu (nigericin)

## Slide 23: Detekce počtu buněčného dělení
Nespecifické fluorescenční označení proteinů pomocí carboxyfluorescein diacetate succinimidyl ester (CFDA-SE nebo CFSE)

## Slide 24: Detekce počtu buněčného dělení

## Slide 25: Detekce reaktivních kyslíkových skupin
Reaktivní kyslíkové skupiny hrají klíčovou roli v celé řadě biologických procesů
  posttranslační modifikace proteinů
  regulace transkripce
  regulace struktury chromatinu
  přenos signálu
  funkce imunitního systému
  fyzický a metabolický stres
  neurodegenerace, stárnutí

## Slide 26
O2• –
O2
H2O2
• OH
H2O
4 e– reduction to water
e–
e–
e–
e–
Not so terribly reactive with most biomolecules
Maintained at very low concentration
Catalases, peroxidases, GSH, etc…
Actually a chemical reductant
Not so terribly reactive with most biomolecules
Mitochondrial superoxide the major source of active oxygen
Maintained at very low concentration
Superoxide dismutases
Reacts with virtually any molecule at diffusion-limited rates
The molecule that makes ionizing radiation toxic
Unreactive at STP, but a great electron acceptor
Biological activation via radicals, transition metals
Generally, radical intermediates are enzyme-bound
© Simon Melov

## Slide 27: Potential sites of intervention
Oxidative
Stress
Neurodegeneration
Cancer
Vascular Tone
Cardiac Output
Sensory Acuity
Skin Thickness
Bone Density
Endocrine Function
Immune Function
DNA
Damage
Oncogenesis
Mitochondrial
Damage
Energy
Crisis
Cell Death
© Simon Melov

## Slide 28: Hydroethidine
HE EB
N
CH2CH3
NH2
H2N
H
Br-
N
CH2CH3
NH2
H2N
+
O2-
Phagocytic Vacuole
SOD
H2O2
NADPH
NADP
O2
NADPH Oxidase
OH-
O2-
DCF
HE
O2-
H2O2
DCF
Example: Neutrophil Oxidative Burst
© J. P. Robinson, Purdue University

## Slide 29
DCFH-DA DCFH DCF
COOH
H
Cl
O
O-C-CH3
O
CH3-C-O
Cl
O
COOH
H
Cl
OH
HO
Cl
O
COOH
H
Cl
O
HO
Cl
O
Fluorescent
Hydrolysis
Oxidation
2’,7’-dichlorofluorescin
2’,7’-dichlorofluorescin diacetate
2’,7’-dichlorofluorescein
Cellular Esterases
H2O2
DCFH-DA
DCFH-DA
DCFH
DCF
H O
2 2
Lymphocytes
Monocytes
Neutrophils
log FITC Fluorescence
.1
1000
100
10
1
0
20
40
60
counts
PMA-stimulated PMN
Control
80
© J. P. Robinson, Purdue University

## Slide 30
- DCFH-DA
- DHR-123
- HE
Oxidative Burst
K. Souček Bi9393 Analytická cytometrie

## Slide 31: The Nobel Prize in Chemistry 2008
"for the discovery and development of the green fluorescent protein, GFP"
http://nobelprize.org/nobel_prizes/chemistry/laureates/2008/

## Slide 32: Fluorescenční proteiny
bioluminescence resonance energy transfer (BRET)
  Aequorea victoria - medúza žijící ve vodách na pobřeží Severní Ameriky.
  je schopna modře světélkovat (bioluminescence). Ca2+ interaguje s fotoproteinem aequorinem.
  modré světlo excituje green fluorescent protein.
  Renilla reniformis – korál žijící ve vodách na severním pobřeží Floridy.
  luminescence vzniká degradací coelenterazinu za katalytického působení luciferázy.
  modré světlo excituje green fluorescent protein.
Renilla reniformis "Sea Pansy"
http://www.mbayaq.org/efc/living_species/default.asp?hOri=1&inhab=440
Aequorea victoria “Crystal jelly “
http://www.whitney.ufl.edu/species/seapansy.htm

## Slide 33: Fluorescenční proteiny
Osamu Shimomura
  1961 objevil GFP a aequorin
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 34
Science. 1994 Feb 11;263(5148):
Green fluorescent protein as a marker for gene expression.
Chalfie M, Tu Y, Euskirchen G, Ward WW, Prasher DC.
Department of Biological Sciences, Columbia University, New York, NY 10027.
A complementary DNA for the Aequorea victoria green fluorescent protein (GFP) produces a fluorescent product when expressed in prokaryotic (Escherichia coli) or eukaryotic (Caenorhabditis elegans) cells. Because exogenous substrates and cofactors are not required for this fluorescence, GFP expression can be used to monitor gene expression and protein localization in living organisms.
Fluorescenční proteiny
Douglas Prasher
Martin Chalfie

## Slide 35: Fluorescenční proteiny
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 36: in vivo molekulární vizualizace
Hasegawa, S., Yang, M., Chishima, T., Miyagi, Y., Shimada, H., Moossa, A. R., and Hoffman, R. M. In vivo tumor delivery of the green fluorescent protein gene to report future occurrence of metastasis. Cancer Gene Ther, 7: 1336-1340, 2000.
KODAK X-SIGHT 640 LSS Dyes in vivo with x-ray overlay
KODAK X-SIGHT 650 and 761 Nanospheres, KODAK In-Vivo Multispectral Imaging System

## Slide 37: Fluorescenční proteiny
Sergey A. Lukyanov
  Objevil „GFP-like“ proteiny u nesvětélkujících korálů

## Slide 38: Roger Tsien
~ 2002 – mutace FP = barevné spektrum
http://www.tsienlab.ucsd.edu/

## Slide 41
Detekce buněk v synchronizovaném buněčném cyklu

## Slide 42: Fucci (fluorescent ubiquitination-based cell cycle indicator) cells
Nature Methods - 5, 283 (2008)
Ubiquitin E3 ligase complexes
G1 - APCCdh1
S, G2, M- SCFSkp2

## Slide 43: Fucci

## Slide 44
shRNA for TTL
Ventura, Meissner, Dillon, McManus, Sharp, Van Parijs, Jaenisch and Jacks .
PNAS 2004 “Cre-lox regulated conditional RNA interference from transgene”.
shRNA elements:
TTL-1
tgcatcaaataagcatgagattccaagagatctcatgcttatttgatgcttttttcacgtagtttattcgtactctaaggttctctagagtacgaataaactacgaaaaaagagct
TTL-2
tggcaacgtttggattgcaattccaagagattgcaatccaaacgttgccttttttcaccgttgcaaacctaacgttaaggttctctaacgttaggtttgcaacggaaaaaagagct

## Slide 45
Pz-HPV-7 cells - shRNA for TTL
(Lentivirus infection)

## Slide 46: in vivo molekulární vizualizace

## Slide 49: biarsenical–tetracysteine system
Nefluorescenční, membránově permeabilní biarsénová značka vytváří kovalentní fluorescenční komplex s jakýmkoliv intracelulárním proteinem obsahujícím krátký tetracysteinový motiv (CCPGCC)

## Slide 50: biarsenical–tetracysteine system

## Slide 51: Click azide/alkyne reaction

## Slide 52: Aplikace Click-IT (Invitrogen)
Multiplex imaging with Click-iT® RNA assays. NIH3T3 cells were incubated with 1 mM EU, formaldehyde-fixed, and permeabilized with Triton® X-100. EU incorporated into newly synthesized RNA (red) in some cells was detectied using the Click-iT® RNA Alexa Fluor® 594 Imaging Kit. Tubulin (green) was detected with anti-tubulin mouse IgG9 and visualized with Alexa Fluor® 488 goat anti-mouse IgG. Nuclei (blue) were stained with Hoechst 33342.

## Slide 53: Aplikace Click-IT (Invitrogen) analýza syntézy DNA (proliferace)

## Slide 54
Tritiated (3H) thymidine
3H-thymidine

## Slide 55
Original method for measuring cell proliferation
Radioactive
Not compatible for multiplexed analyses
3H-thymidine

## Slide 56
BrdU (5-bromo-2'-deoxyuridine)
BrdU
Br
Br
Br
Br

## Slide 57
Br
Br
Br
Br
BrdU

## Slide 58
Acid or DNase
Br
Br
Br
Br
BrdU

## Slide 59
Br
Br
Br
Br
BrdU

## Slide 60
Br
Br
Br
Br
BrdU
Non-radioactive
Multiplex compatible but, strand separation requirement for anti-BrdU access, can affect:
  Ability for other antibodies to bind
  Morphology
  Ability for dyes that require dsDNA to bind efficiently, i.e., cell cycle dyes

## Slide 61
EdU (5-ethynyl-2'-deoxyuridine)
Click-iT™ EdU

## Slide 62
Click-iT™ EdU

## Slide 63
Click-iT™ Edu
Non-radioactive
No DNA denaturation required
Simplified protocol
Small molecule detection
Multiplex compatible, including
  Other antibodies
  Dyes for cell cycle analysis

## Slide 64: Fluorescenční proteiny
bioluminescence resonance energy transfer (BRET)
  Aequorea victoria - medúza žijící ve vodách na pobřeží Severní Ameriky.
  je schopna modře světélkovat (bioluminescence). Ca2+ interaguje s fotoproteinem aequorinem.
  modré světlo excituje green fluorescent protein.
  Renilla reniformis – korál žijící ve vodách na severním pobřeží Floridy.
  luminescence vzniká degradací coelenterazinu za katalytického působení luciferázy.
  modré světlo excituje green fluorescent protein.
Renilla reniformis "Sea Pansy"
http://www.mbayaq.org/efc/living_species/default.asp?hOri=1&inhab=440
Aequorea victoria “Crystal jelly “
http://www.whitney.ufl.edu/species/seapansy.htm

## Slide 65: Fluorescenční proteiny
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 67
O2• –
O2
H2O2
• OH
H2O
4 e– reduction to water
e–
e–
e–
e–
Not so terribly reactive with most biomolecules
Maintained at very low concentration
Catalases, peroxidases, GSH, etc…
Actually a chemical reductant
Not so terribly reactive with most biomolecules
Mitochondrial superoxide the major source of active oxygen
Maintained at very low concentration
Superoxide dismutases
Reacts with virtually any molecule at diffusion-limited rates
The molecule that makes ionizing radiation toxic
Unreactive at STP, but a great electron acceptor
Biological activation via radicals, transition metals
Generally, radical intermediates are enzyme-bound
© Simon Melov

## Slide 68
DCFH-DA DCFH DCF
COOH
H
Cl
O
O-C-CH3
O
CH3-C-O
Cl
O
COOH
H
Cl
OH
HO
Cl
O
COOH
H
Cl
O
HO
Cl
O
Fluorescent
Hydrolysis
Oxidation
2’,7’-dichlorofluorescin
2’,7’-dichlorofluorescin diacetate
2’,7’-dichlorofluorescein
Cellular Esterases
H2O2
DCFH-DA
DCFH-DA
DCFH
DCF
H O
2 2
Lymphocytes
Monocytes
Neutrophils
log FITC Fluorescence
.1
1000
100
10
1
0
20
40
60
counts
PMA-stimulated PMN
Control
80
© J. P. Robinson, Purdue University

## Slide 69: Fluorescent sensors for detection of H2O2

## Slide 70: Variants & fusions
pHyPer-cyto vector
pHyPer-dMito vector
  Duplicated mitochondrial targeting sequence (MTS) is fused to the HyPer N-terminus. MTS was derived from the subunit VIII of human cytochrome C oxidase [Rizzuto et al., 1989; Rizzuto et al., 1995].
pHyPer-nuc vector
  Three copies of the nuclear localization signal (NLS) fused to the HyPer C-terminus provide for efficient translocation of HyPer to the nuclei of mammalian cells [Fischer-Fantuzzi and Vesco, 1988]

## Slide 72: „High Throughput Flow Cytometry“
automatizace + robotizace = urychlení a efektivita sběru dat (měření desítky vzorků za hodinu s minimálním zásahem operátora )
využití principu vícebarevné analýzy
K. Souček Bi9393 Analytická cytometrie

## Slide 73: Automatizované systémy měření vzorků
Automatický karusel (autosampler)
Adaptér pro nasávání vzorků z
mikrotitrační desky

## Slide 74: Automatizovaný „microsampler“ systém
K. Souček Bi9393 Analytická cytometrie

## Slide 77: The steps in a high-throughput fluorescence-microscopy experiment.

## Slide 78: Analysis

## Slide 82
http://www.stanford.edu/group/nolan/
Garry Nolan
Peter Krutzik
„Fluorescent cell barcoding“

## Slide 83
Krutzik PO, Nolan Fluorescent cell barcoding in flow cytometry allows high-throughput drug screening and signaling profiling. Nat Methods. 2006 May;3(5):361-8.
K. Souček Bi9393 Analytická cytometrie

## Slide 84
Krutzik PO, Nolan Fluorescent cell barcoding in flow cytometry allows high-throughput drug screening and signaling profiling. Nat Methods. 2006 May;3(5):361-8.
K. Souček Bi9393 Analytická cytometrie

## Slide 85: Cytometric bead array (CBA)
Multiplexed Bead-Based Immunoassays
flow cytometry application that allows users to quantify multiple proteins simultaneously

## Slide 86: Multiplex microsphere‐based flow cytometric platforms for protein analysis and their application in clinical proteomics – from assays to results
ELECTROPHORESIS Volume 30, Issue 23, pages 4008-4019, 3 DEC 2009 DOI: 10.1002/elps.200900211 http://onlinelibrary.wiley.com/doi/10.1002/elps.200900211/full#fig1
Notes: Microspheres can be immobilized with capture molecules and immunoassays can be performed. (A) Coupling reactions for microspheres: Microspheres with functional groups (carboxyl‐, thiol‐) can be used for immobilizing peptides, proteins, or amino group‐functionalized molecules; alternatively, streptavidin‐functionalized microspheres can be applied for biotin‐labeled capture molecules. (B) Standard capture sandwich assay: An individual assay involving an optically encoded microsphere immobilized with a specific capture molecule (antibody) is being carried out on the particle. After sample incubation, another analyte‐specific antibody (a so‐called detection antibody, which is biotinylated and usually recognizes epitopes that are different from that of the capture antibodies) is then applied to the reaction. The presence and quantity of the reporter tag (e.g. strepavidin‐phycoerythrin) allows the precise quantification of the reactions that occur.
© This slide is made available for non-commercial use only. Please note that permission may be required for re-use of images in which the copyright is owned by a third party.

## Slide 87: CBA

## Slide 88: CBA
multiplexing capabilities
speed
incorporation of multiple assay formats
rapid assay development and reasonable cost
automation

## Slide 89: Biologické aplikace průtokové cytometrie
Cytogenetika
  analýza chromozómů
    karyotyp
    sortrování
      chromozómové DNA knihovny
      FISH značení (chromosome painting)
K. Souček Bi9393 Analytická cytometrie

## Slide 90: Analýza a sortrování chromozómů

## Slide 91: Analýza a sortrování chromozómů
synchronizace buněk – zisk metafázních chromozómů (colcemid, hydroxyurea)
izolace chromozómů
značení DAPI nebo Hoechst vs. chromomycin A3 (CA3) nebo mithramycin
= celková DNA vs. G/C-bohaté oblasti
http://www.scienceclarified.com/Ca-Ch/Chromosome.html
http://www.nccr-oncology.ch/scripts/page9243.html

## Slide 92: Analýza a sortrování chromozómů

## Slide 94: „Flow karyotype“
http://www.sanger.ac.uk/HGP/Cytogenetics/
♂
♀
Karcinom močového měchýře

## Slide 95: Sortrování chromozómů
Pisum sativum

## Slide 96: Sortrování chromozómů
Vicia faba

## Slide 97: Aplikace průtokové cytometrie v mikrobiologii
ekologie
potravinářství
bioterorismus
http://www.cyto.purdue.edu/flowcyt/research/micrflow/

## Slide 98: Aplikace průtokové cytometrie v mikrobiologii

## Slide 99: Aplikace průtokové cytometrie v mikrobiologii
viabilita
metabolické funkce
sortrování
analýza aerosolů (Fluorescence Aerodynamic Particle Sizer (Flaps))

## Slide 100: Aplikace průtokové cytometrie v mikrobiologii
Sortrování
  EPICS + Autoclone® modul

## Slide 101: Fluorescence Aerodynamic Particle Sizer (Flaps)
http://www.dres.dnd.ca/ResearchTech/Products/CB_PRODUCTS/RD98001/index_e.html

## Slide 102: Průtoková cytometrie kvasinek
buněčné dělení
viabilita
membránový potenciál
respirace
produkce H2O2
citlivost k antibiotikům
separace
Saccharomyces cerevisiae
http://en.wikipedia.org/wiki/Image:Budding_yeast_Lifecycle.png
http://www.sbs.utexas.edu/mycology/sza_images_SEM.htm

## Slide 103: Průtoková cytometrie kvasinek

## Slide 104: Průtoková cytometrie v hydrobiologii
studium pico- a nano-fytoplanktonu (< 20 mM)
analýza metabolických funkcí planktonu
studium pigmentace (analýza chlorofylu a fykoeritrinu)

## Slide 105: Průtoková cytometrie v hydrobiologii

## Slide 106: Průtoková cytometrie v hydrobiologii
analýza DNA
http://planktonnet.awi.de/portal.php?pagetitle=assetfactsheet&asset_id=15127
http://www.soes.soton.ac.uk/staff/tt/

## Slide 107: Průtoková cytometrie v hydrobiologii
http://www.cyto.purdue.edu/flowcyt/research/micrflow/sieracki/sierack2.htm
http://omlc.ogi.edu/spectra/PhotochemCAD/html/chlorophyll-a(MeOH).html

## Slide 109: Průtoková cytometrie bezobratlých
lze aplikovat běžné metodické přístupy a fluorescenční značky
Příklady aplikací:
  buněčný cyklus
  cytotoxicita
  apoptóza

## Slide 110: Invertebrate Survival Journal
http://www.icms.qmul.ac.uk/flowcytometry/uses/insects/index.html

## Slide 111
Figure 5. Representative flow-cytometry scatter plot of hemocytes from 25 oysters.
Rebelo MdF, Figueiredo EdS, Mariante RM, Nóbrega A, et al. (2013) New Insights from the Oyster Crassostrea rhizophorae on Bivalve Circulating Hemocytes. PLoS ONE 8(2): e57384. doi:10.1371/journal.pone.0057384
http://www.plosone.org/article/info:doi/10.1371/journal.pone.0057384

## Slide 112
Figure 6. Proposed model for hemocyte maturation, as seen by flow cytometry.
Rebelo MdF, Figueiredo EdS, Mariante RM, Nóbrega A, et al. (2013) New Insights from the Oyster Crassostrea rhizophorae on Bivalve Circulating Hemocytes. PLoS ONE 8(2): e57384. doi:10.1371/journal.pone.0057384
http://www.plosone.org/article/info:doi/10.1371/journal.pone.0057384

## Slide 113: Shrnutí přednášky
„High-throughput“ průtoková cytometrie …
… a uplatnění vícebarevné detekce a beads array
sortrování chromozómů
aplikace v mikrobiologii, hydrobiologii a studiu bezobratlých
Na konci dnešní přednášky byste měli:
vědět co je to „high-throughput„ průtoká cytometrie
  …a jak se v ní může uplatnit princip vícebarevného značení.
znát základní principy měření a sortrování chromozómů pomocí průtokového cytometru;
mít představu o možných aplikacích průtokové cytometrie v mikrobiologii, hydrobiologii a studiu bezobratlých
K. Souček Bi9393 Analytická cytometrie