## Slide 1: Bi9393 Analytická cytometrie Lekce 5
Oddělení cytokinetiky
Biofyzikální ústav AVČR, v.v.i.
Královopolská 135
612 65 Brno
e-mail: ksoucek@ibp.cz
tel.: 541 517 166
Karel Souček, Ph.D.
K. Souček Bi9393 Analytická cytometrie

## Slide 2: Fluorescenční proteiny
bioluminescence resonance energy transfer (BRET)
  Aequorea victoria - medúza žijící ve vodách na pobřeží Severní Ameriky.
  je schopna modře světélkovat (bioluminescence). Ca2+ interaguje s fotoproteinem aequorinem.
  modré světlo excituje green fluorescent protein.
  Renilla reniformis – korál žijící ve vodách na severním pobřeží Floridy.
  luminescence vzniká degradací coelenterazinu za katalytického působení luciferázy.
  modré světlo excituje green fluorescent protein.
Renilla reniformis "Sea Pansy"
http://www.mbayaq.org/efc/living_species/default.asp?hOri=1&inhab=440
Aequorea victoria “Crystal jelly “
http://www.whitney.ufl.edu/species/seapansy.htm

## Slide 3: Fluorescenční proteiny
http://www.conncoll.edu/ccacad/zimmer/GFP-ww/GFP2.htm

## Slide 4: Fucci (fluorescent ubiquitination-based cell cycle indicator) cells
Nature Methods - 5, 283 (2008)
Ubiquitin E3 ligase complexes
G1 - APCCdh1
S, G2, M- SCFSkp2

## Slide 5: Fucci

## Slide 7: Detekce reaktivních kyslíkových skupin
Reaktivní kyslíkové skupiny hrají klíčovou roli v celé řadě biologických procesů
  posttranslační modifikace proteinů
  regulace transkripce
  regulace struktury chromatinu
  přenos signálu
  funkce imunitního systému
  fyzický a metabolický stres
  neurodegenerace, stárnutí

## Slide 8
O2• –
O2
H2O2
• OH
H2O
4 e– reduction to water
e–
e–
e–
e–
Not so terribly reactive with most biomolecules
Maintained at very low concentration
Catalases, peroxidases, GSH, etc…
Actually a chemical reductant
Not so terribly reactive with most biomolecules
Mitochondrial superoxide the major source of active oxygen
Maintained at very low concentration
Superoxide dismutases
Reacts with virtually any molecule at diffusion-limited rates
The molecule that makes ionizing radiation toxic
Unreactive at STP, but a great electron acceptor
Biological activation via radicals, transition metals
Generally, radical intermediates are enzyme-bound
© Simon Melov

## Slide 9: Potential sites of intervention
Oxidative
Stress
Neurodegeneration
Cancer
Vascular Tone
Cardiac Output
Sensory Acuity
Skin Thickness
Bone Density
Endocrine Function
Immune Function
DNA
Damage
Oncogenesis
Mitochondrial
Damage
Energy
Crisis
Cell Death
© Simon Melov

## Slide 10: Hydroethidine
HE EB
N
CH2CH3
NH2
H2N
H
Br-
N
CH2CH3
NH2
H2N
+
O2-
Phagocytic Vacuole
SOD
H2O2
NADPH
NADP
O2
NADPH Oxidase
OH-
O2-
DCF
HE
O2-
H2O2
DCF
Example: Neutrophil Oxidative Burst
© J. P. Robinson, Purdue University

## Slide 11
DCFH-DA DCFH DCF
COOH
H
Cl
O
O-C-CH3
O
CH3-C-O
Cl
O
COOH
H
Cl
OH
HO
Cl
O
COOH
H
Cl
O
HO
Cl
O
Fluorescent
Hydrolysis
Oxidation
2’,7’-dichlorofluorescin
2’,7’-dichlorofluorescin diacetate
2’,7’-dichlorofluorescein
Cellular Esterases
H2O2
DCFH-DA
DCFH-DA
DCFH
DCF
H O
2 2
Lymphocytes
Monocytes
Neutrophils
log FITC Fluorescence
.1
1000
100
10
1
0
20
40
60
counts
PMA-stimulated PMN
Control
80
© J. P. Robinson, Purdue University

## Slide 12
- DCFH-DA
- DHR-123
- HE
Oxidative Burst
K. Souček Bi9393 Analytická cytometrie

## Slide 14: Fluorescent sensors for detection of H2O2

## Slide 15: Variants & fusions
pHyPer-cyto vector
pHyPer-dMito vector
  Duplicated mitochondrial targeting sequence (MTS) is fused to the HyPer N-terminus. MTS was derived from the subunit VIII of human cytochrome C oxidase [Rizzuto et al., 1989; Rizzuto et al., 1995].
pHyPer-nuc vector
  Three copies of the nuclear localization signal (NLS) fused to the HyPer C-terminus provide for efficient translocation of HyPer to the nuclei of mammalian cells [Fischer-Fantuzzi and Vesco, 1988]

## Slide 18: biarsenical–tetracysteine system
Nefluorescenční, membránově permeabilní biarsénová značka vytváří kovalentní fluorescenční komplex s jakýmkoliv intracelulárním proteinem obsahujícím krátký tetracysteinový motiv (CCPGCC)

## Slide 19: biarsenical–tetracysteine system

## Slide 20: Click azide/alkyne reaction

## Slide 21: Aplikace Click-IT (Invitrogen)
Multiplex imaging with Click-iT® RNA assays. NIH3T3 cells were incubated with 1 mM EU, formaldehyde-fixed, and permeabilized with Triton® X-100. EU incorporated into newly synthesized RNA (red) in some cells was detectied using the Click-iT® RNA Alexa Fluor® 594 Imaging Kit. Tubulin (green) was detected with anti-tubulin mouse IgG9 and visualized with Alexa Fluor® 488 goat anti-mouse IgG. Nuclei (blue) were stained with Hoechst 33342.

## Slide 22: Aplikace Click-IT (Invitrogen) analýza syntézy DNA (proliferace)

## Slide 23
Tritiated (3H) thymidine
3H-thymidine

## Slide 24
Original method for measuring cell proliferation
Radioactive
Not compatible for multiplexed analyses
3H-thymidine

## Slide 25
BrdU (5-bromo-2'-deoxyuridine)
BrdU
Br
Br
Br
Br

## Slide 26
Br
Br
Br
Br
BrdU

## Slide 27
Acid or DNase
Br
Br
Br
Br
BrdU

## Slide 28
Br
Br
Br
Br
BrdU

## Slide 29
Br
Br
Br
Br
BrdU
Non-radioactive
Multiplex compatible but, strand separation requirement for anti-BrdU access, can affect:
  Ability for other antibodies to bind
  Morphology
  Ability for dyes that require dsDNA to bind efficiently, i.e., cell cycle dyes

## Slide 30
EdU (5-ethynyl-2'-deoxyuridine)
Click-iT™ EdU

## Slide 31
Click-iT™ EdU

## Slide 32
Click-iT™ Edu
Non-radioactive
No DNA denaturation required
Simplified protocol
Small molecule detection
Multiplex compatible, including
  Other antibodies
  Dyes for cell cycle analysis

## Slide 33: Flow cytometry most common application
Viability assays (propidium iodid, CalceinAM, …)
Proliferation (BrdU, EdU, mitosis - pH3)
DNA damage ( yH2AX,…)
Cell Death analysis (AnnexinV, Cleaved Caspase3, …)
Cell Cylcle (DNA content, Cell cycle modulation after treatment)
Immunophenotype characterisation of the cells
(CSCs markers, differentiation, …)

## Slide 34: Incompatibility of Fluorochrome with Click-iT reaction
Not possible to use fluorochromes prior to click-iT reaction, e.g. PE, Qdots,…
procedure
Live cells
Fixed cells
Permeabilized cells
Click-iT
Several antibodies are not compatible with the procedure

## Slide 35: Example of final set-up
Parametr | Marker | Fluorochrome
Cell Surface Marker | CD44 | APC/Cy7
Cell Surface Marker | Trop-2 | AF488
Viability | LIVE/DEAD kit | Yellow
DNA synthesis | Click-iT EdU | AF647
Cell Cycle | DNA content | PO-PRO-1
DNA damage | yH2AX | PE
Apoptosis | Cleaved Caspase 3 | AF494

## Slide 36: Example of final results (DU-145)
Viability and Immunophenotype
Cell cycle and Proliferation

## Slide 37: Example of final results
DNA damage and Apoptosis

## Slide 38: „High Throughput Flow Cytometry“
automatizace + robotizace = urychlení a efektivita sběru dat (měření desítky vzorků za hodinu s minimálním zásahem operátora )
využití principu vícebarevné analýzy
K. Souček Bi9393 Analytická cytometrie

## Slide 39: Automatizované systémy měření vzorků
Automatický karusel (autosampler)
Adaptér pro nasávání vzorků z
mikrotitrační desky

## Slide 40: Automatizovaný „microsampler“ systém
K. Souček Bi9393 Analytická cytometrie

## Slide 43: The steps in a high-throughput fluorescence-microscopy experiment.

## Slide 44: Analysis

## Slide 48
http://www.stanford.edu/group/nolan/
Garry Nolan
Peter Krutzik
„Fluorescent cell barcoding“

## Slide 49
Krutzik PO, Nolan Fluorescent cell barcoding in flow cytometry allows high-throughput drug screening and signaling profiling. Nat Methods. 2006 May;3(5):361-8.
K. Souček Bi9393 Analytická cytometrie

## Slide 50
Krutzik PO, Nolan Fluorescent cell barcoding in flow cytometry allows high-throughput drug screening and signaling profiling. Nat Methods. 2006 May;3(5):361-8.
K. Souček Bi9393 Analytická cytometrie

## Slide 51: Aim: To identify new surface molecules associated with epithelial-to-mesenchymal transition
many intracellular markers known, but no reliable surface antigen enabling tracking of EMT available

## Slide 52: Aim: To identify new surface molecules associated with epithelial-to-mesenchymal transition
many intracellular markers known, but no reliable surface antigen enabling tracking of EMT available
WHY TO HAVE SUCH SURFACE ANTIGEN?
vital cell characterisation and further compatibility with downstream applications (e.g. cell sorting, cultivation, in vivo studies…)
this approach is applicable to any field in cell biology

## Slide 53: Model cell lines
HUMAN PANEL | 
HMLE | HMLE-EMT
MCF10A | MCF10A KRasV12
BPH-1 | CAFTD03
MOUSE PANEL | 
MMC Her2 | ANV2 Her2
cE2 Pten -/- | E2 Pten -/-
RM1 Myc/Ras | 
UGSM Ink4-/- | 

## Slide 54: Get the best out of your model
FACS-based surface screen:
validated antibodies in 96w plates
several comercially available possibilities, we have gone for…
- LEGENDScreen HUMAN
332 PE conjugated antibodies + ISOs
- LEGENDScreen MOUSE
252 PE conjugated antibodies + ISOs
there are XY vials in LN
price of kit ≈ 1000 € (27k Kc)
How to get the best of it all?

## Slide 55: Fluorescent barcode
possibility 1 – fluorescent proteins
- which, how many, isn’t it too laborous w/out lentiviral TXF?
possibility 2 – amino-reactive probes, lipophilic dyes…
- how to choose the right one?

## Slide 56: Final workflow

## Slide 57: The optimal concentation issue
HOW TO TEST IT:
10x serial dilution
REQUIREMENTS:
optimal resolution
compatibility w/ PE

## Slide 58: Sample results I
EpCAM
- marker of epithelial cells
- commonly lost during EMT

## Slide 59: Sample result II

## Slide 60: Cytometric bead array (CBA)
Multiplexed Bead-Based Immunoassays
flow cytometry application that allows users to quantify multiple proteins simultaneously

## Slide 61: Multiplex microsphere‐based flow cytometric platforms for protein analysis and their application in clinical proteomics – from assays to results
ELECTROPHORESIS Volume 30, Issue 23, pages 4008-4019, 3 DEC 2009 DOI: 10.1002/elps.200900211 http://onlinelibrary.wiley.com/doi/10.1002/elps.200900211/full#fig1
Notes: Microspheres can be immobilized with capture molecules and immunoassays can be performed. (A) Coupling reactions for microspheres: Microspheres with functional groups (carboxyl‐, thiol‐) can be used for immobilizing peptides, proteins, or amino group‐functionalized molecules; alternatively, streptavidin‐functionalized microspheres can be applied for biotin‐labeled capture molecules. (B) Standard capture sandwich assay: An individual assay involving an optically encoded microsphere immobilized with a specific capture molecule (antibody) is being carried out on the particle. After sample incubation, another analyte‐specific antibody (a so‐called detection antibody, which is biotinylated and usually recognizes epitopes that are different from that of the capture antibodies) is then applied to the reaction. The presence and quantity of the reporter tag (e.g. strepavidin‐phycoerythrin) allows the precise quantification of the reactions that occur.
© This slide is made available for non-commercial use only. Please note that permission may be required for re-use of images in which the copyright is owned by a third party.

## Slide 62: CBA

## Slide 63: CBA
multiplexing capabilities
speed
incorporation of multiple assay formats
rapid assay development and reasonable cost
automation

## Slide 64: Biologické aplikace průtokové cytometrie
Cytogenetika
  analýza chromozómů
    karyotyp
    sortrování
      chromozómové DNA knihovny
      FISH značení (chromosome painting)
K. Souček Bi9393 Analytická cytometrie

## Slide 65: Analýza a sortrování chromozómů

## Slide 66: Analýza a sortrování chromozómů
synchronizace buněk – zisk metafázních chromozómů (colcemid, hydroxyurea)
izolace chromozómů
značení DAPI nebo Hoechst vs. chromomycin A3 (CA3) nebo mithramycin
= celková DNA vs. G/C-bohaté oblasti
http://www.scienceclarified.com/Ca-Ch/Chromosome.html
http://www.nccr-oncology.ch/scripts/page9243.html

## Slide 67: Analýza a sortrování chromozómů

## Slide 69: „Flow karyotype“
http://www.sanger.ac.uk/HGP/Cytogenetics/
♂
♀
Karcinom močového měchýře

## Slide 70: Sortrování chromozómů
Pisum sativum

## Slide 71: Sortrování chromozómů
Vicia faba

## Slide 72: Aplikace průtokové cytometrie v mikrobiologii
ekologie
potravinářství
http://www.cyto.purdue.edu/flowcyt/research/micrflow/

## Slide 73: Aplikace průtokové cytometrie v mikrobiologii

## Slide 74: Aplikace průtokové cytometrie v mikrobiologii
viabilita
metabolické funkce
sortrování
analýza aerosolů (Fluorescence Aerodynamic Particle Sizer (Flaps))

## Slide 75: Aplikace průtokové cytometrie v mikrobiologii
Sortrování
  EPICS + Autoclone® modul

## Slide 76: Fluorescence Aerodynamic Particle Sizer (Flaps)
http://www.dres.dnd.ca/ResearchTech/Products/CB_PRODUCTS/RD98001/index_e.html

## Slide 77: Průtoková cytometrie kvasinek
buněčné dělení
viabilita
membránový potenciál
respirace
produkce H2O2
citlivost k antibiotikům
separace
Saccharomyces cerevisiae
http://en.wikipedia.org/wiki/Image:Budding_yeast_Lifecycle.png
http://www.sbs.utexas.edu/mycology/sza_images_SEM.htm

## Slide 78: Průtoková cytometrie kvasinek

## Slide 79: Průtoková cytometrie v hydrobiologii
studium pico- a nano-fytoplanktonu (< 20 mM)
analýza metabolických funkcí planktonu
studium pigmentace (analýza chlorofylu a fykoeritrinu)

## Slide 80: Průtoková cytometrie v hydrobiologii

## Slide 81: Průtoková cytometrie v hydrobiologii
analýza DNA
http://planktonnet.awi.de/portal.php?pagetitle=assetfactsheet&asset_id=15127
http://www.soes.soton.ac.uk/staff/tt/

## Slide 82: Průtoková cytometrie v hydrobiologii
http://www.cyto.purdue.edu/flowcyt/research/micrflow/sieracki/sierack2.htm
http://omlc.ogi.edu/spectra/PhotochemCAD/html/chlorophyll-a(MeOH).html

## Slide 84: Průtoková cytometrie bezobratlých
lze aplikovat běžné metodické přístupy a fluorescenční značky
Příklady aplikací:
  buněčný cyklus
  cytotoxicita
  apoptóza

## Slide 85: Invertebrate Survival Journal
http://www.icms.qmul.ac.uk/flowcytometry/uses/insects/index.html

## Slide 86
Figure 5. Representative flow-cytometry scatter plot of hemocytes from 25 oysters.
Rebelo MdF, Figueiredo EdS, Mariante RM, Nóbrega A, et al. (2013) New Insights from the Oyster Crassostrea rhizophorae on Bivalve Circulating Hemocytes. PLoS ONE 8(2): e57384. doi:10.1371/journal.pone.0057384
http://www.plosone.org/article/info:doi/10.1371/journal.pone.0057384

## Slide 87
Figure 6. Proposed model for hemocyte maturation, as seen by flow cytometry.
Rebelo MdF, Figueiredo EdS, Mariante RM, Nóbrega A, et al. (2013) New Insights from the Oyster Crassostrea rhizophorae on Bivalve Circulating Hemocytes. PLoS ONE 8(2): e57384. doi:10.1371/journal.pone.0057384
http://www.plosone.org/article/info:doi/10.1371/journal.pone.0057384

## Slide 88: Shrnutí přednášky
„High-throughput“ průtoková cytometrie …
… a uplatnění vícebarevné detekce a beads array
sortrování chromozómů
aplikace v mikrobiologii, hydrobiologii a studiu bezobratlých
Na konci dnešní přednášky byste měli:
vědět co je to „high-throughput„ průtoká cytometrie
  …a jak se v ní může uplatnit princip vícebarevného značení.
znát základní principy měření a sortrování chromozómů pomocí průtokového cytometru;
mít představu o možných aplikacích průtokové cytometrie v mikrobiologii, hydrobiologii a studiu bezobratlých
K. Souček Bi9393 Analytická cytometrie