Laser-Induced Breakdown Spectroscopy for the analysis of model samples of historical paintings

Eva Pospíšilová1, Karel Novotný1,2,4, Richard Ševčík1, Jozef Kaiser3,4, Pavel Pořízka3,4, David Hradil5,6, Janka Hradilová5

1Department of Chemistry, Faculty of Science, Masaryk University, Kotlářská 2, Brno, CZ-61137, Czech Republic

2Masaryk University, Central European Institute of Technology (CEITEC MU), Kamenice 753/5, Brno, CZ-62500, Czech Republic

3Brno University of Technology, Central European Institute of Technology (CEITEC BUT), Purkyňova 123, Brno, CZ-61200, Czech Republic

4 AtomTrace s.r.o., Vědecko-technický park profesora Lista, Kolejní 9, Brno, CZ-61200, Czech Republic 
5Academy of Fine Arts in Prague, ALMA laboratory, U Akademie 4, Prague 7, CZ-17022, Czech Republic

6Institute of Inorganic Chemistry of the AS CR, v.v.i., ALMA laboratory, Husinec-Řež, CZ-25068 Czech Republic

Keywords: LIBS, Deep profiling, Historical paintings

Laser-Induced Breakdown Spectroscopy (LIBS) has a high potential in the analysis of the objects of cultural heritage1. However it is a microdestructive technique and it is essential to optimize effects of laser-matter interaction and laser ablation on the particular material under investigation. Model multilayered samples containing traditional pigments were prepared on a wooden support (5 x 10 cm) with each layer partly revealed. Influence of the parameters, especially of the laser energy, on the depth profile and the crater size was observed and evaluated.

Broadband spectra were first acquired using Sci-Trace instrument (AtomTrace, Czech Republic) equipped with echelle spectrometer Emu-65 (Catalina Scientific, USA) and EMCCD camera (Falcon Blue, Raptor Photonics, IE). Significant element lines were chosen and samples were then re-measured using modified ablation system New Wave UP-266 MACRO equipped with Czerny Turner monochromator (TRIAX 320, Jobin Yvon, France) and an ICCD detector (PI max 3, Princeton Inst., USA). Obtained spectra were processed to create the depth profiles of the samples.

References:

- Analysis of fresco by laser induced breakdown spectroscopy: Caneve, L., et al. Spectrochimica Acta Part B: Atomic Spectroscopy 65.8 (2010): 702-706.