## Slide 1: Fast repetition reate Fluorometry FRRF nebo také FRRf
Miloš Barták

## Slide 2
1992

## Slide 8
Úplně základní definice nezbytné pro pochopení
Metody FRRF
The QA primary acceptor can be reduced with a minimal perturbation of the photosynthetic
electron transport chain by using a saturating flash of light that is short enough to ensure
a single turnover of Photosystem II reaction centers. The duration of the flash should be
shorter than few tens of microseconds. Such flashes have been experimentally realized by
pulsed lasers, xenon flashlamps
Single turnover flash
Právě jednou jsou všechna RC PSII zahlcena (zavřená)
a velmi rychle se ´překlopí´zpět do otevřeného stavu

## Slide 9
Úplně základní definice nezbytné pro pochopení
Metody FRRF
The QA primary acceptor is reduced with a further transfer of entery to the photosynthetic
electron transport causing gradual reduction of plastoquinone pool. The duration multiple turnover
flash should is about hundreds of miliseconds.
Multiple turnover flash
RC PSII jsou postupně zahlcena (zavřená) a primární akceptor přechází
Z oxidovaného (ready to transfer) do plně redukovaného stavu (not ready)

## Slide 17
Ritgers School of Biological Sciences

## Slide 21
Variable | Definition
PCFRR | Rate of gross photosynthesis (mg C (mg Chl-a)− 1 h− 1)
E | Photosynthetically active radiation (400–700 nm) (μmol photons m− 2 s− 1) of light (wavelength dependent)
σPSII | Functional absorption cross section nm2 quanta− 1
σPSII′ | Functional absorption cross section nm2 quanta− 1 in actinic light
1 − C | Fraction of open reaction centres (C = 1 − qJ)
PSU | Photosynthetic unit size is the concentration of functional PSII reaction centres (mol Chl-a m− 3/mol RCII m− 3)
[RCII] | Number of functional reaction centres (mol RCII m− 3) = KRELED×ChlFRRfσPSII
[Chl]FRRf | Gain normalised minimum fluorescence signal parameter calculated by FastPRO
KR | Instrument specific constant (mol photons m− 3 s− 1)
ΦE : C | Electron requirement for carbon uptake (molecule CO2 (mol electrons)− 1)

## Slide 22
Further reading

## Slide 23
Ladies and gentleman,
Thank you for your attention