## Slide 1
<number>
Methods of 2D FT NMR spectroscopy
Basics

## Slide 2
<number>
Methods of 2D FT NMR spectroscopy
Line shape and frequency discrimination – 1D spectrum
– signal amplitude
Lorentz shape of the signals

## Slide 3
<number>
Methods of 2D FT NMR spectroscopy
Phase
Effect of spectrometer
(time delay during detection)
FT

## Slide 4
<number>
Methods of 2D FT NMR spectroscopy
Frequency discrimination – 1D spectrum
Detection in one axis - x
(single detector)
Detection in one axis - y
(single detector)
+
5.12.2011

## Slide 5
<number>
Methods of 2D FT NMR spectroscopy
Phase and amplitude modulation – 2D spectra
Phase modulation
Amplitude modulation
1
2
3
1st pulse: 90x
1st pulse: 90y

## Slide 6
<number>
Methods of 2D FT NMR spectroscopy
Lineshape – 2D spectra
Phase modulation

## Slide 7
<number>
Methods of 2D FT NMR spectroscopy
Lineshape – 2D spectra
Amplitude modulation
cosine term
-

## Slide 8
<number>
Metody 2D FT NMR spektroskopie
Lineshape – 2D spectra

## Slide 9
<number>
Metody 2D FT NMR spektroskopie
Lineshape – 2D spectra
Amplitude modulation
sine term
-

## Slide 10
<number>
Metody 2D FT NMR spektroskopie
Lineshape – 2D spectra

## Slide 11
<number>
Metody 2D FT NMR spektroskopie
Frequency discrimination with achieving absorptive lineshapes
Method of States, Haberkorn and Ruben (SHR)

## Slide 12
<number>
Methods of 2D FT NMR spectroscopy
Frequency discrimination with achieving absorptive lineshapes
The TPPI method –
Time-Proportional Phase Incrementation

## Slide 13
<number>
Methods of 2D FT NMR spectroscopy
Frequency discrimination with achieving absorptive lineshapes
The TPPI method –
Time-Proportional Phase Incrementation

## Slide 14
<number>
Methods of 2D FT NMR spectroscopy
Frequency discrimination with achieving absorptive lineshapes
Echo-Antiecho Method
P-spectrum - antiecho
N-spectrum - echo
cosine modulation
sine modulation
Continue further by the SHR method

## Slide 15
Methods of 2D FT NMR spectroscopy
Acquisition schemes for frequency discrimination - summary
Marion et al., J. Magn. Reson. 1989
Folding
Flip
Flip
Shift
Shift

## Slide 16
<number>
Methods of 2D FT NMR spectroscopy
The basics
Two-spin system AX
COSY – COrrelated SpectroscopY
t1
t2
F2
F1

## Slide 17
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
1
2
3
1st pulse:
t1:
2nd pulse:

## Slide 18
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
1
2
3
mixing: I1z <-> I2z
chemical exchange
3rd pulse:

## Slide 19
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
1
2
3
t2:
detection F = Iy:

## Slide 20
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
1
2
3
FT processing in t2
FT processing in t1

## Slide 21
<number>
Methods of 2D FT NMR spectroscopy
Signal modulation

## Slide 22
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
n1
n2
n3
n4
Two-spin system IS

## Slide 23
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
Two-spin system IS


I -Positive NOE
I -Negative NOE
n1 - n3 + n2 – n4
n1
n2
n3
n4
S – saturated
W2 transfer generates
positive NOE
W0 transfer generates
negative NOE

## Slide 24
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
Solomon equations

## Slide 25
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
Solomon equations - solution
0 = -(Iz – Izo)(W0IS + 2W1I + W2IS) + Szo (W2IS – W0IS)
Steady state
___________________
(W0IS + 2W1I + W2IS)
W2IS – W0IS
_____
Szo
Iz - Izo
=
Szo = (S/I)Izo
___________________
(W0IS + 2W1I + W2IS)
W2IS – W0IS
_____
Izo
Iz - Izo
=
(S/I)
Dipolar transverse relaxation rate (W2IS – W0IS) = IS
Dipolar longitudinal relaxation rate (W0IS + 2W1I + W2IS) = IS
NOE fI{S} =
Szo, Izo amplitude at equilibrium
Iz amplitude if S is irradiated
=
IS
IS
___
(S/I)

## Slide 26
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
Two-spin system IS
K = (o/4)h/2.I.S.r-3IS

## Slide 27
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
Two-spin heteronuclear system IS

## Slide 28
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
Two-spin system IS
Two-spin HOMONUCLEAR system IS

## Slide 29
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
NOE fI{S} =
NOE max = I/2I=1/2

## Slide 30
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
<number>
NOE fI{S} =
NOE max = s/2I

## Slide 31
<number>
Methods of 2D FT NMR spectroscopy
NOE SpectroscopY and EXchange SpectroscopY
NOE max = s/2I
NOE fI{S} =
Negative I
4.12.2012

## Slide 32
<number>
codein
Methods of 2D FT NMR spectroscopy
Experiments with coherence transfer - homonuclear
H5
H3
H10
H9
OH
H-5 -> H-3 – > H-10 -> OH
H-5 -> H16
H8
H7

## Slide 33
<number>
Methods of 2D FT NMR spectroscopy
Experiments with coherence transfer - homonuclear
COSY
1st pulse – spin I1:
t1: - spin I1 effect of I
t1: - spin I1 effect of J12

## Slide 34
<number>
Methods of 2D FT NMR spectroscopy
COSY
Experiments with coherence transfer - homonuclear

## Slide 35
<number>
Methods of 2D FT NMR spectroscopy
COSY
Experiments with coherence transfer - homonuclear
1

## Slide 36
<number>
Methods of 2D FT NMR spectroscopy
COSY
Experiments with coherence transfer - homonuclear

## Slide 37
<number>
Methods of 2D FT NMR spectroscopy
COSY
Experiments with coherence transfer - homonuclear
1

## Slide 38
<number>
Methods of 2D FT NMR spectroscopy
2 DQF COSY
Experiments with coherence transfer - homonuclear
diagonální pík
interakční pík

## Slide 39
<number>
Methods of 2D FT NMR spectroscopy
Phase is arbitrary
Phase change of the
excitation pulse
90y -> 90x
For = -90o
=

## Slide 40
<number>
Experimental aspects - 2D COSY
The 2D COSY (COrrelation SpectroscopY) experiment is the simplest and most widely used 2D experiment. It is an homonuclear chemical shift correlation experiment based on the transfer polarization by a mixing pulse between directly J-coupled spins. Thus, homonuclear through-bond interactions can be trace out by simple analysis
of the 2D map providing a more general and more useful alternative to classical 1D homodecoupling experiments.
VERSIONS
The 2D COSY experiment is a simple two-pulse sequence in which a variable evolution period is inserted between
these two pulses (see COSY block). During this period, both J-coupling and chemical shift evolutions take
place (after fourier transformation will give the F1 dimension).
The signal is detected as usual (F2 dimension).

## Slide 41
<number>
The basic COSY experiment can be performed in magnitude or phase-sensitive modes by selecting the appropriate
phase programs and transform algorithm. Foir biomolecular application, a sutable version is the phase sensitive COSY
with presaturation.
In addition, a lot of versions of COSY experiment exist as, for instance:
Delayed or Long-Range COSY experiment (or COSYLR): Allows to detect small or long-range H-H couplings
with reasonable cross-peak intensity by inserting fixed evolution delays into the variable evolution period and
just prior to detection of the conventional 2D COSY experiment.
Double-quantum filtered COSY experiment (or COSYDQF) provides in-phase diagonal peaks and helps to suppres
artefacts and residual water signal at the expense of sensitivity.
Gradient-enhanced versions of COSY experiments: ge-2D COSY and ge-2D COSY-MQF experiments.
Experimental aspects - 2D COSY

## Slide 42
<number>
SPECTRA
A COSY spectrum correlates chemical shifts of the same nucleus in both dimensions.
Three main types of peaks can be present:
Diagonal peaks (showing in-phase negative pure dispersion pattern in phase-sensitive spectra).
Off-diagonal peaks (showing anti-phase pure absorption pattern with respect to the active J-coupling, and in-phase with all passive J-couplings in phase-sensitive spectra). These peaks reveal J-coupling connectivity.
Axial peaks (appearing a F1=0) that are efficiently removed by a proper phase cycle.
Quantitation of scalar coupling constants can be performed from COSY spectra by analyzing the fine structure of cross peaks. However, when the multiplet structure is not well resolved due to low spectral resolution or partial cancelation of multiplet lines, the constant values are more conveniently measured from E.COSY-type spectra.
Experimental aspects - 2D COSY

## Slide 43
<number>
Experimental aspects - 2D NOESY
The 2D NOESY (Nuclear Overhauser SpectroscopY) experiment offers a simple
way to obtain all NOE information in a molecule by a single experiment and without
prior knowledgment of the spectral assignment or molecular structure.
VERSIONS
The basic pulse sequence of the NOESY experiment follows the same principles of the homonuclear 2D experiments.
After an excitation 90º 1H pulse, transverse magnetization evolves during a free variable evolution t1 period.
A 90º 1H pulse creates longitudinal magnetization and during the NOE mixing time magnetization transfer
via cross-relaxation or chemical exchange can take place. A final 90º 1H proton pulse creates transverse magnetization
which is detected as usual. Several modifications of the basic NOESY pulse schemes to remove multispin or
spin diffusion effects and to remove undesired zero-quantum coherences (ZQC) have been also proposed.
Sometimes, the experiment is recorded using random variation of mixing time. The NOESY pulse sequence can
also be combined with some solvent suppression scheme. Pulsed field gradients can also be incorporated
in the NOESY experiment.

## Slide 44
<number>
SPECTRA
NOESY experiment provides a 2D chemical shift correlation map in which through-space connectivites can be traced out. Diagonal peaks are positive, exchange cross-peaks are also positive and NOE cross-peaks are positive in the slow-tumbling or spin-difussion limit for large molecules (negative NOE) and negative in the extreme-narrowing limit (positive NOE). Thus, for small molecules chemical exchange and NOE effects have opposite signs and can be distinguished. A major problem is the presence of ZQC.
Experimental aspects - 2D NOESY

## Slide 45
<number>
Experimental aspects - 2D ROESY
The 2D ROESY (Rotating-frame Overhauser SpectroscoPY) experiment (also called CAMELSPIN (Cross-relaxation appropriate for Minimolecules Emulated by Locked SPINs) experiment) offers a simple way to obtain NOE information in a molecule by a single experiment and without prior knowledgment of the spectral assignment or molecular structure. In ROESYexperiment, cross-relaxations are carried out in the rotating-frame with spin-locked magnetization and this means that NOE in the transverse plane (ROE) is always positive (no nulling condition as in NOESY-type experiments) and, in addition, chemical exchange can always be distinguished.
Cross-peaks appearing in a ROESY spectrum are basically due to chemical exchange and cross-relaxation effects. However, other coherence transfer mechanisms can take place, and undesirable signals can arise.

## Slide 46
<number>
VERSIONS
The basic pulse sequence of the ROESY experiment follows the same principles of the homonuclear 2D experiments. After an excitation 90º 1H pulse, transverse magnetization evolves during a free variable evolution t1 period. An spin-lock period, usually low-power continuous wave, is applied during the mixing time and, finally, proton resonances are detected as usual. The ROESY pulse sequence can also be combined with some solvent suppression scheme. The use of off-resonance RF irradiation allows for reduction of the coherent magnetization transfer due to scalar coupling (TOCSY contribution) and of the off-resonance effects.
The most important parameter to consider is the length of the mixing time. On the other hand, the mixing process must be optimized to minimize possible TOCSY contributions.
Experimental aspects - 2D ROESY

## Slide 47
<number>
Experimental aspects - 2D TOCSY
The 2D TOCSY (TOtal Correlation SpectroscopY) experiment (also called as HOHAHA (HOmonuclear HArtmann-HAhn) experiment) permits to assign a whole spin system regardless of the exact topology. TOCSY experiment can be used to obtain subspectrum characteristic of part of a molecule that has no scalar couplings to other spins in the molecules (for instance, to sequence polysaccharides, peptides or proteins).

## Slide 48
<number>
VERSIONS
The basic pulse sequence of the TOCSY experiment follows the same principles of the homonuclear 2D experiments. After a excitation 90º 1H pulse, transverse magnetization evolves during a free variable evolution t1 period. Instead of relaying magnetization via antiphase states, the TOCSY experiment uses an isotropic mixing sequence to transfer magnetization between spins via the strong scalar coupling Hamiltonian, with the result that in-phase magnetization can be transferred through several couplings during the mixing time. Proton detection is performed as usual. Coherence transfer in TOCSY experiments proceeds from the in-phase magnetization and, therefore, the commonly antiphase cancellation in COSY-type experiments are not a problem here. The isotropic mixing is usually performed applying a WALTZ, MLEV or DIPSI pulse train and it can be inserted into two z-filters and, in such case, isotropic mixing is performed on the longitudinal magnetization.
Experimental aspects - 2D TOCSY

## Slide 49
<number>
SPECTRA
TOCSY experiment provides a 2D chemical shift correlation map similar as in a RELAY-type experiment in which both direct and relayed connectivites are present.
A problem with the TOCSY experiment of large biomolecules can be the presence of cross-relaxation (ROESY effects). However, they can be easily differenciate because TOCSY cross-peaks are positive and ROESY cross-peaks are negative with respect to the positive diagonal peaks. Spin-lock sequences has been designed to circumvent this problem (the so-called CLEAN-TOCSY experiment).
Experimental aspects - 2D TOCSY