## Results by plate
| K neg | K | W | R | W+R | 0
GFP | 1739 | 1602 | 2040 | 1924 | 8984 | 1936
FF | 12084 | 9180 | 11944 | 24526 | 82190 | 806
Ren | 138215 | 123863 | 109304 | 114426 | 111273 | 98167
| 0.087429 | 0.074114 | 0.10927 | 0.21434 | 0.73863
|  | 1 | 1.4744 | 2.892 | 9.9662

## Results by well
Tomas TopFlash
2023-10-13 12:11
Assay was completed successfully.
Results
Well | Sample | Luminescence (CPS)
A1 | A1 | 1739
A2 | A2 | 1602
A3 | A3 | 2040
A4 | A4 | 1924
A5 | A5 | 8984
A6 | A6 | 1936

## Replicate statistics
Tomas TopFlash
2023-10-13 12:11
Assay was completed successfully.
Replicate statistics
Luminescence
Luminescence (CPS)
Sample | Dilution | N | CV | Mean
A1 | All | 1 | 0% | 1739
A1 | 1:1 | 1 | 0% | 1739
A2 | All | 1 | 0% | 1602
A2 | 1:1 | 1 | 0% | 1602
A3 | All | 1 | 0% | 2040
A3 | 1:1 | 1 | 0% | 2040
A4 | All | 1 | 0% | 1924
A4 | 1:1 | 1 | 0% | 1924
A5 | All | 1 | 0% | 8984
A5 | 1:1 | 1 | 0% | 8984
A6 | All | 1 | 0% | 1936
A6 | 1:1 | 1 | 0% | 1936

## Info
Tomas TopFlash
2023-10-13 12:11
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Luminescence
Technology | Luminescence
Filter | IR Cutoff
Counting time (s) | 1
Aperture | Default
Read mode | Top
Focus (mm) | Default
PMT voltage | Default
Discriminator voltage | Default