## Results by plate
| 0 | K- | K | W | R | WR
GFP | 139887 | 125409 | 132640 | 117580 | 127404 | 119718
FF | 2536 | 1838 | 1276 | 1275 | 1533 | 2206
Ren | 593 | 10003 | 16549 | 8570 | 7973 | 6417
|  | 0.18374 | 0.077104 | 0.14877 | 0.19227 | 0.34377
|  | 1.8374 | 0.77104 | 1.4877 | 1.9227 | 3.4377

## Results by well
Tomas TopFlash
2023-10-20 13:04
Assay was completed successfully.
Results
Well | Sample | Luminescence (CPS)
A1 | A1 | 2536
A2 | A2 | 1838
A3 | A3 | 1276
A4 | A4 | 1275
A5 | A5 | 1533
A6 | A6 | 2206

## Replicate statistics
Tomas TopFlash
2023-10-20 13:04
Assay was completed successfully.
Replicate statistics
Luminescence
Luminescence (CPS)
Sample | Dilution | N | CV | Mean
A1 | All | 1 | 0% | 2536
A1 | 1:1 | 1 | 0% | 2536
A2 | All | 1 | 0% | 1838
A2 | 1:1 | 1 | 0% | 1838
A3 | All | 1 | 0% | 1276
A3 | 1:1 | 1 | 0% | 1276
A4 | All | 1 | 0% | 1275
A4 | 1:1 | 1 | 0% | 1275
A5 | All | 1 | 0% | 1533
A5 | 1:1 | 1 | 0% | 1533
A6 | All | 1 | 0% | 2206
A6 | 1:1 | 1 | 0% | 2206

## Info
Tomas TopFlash
2023-10-20 13:04
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Luminescence
Technology | Luminescence
Filter | IR Cutoff
Counting time (s) | 1
Aperture | Default
Read mode | Top
Focus (mm) | Default
PMT voltage | Default
Discriminator voltage | Default