## Slide 1: Macromolecular crystallography
Pavel Plevka

## Slide 2
Development of crystallography
Waves and radiation
Diffraction
Solution of phase problem
Model building and structure validation

## Slide 3: WILHELM CONRAD RÖNTGEN (1845-1923)
1901 Nobel Laureate in Physics
discovery of the remarkable rays subsequently named after him.

## Slide 4: MAX VON LAUE (1879-1960)
1914 Nobel Laureate in Physics
for his discovery of the diffraction of X-rays by crystals
Friedrich and Knipping

## Slide 5
Waves

## Slide 6
Coherent beam

## Slide 7
Addition of waves

## Slide 8
Particles & waves

## Slide 9: MAX VON LAUE (1879-1960)
1914 Nobel Laureate in Physics
for his discovery of the diffraction of X-rays by crystals
Friedrich and Knipping

## Slide 10
Wavelength and diffraction

## Slide 11
Wavelength comparison of X-rays and visible light
38l

## Slide 12
70μm

## Slide 13: WILLIAM HENRY BRAGG (1862-1942) WILLIAM LAWRENCE BRAGG (1890-1971)
1915 Nobel Laureates in Physics
for the analysis of crystal structure by means of X-rays
nl = 2d sinq

## Slide 14: James Batcheller Sumner (1879-1960)
1946 Nobel Laureate in Chemistry
for his discovery that enzymes can be crystallized

## Slide 15: FRANCIS HARRY COMPTON CRICK (1916-2004) JAMES DEWEY WATSON (1928) MAURICE HUGH FREDERICK WILKINS (1916-2004)
1962 Nobel Laureates in Physiology and Medicine
for their discoveries concerning the molecular structure of nuclear acids and its significance for information transfer in living material.
Rosalind Franklin
Maurice Wilkins
James Watson
and Francis Crick

## Slide 16: Max Ferdinand Perutz (1914 – 2002) John Cowdery Kendrew (1917 – 1997)
1962 Nobel Laureates in Physics
for their studies of the structures of globular proteins

## Slide 17
Information from X-ray diffraction experiment
[0;0;0]
x
y
z

## Slide 18
Representative electron density for amino acid side chains
Electron density maps calculated at 1.5 Angstrom resolution.

## Slide 20
Comparison of microscope and diffraction

## Slide 21: Wave as a vector
F=Acosa+iAsina
F=Aexp(ia)
a
A
Real axis
Imaginary axis
A- wave amplitude
a- wave phase
F
A

## Slide 22: X-rays scatter from electrons in all directions
Primary beam
Secondary beams

## Slide 23: X-ray scattering from several electrons
Primary beam
When electrons scatter X-rays in phase waves add constructively.
Notes: Molecule is composed of many electrons
Each electron will scatter secondary radiation uppon exposure to x-rays
The scattered secondary beams will interact and cause interference
The scattering from a molecule is dependent on number of and distances between electrons
In other words, scattering from molecule is dependent on its structure
If we would know the amplitudes and phases of scattered molecule, we could calculate the structure of molecule...

## Slide 24
Adition of waves
F=Acosa+iAsina

## Slide 25
Scattering from a single molecule is not detectable
If molecules are all oriented in the same way, the scattering from individual molecules will add in certain directions
      Which directions?

## Slide 26
There is no path and PHASE DIFFERENCE when rays reflect from a plane

## Slide 27
nl = 2d sinq
Bragg’s law:
There is NO PHASE DIFFERENCE if the path differences are equal to whole number multiplies of wavelength.
w
sinq = w/d
2w = nl

## Slide 29
(h, k, l)

## Slide 30
14 Bravais Lattices

## Slide 31: Diffraction pattern from a protein crystal

## Slide 32
nl = 2d sinq

## Slide 33
Observed amplitudes
Fourier amplitudes and phases
Real space cat
Fourier transform
Circular rainbow scale of phases
Linear intensity scale of amplitude size

## Slide 34: Electron density equation + PHASE PROBLEM

## Slide 35
Molecular replacement
1. source of initial phases is a model
2. the model is oriented and positioned to obtain the best agreement with the x-ray data
3. phases are calculated from the model
4. The calculated phases are combined with the experimental data
Solving the phase problem by:
Molecular Replacement was invented by
Michael Rossmann

## Slide 36
Observed amplitudes Phases unknown!
Unknown structure,
unknown orientation
Known structure
Fourier cat
Cat
Fourier transform
Diffraction experiment
Manx cat
Wrong orientation!
Calculated amplitudes and phases
FT of Manx cat

## Slide 37
Observed amplitudes Phases unknown!
Known structure
Fourier cat
Fourier transform,
try different orientations
Manx cat
Wrong orientation!
Calculated amplitudes and phases
FT of Manx cat

## Slide 38
Observed amplitudes (tailed cat), calculated phases (Manx cat)
Even the tail becomes visible!
Inverted Fourier transform

## Slide 39
Duck amplitudes + cat phases
Duck
Fourier transform of duck
Looks like a cat!!
Model Bias
Fourier transform
Inverted Fourier transform

## Slide 40
Multiple/Single Isomorphous Replacement (MIR/SIR)
source of phases – intensity differences between data from native and derivative (heavy atom containing) crystals
Positions of heavy atoms identified from isomorphous difference Patterson maps
Solving the phase problem by:

## Slide 41
Multiple/Single-wavelength anomalous diffraction (MAD/SAD)
source of phases – intensity differences between structure factors due to the presence of atom that specifically interacts with X-rays of a given wavelength
Positions of heavy atoms identified from anomalous difference Patterson maps
Solving the phase problem by:

## Slide 42
Model building & refinement

## Slide 43
Model building & refinement

## Slide 44: Model building & resolution
Notes: Fitting of protein sequence in the electron density
Easy in molecular replacement
More difficult if no initial model is available
Unambiquous if resolution is high enough (better than 3.0 Å)
Can be automated, if resolution is close to 2Å or better

## Slide 45: Validation
Assesment of model quality:
Is the model in agreement with experimwntal data?
How the geometry of amino acids look like?
Are atoms far / close enough from each other?
Are residues “happy” in their environment?
Are the hydrogen donors/acceptors satisfied?

## Slide 46
R-factor, Rfreefactor
R-factor
Rfree factor

## Slide 47
Ramachandran plot
Ψ
φ
φ
Ψ
ω

## Slide 48
Geometry and stereochemistry
Bond lengths
Dihedral angles

## Slide 49
Real-space fit

## Slide 50: Data deposition
Protein Data Bank (PDB)
Some structures are wrong!

## Slide 51
Summary
1. X-rays have suitable wavelength for study of molecular structures
2. Crystals allow measurement of useful diffraction data because they diffract strongly in certain directions
3. Our goal is to obtain three-dimensional distribution of electron density, because it shows the shape of a molecule
4. Diffraction experiments provide only amplitudes of structure factors => Phase problem
5. Solution of the phase problem:
Molecular replacement
Isomorphous replacement
Anomalous diffraction
6. Model building, refinement, validation, deposition

## Slide 52: X-ray crystallography
First method to determine structure of molecules with atomic resolution
As of November, 2022 there were almost 200,000 structures available from Protein Data Bank (170,000 by X-ray)
Macromolecular structures are crucial for our understanding of life at the molecular level
28 Nobel prizes

## Slide 53
Deformed wing virus
Honeybee colonies in US
DWV infected pupae

## Slide 54
Deformed wing virus

## Slide 56
Thank you!

## Slide 57
1.) Jakou část strukturního faktoru můžeme změřit v difrakčním experimentu:
a) amplitudu (ve formě intensity)
b) fázi
2.) Nejčastější metoda pro získání fází je:
a) molekulární nahrazení (molecular replacement)
b) isomorfní nahrazení
c) anomální diffrakce
3.) Ramachandran plot ukazuje:
a.) distribuci úhlů v hlavním řetězci proteinu
b.) vzdálenosti mezi atomy
c.) konformace postranních řetězců aminokyselin

## Slide 58
1. Rentgenové paprsky se používají ke studiu makromolekulárních struktur protože:
A.) Mají vlnovou délku podobnou meziatomovým vzdálenostem.
B.) Jako jediné elektromagnetické záření interagují s biologickým materiálem.
C.) Byly objeveny v době intenzivního zájmu o strukturu makromolekul a z historických důvodů se používají dodnes.
2. To, že makromolekuly tvoří krystaly znamená že:
A.) Mají enzymatickou aktivitu
B.) Jsou součástí kostry buňky (cytoskeletu)
C.) Mají stabilní strukturu.
3. Mapa elektronové hustoty, která je výsledkem rentgenové analýzy krystalů:
A.) Ukazuje tvar molekul, které tvoří krystal
B.) Má vždy bílou barvu
C.) Ukazuje tvar molekuly po denaturaci