## Results by plate
Tomas TopFlash
|  | 0 | -K | K | W | R | WR
| FF | 613 | 366 | 825 | 608 | 1551 | 1047
| renila | 339 | 705 | 908 | 526 | 603 | 516
| FF/ren | 1.8083 | 0.51915 | 0.90859 | 1.1559 | 2.5721 | 2.0291
| GFP | 405161 | 347725 | 332610 | 324550 | 325663 | 302658

## Results by well
Tomas TopFlash
2024-10-18 11:24
Assay was completed successfully.
Results
Well | Sample | Luminescence (CPS)
A1 | A1 | 613
A2 | A2 | 366
A3 | A3 | 825
A4 | A4 | 608
A5 | A5 | 1551
A6 | A6 | 1047

## Replicate statistics
Tomas TopFlash
2024-10-18 11:24
Assay was completed successfully.
Replicate statistics
Luminescence
Luminescence (CPS)
Sample | Dilution | N | CV | Mean
A1 | All | 1 | 0% | 613
A1 | 1:1 | 1 | 0% | 613
A2 | All | 1 | 0% | 366
A2 | 1:1 | 1 | 0% | 366
A3 | All | 1 | 0% | 825
A3 | 1:1 | 1 | 0% | 825
A4 | All | 1 | 0% | 608
A4 | 1:1 | 1 | 0% | 608
A5 | All | 1 | 0% | 1551
A5 | 1:1 | 1 | 0% | 1551
A6 | All | 1 | 0% | 1047
A6 | 1:1 | 1 | 0% | 1047

## Info
Tomas TopFlash
2024-10-18 11:24
Assay was completed successfully.
Info
Instrument
Instrument serial number | 3180172
Instrument firmware version | 103
Software
Version | 0.5.54.0
Plate
Wells | 96 (8x12)
Manufacturer | General
Name
A1 offset (µm) | 14380,11240
Well distance (µm) | 9000
Well diameter (µm) | 6500
Operations
Luminescence
Technology | Luminescence
Filter | IR Cutoff
Counting time (s) | 1
Aperture | Default
Read mode | Top
Focus (mm) | Default
PMT voltage | Default
Discriminator voltage | Default