## Cover
Created By: | USER1
Creation Date: | 2024-12-12 11:43
File Name: | C:\Documents and Settings\RTCAOperator\Desktop\Lucia K\2412090643D3_cvika91224.plt
Exp ID: | 2412090643D3

## Exp Notes
User: | USER1
Experiment Name: | cvika 9-12-24
Device Part No:
Experiment Purpose:
Experiment Procedure:
Experiment Conclusion:
System Information:
Software Version: | 1.2.1.1002
Analyzer Model: | 3x16
Analyzer SN: | 321120117884
FW Version: | V2.2
Station Model: | 3x16
Station SN: | 321120117884
Station FW: | V2.2
Self Test Val: | 99.9278

## Layout
WellID | Cell-Type | Cell-Number | Compound Name | Concentration | Unit
A5 | - | 0
B5 | 231 | 7000 | ctrl
C5 | 231 | 7000 | A | 0.8 | ug/ml
D5 | 231 | 7000 | A | 1.6 | ug/ml
E5 | 231 | 7000 | B
F5 | 231 | 7000 | C
G5 | 231 | 7000 | D
H5 | 231 | 7000 | E
A6 | - | 0
B6 | 231 | 7000 | ctrl
C6 | 231 | 7000 | A | 0.8 | ug/ml
D6 | 231 | 7000 | A | 1.6 | ug/ml
E6 | 231 | 7000 | B
F6 | 231 | 7000 | C
G6 | 231 | 7000 | D
H6 | 231 | 7000 | E

## Schedule
Seq. | Step | Step-Status | Sweep-Status | Sweeps | Interval | Unit | Total Time | Comments
1 | Step_1 | DONE | 1 | 1 | 1 | Minute | 0:00
2 | Step_2 | DONE | 293 | 484 | 15 | Minute | 76:59

## Cell Index
Cell Index at: 76:46:18
| 1 | 2 | 3 | 4 | 5 | 6
A |  |  |  |  | 0.0481 | 0.0624
B |  |  |  |  | 2.626 | 2.6579
C |  |  |  |  | 1.5189 | 1.8529
D |  |  |  |  | 1.4293 | 1.1486
E |  |  |  |  | 0.0984 | 0.0984
F |  |  |  |  | 0.083 | 0.0781
G |  |  |  |  | 0.8177 | 0.9376
H |  |  |  |  | 2.6326 | 2.1559

## Plot
Time(Hour) | Time(hh:mm:ss) | Y (A5,A6) | Y (B5,B6) | Y (C5,C6) | Y (D5,D6) | Y (E5,E6) | Y (F5,F6) | Y (G5,G6) | Y (H5,H6)
0 | 0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.0011 | 0:00 | -0.0025 | -0.0003 | 0.0021 | 0.0051 | -0.0002 | -0.0026 | 0.0018 | 0.0005
3.5353 | 3:32 | 0.0121 | 0.0056 | 0.027 | 0.0154 | 0.0223 | 0.0151 | 0.0384 | 0.0666
3.7853 | 3:47 | 0.0058 | 0.0646 | 0.0977 | 0.0977 | 0.1 | 0.0767 | 0.0746 | 0.0943
4.0356 | 4:02 | 0.0068 | 0.1604 | 0.1787 | 0.167 | 0.1723 | 0.1302 | 0.1206 | 0.1239
4.2858 | 4:17 | 0.0088 | 0.2033 | 0.2239 | 0.2012 | 0.2178 | 0.1633 | 0.1639 | 0.1697
4.5361 | 4:32 | 0.0077 | 0.2253 | 0.2509 | 0.2236 | 0.2456 | 0.1874 | 0.1927 | 0.2104
4.7864 | 4:47 | 0.0062 | 0.2348 | 0.2539 | 0.2256 | 0.2516 | 0.1961 | 0.2059 | 0.2287
5.0367 | 5:02 | 0.0045 | 0.2292 | 0.2496 | 0.2277 | 0.2519 | 0.1988 | 0.2082 | 0.232
5.2869 | 5:17 | 0.0094 | 0.2151 | 0.2428 | 0.2236 | 0.2489 | 0.2001 | 0.2054 | 0.2339
5.5372 | 5:32 | 0.0103 | 0.2032 | 0.231 | 0.2124 | 0.2397 | 0.196 | 0.1948 | 0.2309
5.7875 | 5:47 | 0.008 | 0.1972 | 0.2205 | 0.205 | 0.2281 | 0.1808 | 0.1788 | 0.2238
6.0378 | 6:02 | 0.0092 | 0.1872 | 0.2154 | 0.2007 | 0.2242 | 0.1742 | 0.1705 | 0.2196
6.2881 | 6:17 | 0.0074 | 0.1836 | 0.2062 | 0.1953 | 0.215 | 0.1709 | 0.1649 | 0.2166
6.5383 | 6:32 | 0.0061 | 0.1777 | 0.2015 | 0.1853 | 0.2089 | 0.1724 | 0.1603 | 0.2174
6.7883 | 6:47 | 0.0037 | 0.1754 | 0.2007 | 0.1854 | 0.2082 | 0.1705 | 0.1596 | 0.2195
7.0386 | 7:02 | 0.0032 | 0.1758 | 0.1994 | 0.185 | 0.2081 | 0.17 | 0.1607 | 0.221
7.2889 | 7:17 | 0.009 | 0.181 | 0.2015 | 0.1907 | 0.2118 | 0.1662 | 0.1588 | 0.2181
7.5392 | 7:32 | 0.0075 | 0.1837 | 0.2062 | 0.1926 | 0.2142 | 0.1721 | 0.1631 | 0.2231
7.7894 | 7:47 | 0.0097 | 0.1866 | 0.2026 | 0.1911 | 0.2109 | 0.1729 | 0.1621 | 0.2236
8.0397 | 8:02 | 0.0094 | 0.1892 | 0.2074 | 0.1955 | 0.2169 | 0.1738 | 0.1648 | 0.229
8.29 | 8:17 | 0.0034 | 0.1896 | 0.2146 | 0.1983 | 0.2204 | 0.1814 | 0.1697 | 0.2382
8.5403 | 8:32 | 0.0042 | 0.1943 | 0.2179 | 0.201 | 0.2242 | 0.1839 | 0.1741 | 0.2417
8.7906 | 8:47 | 0.0032 | 0.1968 | 0.2225 | 0.2068 | 0.2286 | 0.191 | 0.1777 | 0.2473
9.0408 | 9:02 | 0.005 | 0.2042 | 0.2271 | 0.2114 | 0.2338 | 0.193 | 0.1815 | 0.2528
9.2911 | 9:17 | 0.009 | 0.209 | 0.2277 | 0.2125 | 0.2346 | 0.1966 | 0.1862 | 0.2559
9.5414 | 9:32 | 0.0046 | 0.2132 | 0.239 | 0.2203 | 0.2431 | 0.2025 | 0.1929 | 0.2663
9.7917 | 9:47 | 0.008 | 0.2233 | 0.2408 | 0.2248 | 0.2443 | 0.2048 | 0.1955 | 0.2692
10.0419 | 10:03 | 0.0027 | 0.2272 | 0.2516 | 0.2297 | 0.2556 | 0.2127 | 0.2055 | 0.2791
10.2922 | 10:18 | 0.0079 | 0.2374 | 0.2547 | 0.2352 | 0.2572 | 0.213 | 0.2056 | 0.2803
10.5425 | 10:33 | 0.0037 | 0.2418 | 0.2641 | 0.2418 | 0.2654 | 0.2197 | 0.2136 | 0.2896
10.7928 | 10:48 | 0.0046 | 0.2504 | 0.2707 | 0.2479 | 0.2696 | 0.2218 | 0.2157 | 0.2933
11.0431 | 11:03 | 0.005 | 0.2534 | 0.2758 | 0.2522 | 0.2786 | 0.2298 | 0.2232 | 0.3012
11.2933 | 11:18 | 0.0067 | 0.2625 | 0.2815 | 0.2582 | 0.2808 | 0.2301 | 0.2239 | 0.3034
11.5433 | 11:33 | 0.0071 | 0.2632 | 0.2846 | 0.2564 | 0.2837 | 0.238 | 0.2293 | 0.311
11.7936 | 11:48 | 0.0055 | 0.2741 | 0.2925 | 0.2677 | 0.2909 | 0.2384 | 0.2313 | 0.3134
12.0439 | 12:03 | 0.0045 | 0.2819 | 0.2967 | 0.2732 | 0.2967 | 0.2412 | 0.2359 | 0.3186
12.2942 | 12:18 | 0.0042 | 0.2839 | 0.3038 | 0.2773 | 0.3042 | 0.2466 | 0.2409 | 0.3262
12.5444 | 12:33 | 0.0082 | 0.2876 | 0.3051 | 0.2754 | 0.3054 | 0.2538 | 0.246 | 0.3323
12.7947 | 12:48 | 0.0098 | 0.2925 | 0.3095 | 0.2788 | 0.3091 | 0.2572 | 0.2493 | 0.3347
13.045 | 13:03 | 0.005 | 0.3001 | 0.3161 | 0.2862 | 0.315 | 0.2539 | 0.2503 | 0.335
13.2953 | 13:18 | 0.0071 | 0.3005 | 0.3196 | 0.2917 | 0.318 | 0.2655 | 0.2569 | 0.3424
13.5456 | 13:33 | 0.0061 | 0.3069 | 0.3231 | 0.296 | 0.3223 | 0.2654 | 0.2598 | 0.3445
13.7958 | 13:48 | 0.0042 | 0.3096 | 0.3267 | 0.2994 | 0.3242 | 0.2658 | 0.2618 | 0.3464
14.0461 | 14:03 | 0.0107 | 0.3107 | 0.3253 | 0.2948 | 0.323 | 0.2712 | 0.2656 | 0.352
14.2964 | 14:18 | 0.0062 | 0.3167 | 0.3331 | 0.3029 | 0.3301 | 0.2717 | 0.2679 | 0.3533
14.5467 | 14:33 | 0.0106 | 0.317 | 0.3291 | 0.301 | 0.326 | 0.2754 | 0.2694 | 0.3547
14.7969 | 14:48 | 0.011 | 0.3198 | 0.3317 | 0.3038 | 0.3275 | 0.2761 | 0.2691 | 0.3576
15.0472 | 15:03 | 0.0097 | 0.3236 | 0.3362 | 0.3054 | 0.3286 | 0.2803 | 0.2715 | 0.3595
15.2975 | 15:18 | 0.0116 | 0.3248 | 0.3363 | 0.3065 | 0.3316 | 0.2815 | 0.2725 | 0.3613
15.5478 | 15:33 | 0.0102 | 0.3275 | 0.3439 | 0.3137 | 0.3382 | 0.2821 | 0.2744 | 0.3611
15.7981 | 15:48 | 0.0158 | 0.3272 | 0.3415 | 0.3102 | 0.3381 | 0.2875 | 0.2775 | 0.3663
16.0483 | 16:03 | 0.0107 | 0.3316 | 0.3432 | 0.3155 | 0.338 | 0.2852 | 0.2763 | 0.363
16.2986 | 16:18 | 0.0113 | 0.335 | 0.3428 | 0.3156 | 0.3383 | 0.2864 | 0.2794 | 0.3645
16.5489 | 16:33 | 0.0152 | 0.3379 | 0.3509 | 0.3189 | 0.3434 | 0.2892 | 0.2819 | 0.3682
16.7992 | 16:48 | 0.0168 | 0.3387 | 0.3529 | 0.3186 | 0.3449 | 0.2928 | 0.2829 | 0.3711
17.0494 | 17:03 | 0.0134 | 0.3419 | 0.3541 | 0.3224 | 0.3458 | 0.2924 | 0.2857 | 0.3701
17.2997 | 17:18 | 0.0189 | 0.3435 | 0.3559 | 0.3218 | 0.348 | 0.2992 | 0.2892 | 0.3756
17.55 | 17:33 | 0.0204 | 0.3436 | 0.357 | 0.3203 | 0.3498 | 0.3 | 0.2893 | 0.3784
17.8003 | 17:48 | 0.0184 | 0.3482 | 0.3598 | 0.3265 | 0.3543 | 0.2983 | 0.2916 | 0.3767
18.0506 | 18:03 | 0.0161 | 0.3501 | 0.3594 | 0.3283 | 0.3532 | 0.3014 | 0.2914 | 0.3776
18.3008 | 18:18 | 0.0222 | 0.3524 | 0.3636 | 0.3253 | 0.3569 | 0.3075 | 0.294 | 0.3852
18.5511 | 18:33 | 0.0219 | 0.3553 | 0.3661 | 0.3282 | 0.3586 | 0.3086 | 0.2959 | 0.3875
18.8014 | 18:48 | 0.0181 | 0.3548 | 0.3646 | 0.3242 | 0.3558 | 0.3062 | 0.2978 | 0.387
19.0517 | 19:03 | 0.0225 | 0.3625 | 0.3707 | 0.332 | 0.3641 | 0.3067 | 0.2969 | 0.386
19.3019 | 19:18 | 0.0217 | 0.367 | 0.3732 | 0.333 | 0.3656 | 0.3081 | 0.299 | 0.3862
19.5522 | 19:33 | 0.0189 | 0.367 | 0.3726 | 0.3321 | 0.362 | 0.3114 | 0.3011 | 0.3875
19.8025 | 19:48 | 0.0216 | 0.3679 | 0.3755 | 0.3315 | 0.3665 | 0.3177 | 0.3044 | 0.3939
20.0528 | 20:03 | 0.02 | 0.3708 | 0.3762 | 0.3369 | 0.3648 | 0.317 | 0.3053 | 0.3908
20.3031 | 20:18 | 0.0212 | 0.369 | 0.379 | 0.3346 | 0.3661 | 0.3219 | 0.3069 | 0.3955
20.5533 | 20:33 | 0.0252 | 0.376 | 0.3823 | 0.3419 | 0.3731 | 0.3193 | 0.3067 | 0.3941
20.8036 | 20:48 | 0.0273 | 0.3745 | 0.3845 | 0.3438 | 0.3768 | 0.3236 | 0.3083 | 0.3999
21.0539 | 21:03 | 0.0261 | 0.3787 | 0.3849 | 0.3456 | 0.3747 | 0.3235 | 0.3103 | 0.3989
21.3042 | 21:18 | 0.0269 | 0.3807 | 0.3885 | 0.3459 | 0.3798 | 0.3269 | 0.3118 | 0.4048
21.5544 | 21:33 | 0.0246 | 0.3826 | 0.389 | 0.3463 | 0.3792 | 0.3279 | 0.3124 | 0.4082
21.8047 | 21:48 | 0.0212 | 0.3832 | 0.3881 | 0.3471 | 0.378 | 0.3328 | 0.3146 | 0.4092
22.055 | 22:03 | 0.0286 | 0.3907 | 0.3946 | 0.3541 | 0.3864 | 0.3306 | 0.3135 | 0.4092
22.3053 | 22:18 | 0.0239 | 0.3878 | 0.3948 | 0.3501 | 0.3851 | 0.3365 | 0.3194 | 0.4106
22.5556 | 22:33 | 0.0235 | 0.3911 | 0.398 | 0.3531 | 0.3883 | 0.3388 | 0.3214 | 0.4113
22.8058 | 22:48 | 0.0302 | 0.3996 | 0.4007 | 0.3594 | 0.3959 | 0.337 | 0.3196 | 0.4103
23.0561 | 23:03 | 0.0253 | 0.3977 | 0.4026 | 0.3559 | 0.392 | 0.3425 | 0.3241 | 0.4147
23.3064 | 23:18 | 0.0254 | 0.4047 | 0.4094 | 0.3621 | 0.4004 | 0.3444 | 0.3258 | 0.4197
23.5567 | 23:33 | 0.0244 | 0.4061 | 0.4112 | 0.3625 | 0.4018 | 0.348 | 0.3281 | 0.4207
23.8069 | 23:48 | 0.0316 | 0.4137 | 0.4101 | 0.3686 | 0.403 | 0.3466 | 0.3281 | 0.4192
24.0572 | 24:03 | 0.0307 | 0.4191 | 0.4136 | 0.373 | 0.406 | 0.347 | 0.3308 | 0.4218
24.3075 | 24:18 | 0.0252 | 0.4198 | 0.4197 | 0.3716 | 0.4099 | 0.3546 | 0.3365 | 0.4337
24.5578 | 24:33 | 0.0322 | 0.4271 | 0.419 | 0.3781 | 0.4113 | 0.3554 | 0.3366 | 0.4299
24.8081 | 24:48 | 0.0324 | 0.429 | 0.4213 | 0.3802 | 0.4143 | 0.3587 | 0.3396 | 0.4341
25.0583 | 25:03 | 0.0269 | 0.4341 | 0.4303 | 0.3846 | 0.4203 | 0.3643 | 0.3404 | 0.4391
25.3086 | 25:19 | 0.0304 | 0.434 | 0.4286 | 0.3847 | 0.4197 | 0.3653 | 0.345 | 0.4418
25.5589 | 25:34 | 0.0275 | 0.4395 | 0.4355 | 0.3877 | 0.4259 | 0.3684 | 0.3461 | 0.4452
25.8092 | 25:49 | 0.0294 | 0.4464 | 0.4396 | 0.3914 | 0.4287 | 0.365 | 0.3434 | 0.4428
26.0594 | 26:04 | 0.0332 | 0.4485 | 0.4352 | 0.3934 | 0.4268 | 0.3681 | 0.3461 | 0.4446
26.3097 | 26:19 | 0.0306 | 0.4561 | 0.4444 | 0.4042 | 0.4345 | 0.3711 | 0.3486 | 0.4459
26.56 | 26:34 | 0.0329 | 0.4619 | 0.4481 | 0.4074 | 0.4383 | 0.3811 | 0.3571 | 0.4544
26.8103 | 26:49 | 0.0337 | 0.4707 | 0.4546 | 0.4144 | 0.4457 | 0.3828 | 0.3631 | 0.4584
27.0606 | 27:04 | 0.0301 | 0.4793 | 0.462 | 0.4225 | 0.4538 | 0.3863 | 0.366 | 0.46
27.3108 | 27:19 | 0.0287 | 0.484 | 0.4714 | 0.4276 | 0.4604 | 0.3908 | 0.3709 | 0.4653
27.5611 | 27:34 | 0.0277 | 0.4875 | 0.476 | 0.4321 | 0.4626 | 0.3944 | 0.3731 | 0.47
27.8114 | 27:49 | 0.0323 | 0.4895 | 0.4752 | 0.4312 | 0.4601 | 0.4009 | 0.3793 | 0.4753
28.0617 | 28:04 | 0.0288 | 0.4964 | 0.4833 | 0.4412 | 0.4668 | 0.3997 | 0.38 | 0.4765
28.3119 | 28:19 | 0.0308 | 0.4992 | 0.4851 | 0.4428 | 0.468 | 0.3996 | 0.3838 | 0.4798
28.5622 | 28:34 | 0.0324 | 0.4949 | 0.4868 | 0.4396 | 0.4686 | 0.4101 | 0.3873 | 0.4869
28.8125 | 28:49 | 0.0302 | 0.5015 | 0.4929 | 0.4472 | 0.4749 | 0.412 | 0.3866 | 0.4916
29.2208 | 29:13 | 0.0775 | 0.2905 | 0.272 | 0.2231 | 0.2186 | 0.2223 | 0.229 | 0.3526
29.4708 | 29:28 | 0.0372 | 0.3971 | 0.3885 | 0.3485 | 0.349 | 0.3239 | 0.2699 | 0.4097
29.7211 | 29:43 | 0.0357 | 0.4611 | 0.4537 | 0.4104 | 0.4167 | 0.376 | 0.2747 | 0.4373
29.9714 | 29:58 | 0.0374 | 0.4646 | 0.4562 | 0.4223 | 0.4371 | 0.377 | 0.2681 | 0.4377
30.2217 | 30:13 | 0.0364 | 0.4768 | 0.4671 | 0.4288 | 0.4601 | 0.3755 | 0.2716 | 0.4476
30.4719 | 30:28 | 0.0357 | 0.497 | 0.4821 | 0.4455 | 0.4873 | 0.3736 | 0.2762 | 0.46
30.7222 | 30:43 | 0.0328 | 0.5167 | 0.5041 | 0.4658 | 0.5136 | 0.3713 | 0.2788 | 0.4723
30.9725 | 30:58 | 0.0388 | 0.5283 | 0.5168 | 0.4769 | 0.5286 | 0.3817 | 0.2855 | 0.4876
31.2228 | 31:13 | 0.0334 | 0.5463 | 0.5399 | 0.4948 | 0.5521 | 0.3835 | 0.2869 | 0.496
31.4731 | 31:28 | 0.0342 | 0.5583 | 0.5547 | 0.5091 | 0.5694 | 0.3905 | 0.2864 | 0.507
31.7233 | 31:43 | 0.0394 | 0.5633 | 0.5634 | 0.5144 | 0.5785 | 0.4005 | 0.2896 | 0.5197
31.9736 | 31:58 | 0.0382 | 0.5717 | 0.5774 | 0.5282 | 0.5938 | 0.4045 | 0.2904 | 0.5296
32.2239 | 32:13 | 0.0347 | 0.5839 | 0.5946 | 0.5419 | 0.6111 | 0.4018 | 0.2895 | 0.5357
32.4742 | 32:28 | 0.0394 | 0.5917 | 0.6068 | 0.5501 | 0.625 | 0.4132 | 0.2881 | 0.5471
32.7244 | 32:43 | 0.038 | 0.5955 | 0.6147 | 0.5662 | 0.6487 | 0.412 | 0.2896 | 0.5549
32.9747 | 32:58 | 0.0383 | 0.6074 | 0.6336 | 0.5759 | 0.6656 | 0.4113 | 0.2876 | 0.5604
33.225 | 33:13 | 0.038 | 0.6128 | 0.648 | 0.5902 | 0.6874 | 0.4104 | 0.2841 | 0.5654
33.4753 | 33:29 | 0.0366 | 0.6191 | 0.6637 | 0.6038 | 0.7135 | 0.4087 | 0.2845 | 0.5712
33.7256 | 33:44 | 0.0392 | 0.6245 | 0.6807 | 0.6185 | 0.7373 | 0.4094 | 0.2815 | 0.5816
33.9758 | 33:59 | 0.0421 | 0.6318 | 0.6972 | 0.633 | 0.7616 | 0.4125 | 0.2801 | 0.5921
34.2261 | 34:14 | 0.0383 | 0.6377 | 0.7129 | 0.6554 | 0.7944 | 0.4101 | 0.2802 | 0.6011
34.4764 | 34:29 | 0.0411 | 0.6464 | 0.7303 | 0.671 | 0.8208 | 0.4103 | 0.2777 | 0.6113
34.7267 | 34:44 | 0.0431 | 0.6573 | 0.7483 | 0.6843 | 0.8491 | 0.4052 | 0.2722 | 0.6252
34.9769 | 34:59 | 0.0424 | 0.6652 | 0.7671 | 0.7064 | 0.8831 | 0.4034 | 0.2699 | 0.6371
35.2272 | 35:14 | 0.038 | 0.6763 | 0.7938 | 0.7274 | 0.9103 | 0.3964 | 0.2691 | 0.6408
35.4775 | 35:29 | 0.0377 | 0.6867 | 0.8161 | 0.7487 | 0.9389 | 0.3937 | 0.2652 | 0.6524
35.7278 | 35:44 | 0.0394 | 0.695 | 0.8394 | 0.7644 | 0.9694 | 0.3908 | 0.26 | 0.6666
35.9781 | 35:59 | 0.0393 | 0.6997 | 0.8624 | 0.7893 | 1.0064 | 0.3942 | 0.2589 | 0.6817
36.2283 | 36:14 | 0.0413 | 0.7101 | 0.8872 | 0.8133 | 1.0384 | 0.3928 | 0.2545 | 0.6966
36.4786 | 36:29 | 0.0387 | 0.7208 | 0.9118 | 0.8366 | 1.0639 | 0.3912 | 0.2518 | 0.705
36.7289 | 36:44 | 0.043 | 0.7343 | 0.9348 | 0.8574 | 1.0971 | 0.3884 | 0.2454 | 0.7241
36.9792 | 36:59 | 0.0418 | 0.7456 | 0.9637 | 0.8807 | 1.1238 | 0.3843 | 0.2417 | 0.7346
37.2294 | 37:14 | 0.0401 | 0.753 | 0.9932 | 0.9128 | 1.1471 | 0.3853 | 0.2393 | 0.7451
37.4797 | 37:29 | 0.0418 | 0.768 | 1.0166 | 0.9352 | 1.1753 | 0.3782 | 0.2318 | 0.7588
37.73 | 37:44 | 0.0389 | 0.7787 | 1.0504 | 0.9597 | 1.2005 | 0.3769 | 0.2296 | 0.7667
37.9803 | 37:59 | 0.0433 | 0.7887 | 1.0779 | 0.9908 | 1.2287 | 0.3786 | 0.2206 | 0.7843
38.2306 | 38:14 | 0.0417 | 0.7955 | 1.1115 | 1.0141 | 1.2505 | 0.3774 | 0.2188 | 0.794
38.4806 | 38:29 | 0.0389 | 0.8122 | 1.1405 | 1.0387 | 1.2719 | 0.3729 | 0.2152 | 0.8027
38.7308 | 38:44 | 0.0411 | 0.8191 | 1.1709 | 1.0676 | 1.2983 | 0.3681 | 0.2088 | 0.8175
38.9811 | 38:59 | 0.043 | 0.8299 | 1.2011 | 1.0962 | 1.3199 | 0.3652 | 0.2011 | 0.8346
39.2314 | 39:14 | 0.0431 | 0.8408 | 1.2295 | 1.1217 | 1.3424 | 0.3643 | 0.1964 | 0.8448
39.4817 | 39:29 | 0.0429 | 0.8507 | 1.2592 | 1.1488 | 1.3616 | 0.3612 | 0.1921 | 0.856
39.7319 | 39:44 | 0.0409 | 0.863 | 1.2896 | 1.1724 | 1.3774 | 0.3604 | 0.1877 | 0.8669
39.9822 | 39:59 | 0.0449 | 0.8757 | 1.3228 | 1.1995 | 1.3917 | 0.3545 | 0.1813 | 0.8845
40.2325 | 40:14 | 0.045 | 0.8875 | 1.355 | 1.2223 | 1.4054 | 0.3515 | 0.1747 | 0.8964
40.4828 | 40:29 | 0.0418 | 0.9001 | 1.3843 | 1.2495 | 1.4212 | 0.3515 | 0.1713 | 0.9031
40.7331 | 40:44 | 0.0441 | 0.9123 | 1.4203 | 1.2719 | 1.4283 | 0.3495 | 0.1621 | 0.9195
40.9833 | 40:59 | 0.0432 | 0.9306 | 1.4506 | 1.3021 | 1.4399 | 0.3445 | 0.1591 | 0.9292
41.2336 | 41:14 | 0.0431 | 0.9474 | 1.4803 | 1.3286 | 1.4463 | 0.341 | 0.1531 | 0.9432
41.4839 | 41:29 | 0.0443 | 0.9633 | 1.5102 | 1.3549 | 1.4497 | 0.3364 | 0.1471 | 0.9588
41.7342 | 41:44 | 0.0422 | 0.9704 | 1.5374 | 1.3735 | 1.4468 | 0.34 | 0.139 | 0.9693
41.9844 | 41:59 | 0.041 | 0.9871 | 1.5675 | 1.4034 | 1.4469 | 0.3362 | 0.137 | 0.9763
42.2347 | 42:14 | 0.0461 | 1.0041 | 1.6016 | 1.4316 | 1.4501 | 0.329 | 0.1319 | 0.996
42.485 | 42:29 | 0.0452 | 1.0216 | 1.6295 | 1.4566 | 1.4483 | 0.3259 | 0.1261 | 1.0066
42.7353 | 42:44 | 0.0422 | 1.0328 | 1.6576 | 1.484 | 1.4404 | 0.3277 | 0.1187 | 1.0158
42.9856 | 42:59 | 0.0444 | 1.0438 | 1.6784 | 1.5035 | 1.4353 | 0.325 | 0.113 | 1.0312
43.2358 | 43:14 | 0.0453 | 1.0624 | 1.7147 | 1.5272 | 1.4286 | 0.3233 | 0.1093 | 1.0491
43.4861 | 43:29 | 0.0427 | 1.069 | 1.7424 | 1.5516 | 1.4136 | 0.3228 | 0.1023 | 1.0513
43.7364 | 43:44 | 0.0455 | 1.0892 | 1.7655 | 1.5663 | 1.4082 | 0.3172 | 0.0966 | 1.0689
43.9867 | 43:59 | 0.0445 | 1.1048 | 1.7886 | 1.5939 | 1.3915 | 0.3177 | 0.0915 | 1.0823
44.2369 | 44:14 | 0.0434 | 1.12 | 1.8223 | 1.6167 | 1.3744 | 0.3171 | 0.088 | 1.0938
44.4872 | 44:29 | 0.0421 | 1.137 | 1.8509 | 1.6398 | 1.3552 | 0.3145 | 0.084 | 1.1058
44.7375 | 44:44 | 0.0471 | 1.1556 | 1.8718 | 1.6599 | 1.3463 | 0.3075 | 0.0826 | 1.1244
44.9878 | 44:59 | 0.0455 | 1.1733 | 1.9048 | 1.6838 | 1.3261 | 0.3076 | 0.0797 | 1.1331
45.2381 | 45:14 | 0.047 | 1.1882 | 1.9244 | 1.7053 | 1.3099 | 0.3019 | 0.0764 | 1.1495
45.4883 | 45:29 | 0.0468 | 1.2043 | 1.9491 | 1.7253 | 1.2908 | 0.3002 | 0.0753 | 1.1641
45.7386 | 45:44 | 0.044 | 1.2137 | 1.9771 | 1.7495 | 1.2664 | 0.3003 | 0.0706 | 1.1734
45.9889 | 45:59 | 0.0461 | 1.2284 | 1.9976 | 1.7714 | 1.2424 | 0.2964 | 0.0704 | 1.188
46.2392 | 46:14 | 0.0481 | 1.2471 | 2.0218 | 1.7829 | 1.2165 | 0.2965 | 0.0697 | 1.2077
46.4894 | 46:29 | 0.0461 | 1.2574 | 2.0471 | 1.8051 | 1.1924 | 0.2971 | 0.0676 | 1.2198
46.7397 | 46:44 | 0.0449 | 1.2662 | 2.0719 | 1.827 | 1.1746 | 0.2956 | 0.0652 | 1.2315
46.99 | 46:59 | 0.0482 | 1.2906 | 2.0884 | 1.8461 | 1.1469 | 0.2933 | 0.068 | 1.2459
47.2403 | 47:14 | 0.0463 | 1.2998 | 2.1124 | 1.8629 | 1.1229 | 0.2929 | 0.0669 | 1.2592
47.4906 | 47:29 | 0.0451 | 1.3087 | 2.1357 | 1.889 | 1.1056 | 0.2882 | 0.065 | 1.2672
47.7408 | 47:44 | 0.0454 | 1.3208 | 2.1549 | 1.9068 | 1.0838 | 0.2847 | 0.066 | 1.2845
47.9911 | 47:59 | 0.049 | 1.3374 | 2.1704 | 1.9278 | 1.0551 | 0.2825 | 0.0693 | 1.2995
48.2414 | 48:14 | 0.0465 | 1.3493 | 2.1953 | 1.9407 | 1.0333 | 0.2801 | 0.069 | 1.3131
48.4917 | 48:29 | 0.045 | 1.361 | 2.2188 | 1.9573 | 1.0157 | 0.2795 | 0.0687 | 1.3313
48.7419 | 48:45 | 0.0451 | 1.3707 | 2.241 | 1.9739 | 0.995 | 0.2784 | 0.0703 | 1.3433
48.9922 | 49:00 | 0.0471 | 1.39 | 2.265 | 1.9911 | 0.9723 | 0.2739 | 0.0726 | 1.3606
49.2425 | 49:15 | 0.0492 | 1.4024 | 2.2812 | 2.0029 | 0.9532 | 0.2758 | 0.0774 | 1.3816
49.4928 | 49:30 | 0.0494 | 1.4205 | 2.3111 | 2.0225 | 0.9334 | 0.2732 | 0.0798 | 1.3983
49.7431 | 49:45 | 0.046 | 1.4315 | 2.3371 | 2.038 | 0.9129 | 0.2673 | 0.0809 | 1.4113
49.9933 | 50:00 | 0.0463 | 1.4451 | 2.3634 | 2.0482 | 0.8945 | 0.2665 | 0.0819 | 1.4264
50.2436 | 50:15 | 0.0497 | 1.4623 | 2.3848 | 2.0698 | 0.8738 | 0.2663 | 0.09 | 1.4437
50.4939 | 50:30 | 0.0447 | 1.4591 | 2.3933 | 2.0704 | 0.8543 | 0.2635 | 0.0904 | 1.4498
50.7442 | 50:45 | 0.0496 | 1.4816 | 2.4109 | 2.0854 | 0.8399 | 0.2643 | 0.0975 | 1.473
50.9944 | 51:00 | 0.0467 | 1.4934 | 2.4394 | 2.0951 | 0.8226 | 0.2614 | 0.1007 | 1.4872
51.2447 | 51:15 | 0.0501 | 1.5227 | 2.4694 | 2.1221 | 0.8066 | 0.261 | 0.1074 | 1.5131
51.495 | 51:30 | 0.05 | 1.5423 | 2.4997 | 2.1386 | 0.7919 | 0.2612 | 0.113 | 1.539
51.7453 | 51:45 | 0.0493 | 1.5585 | 2.525 | 2.15 | 0.7757 | 0.2588 | 0.1164 | 1.5622
51.9956 | 52:00 | 0.0499 | 1.5754 | 2.5551 | 2.1673 | 0.7588 | 0.2561 | 0.1216 | 1.5765
52.2458 | 52:15 | 0.05 | 1.5853 | 2.5707 | 2.1786 | 0.7448 | 0.2569 | 0.1267 | 1.5944
52.4961 | 52:30 | 0.0479 | 1.5926 | 2.5929 | 2.1883 | 0.7265 | 0.2524 | 0.1309 | 1.6084
52.7464 | 52:45 | 0.0451 | 1.6046 | 2.6067 | 2.1914 | 0.709 | 0.2488 | 0.1365 | 1.6281
52.9967 | 53:00 | 0.0469 | 1.6148 | 2.6259 | 2.201 | 0.6953 | 0.2455 | 0.1408 | 1.6495
53.2469 | 53:15 | 0.0468 | 1.6188 | 2.6316 | 2.2056 | 0.6792 | 0.2458 | 0.1488 | 1.6692
53.4972 | 53:30 | 0.0484 | 1.6387 | 2.6522 | 2.2203 | 0.6674 | 0.2433 | 0.1546 | 1.6813
53.7475 | 53:45 | 0.0464 | 1.6502 | 2.666 | 2.2244 | 0.6527 | 0.2373 | 0.1604 | 1.7032
53.9978 | 54:00 | 0.0501 | 1.6726 | 2.6914 | 2.2413 | 0.6425 | 0.2417 | 0.1705 | 1.7254
54.2478 | 54:15 | 0.049 | 1.6946 | 2.7081 | 2.2523 | 0.6279 | 0.2402 | 0.1789 | 1.7579
54.4981 | 54:30 | 0.0499 | 1.7205 | 2.7275 | 2.2621 | 0.6154 | 0.2397 | 0.1866 | 1.7846
54.7483 | 54:45 | 0.0503 | 1.7374 | 2.7447 | 2.2702 | 0.6042 | 0.2368 | 0.1934 | 1.8067
54.9986 | 55:00 | 0.0483 | 1.7504 | 2.7568 | 2.272 | 0.5915 | 0.2358 | 0.202 | 1.8304
55.2489 | 55:15 | 0.0491 | 1.7556 | 2.7696 | 2.2791 | 0.572 | 0.233 | 0.211 | 1.8593
55.4992 | 55:30 | 0.0461 | 1.7793 | 2.7801 | 2.2777 | 0.567 | 0.2301 | 0.2168 | 1.8772
55.7494 | 55:45 | 0.0464 | 1.7858 | 2.7875 | 2.2811 | 0.5506 | 0.2253 | 0.2258 | 1.9031
55.9997 | 56:00 | 0.0461 | 1.8019 | 2.7946 | 2.2826 | 0.5406 | 0.2226 | 0.2342 | 1.9263
56.25 | 56:15 | 0.0503 | 1.8064 | 2.8075 | 2.2858 | 0.5236 | 0.2248 | 0.2456 | 1.9475
56.5003 | 56:30 | 0.0458 | 1.8294 | 2.8087 | 2.2817 | 0.5166 | 0.2199 | 0.2505 | 1.9703
56.7506 | 56:45 | 0.0466 | 1.8397 | 2.8148 | 2.2826 | 0.507 | 0.2195 | 0.2608 | 1.9874
57.0008 | 57:00 | 0.0493 | 1.8534 | 2.8259 | 2.2898 | 0.4956 | 0.2194 | 0.2699 | 2.0032
57.2511 | 57:15 | 0.0479 | 1.8719 | 2.8262 | 2.287 | 0.4851 | 0.2155 | 0.2792 | 2.0235
57.5014 | 57:30 | 0.0509 | 1.879 | 2.8336 | 2.2894 | 0.4687 | 0.2142 | 0.2943 | 2.0422
57.7517 | 57:45 | 0.0512 | 1.8928 | 2.8331 | 2.2935 | 0.4619 | 0.2137 | 0.3039 | 2.0559
58.0019 | 58:00 | 0.0498 | 1.9025 | 2.8333 | 2.2931 | 0.4501 | 0.2113 | 0.3131 | 2.0737
58.2522 | 58:15 | 0.0486 | 1.9186 | 2.8297 | 2.2855 | 0.4456 | 0.2073 | 0.3239 | 2.1008
58.5025 | 58:30 | 0.0489 | 1.9327 | 2.8279 | 2.2889 | 0.4325 | 0.2047 | 0.3336 | 2.1203
58.7525 | 58:45 | 0.0478 | 1.9459 | 2.8295 | 2.2796 | 0.4257 | 0.2052 | 0.3468 | 2.1411
59.0028 | 59:00 | 0.0491 | 1.9597 | 2.8272 | 2.2788 | 0.4139 | 0.2001 | 0.3591 | 2.1557
59.2531 | 59:15 | 0.048 | 1.9761 | 2.8276 | 2.2737 | 0.4044 | 0.1969 | 0.3707 | 2.1736
59.5033 | 59:30 | 0.0519 | 1.9883 | 2.8308 | 2.2741 | 0.3912 | 0.2006 | 0.3786 | 2.1809
59.7536 | 59:45 | 0.0505 | 1.9984 | 2.8264 | 2.2659 | 0.3848 | 0.1953 | 0.392 | 2.1967
60.0039 | 60:00 | 0.0519 | 2.0136 | 2.8218 | 2.2592 | 0.3756 | 0.1955 | 0.4023 | 2.2106
60.2542 | 60:15 | 0.0472 | 2.0319 | 2.8161 | 2.2481 | 0.3726 | 0.1905 | 0.415 | 2.2352
60.5044 | 60:30 | 0.0488 | 2.0463 | 2.808 | 2.245 | 0.3651 | 0.1928 | 0.425 | 2.2497
60.7547 | 60:45 | 0.0526 | 2.0528 | 2.803 | 2.2406 | 0.3552 | 0.1888 | 0.4365 | 2.2613
61.005 | 61:00 | 0.048 | 2.0695 | 2.7935 | 2.2207 | 0.3506 | 0.1868 | 0.4509 | 2.2786
61.255 | 61:15 | 0.0504 | 2.0882 | 2.7915 | 2.2093 | 0.3413 | 0.1827 | 0.4609 | 2.285
61.5053 | 61:30 | 0.0496 | 2.1104 | 2.7846 | 2.1984 | 0.3358 | 0.1804 | 0.4716 | 2.2946
61.7556 | 61:45 | 0.0509 | 2.123 | 2.7765 | 2.1929 | 0.3261 | 0.1796 | 0.4817 | 2.3001
62.0058 | 62:00 | 0.0492 | 2.1341 | 2.7747 | 2.1855 | 0.3204 | 0.1806 | 0.4952 | 2.3148
62.2561 | 62:15 | 0.0523 | 2.149 | 2.7697 | 2.1667 | 0.3113 | 0.1805 | 0.5051 | 2.3224
62.5064 | 62:30 | 0.0521 | 2.1554 | 2.7565 | 2.1526 | 0.3078 | 0.1754 | 0.5177 | 2.3353
62.7567 | 62:45 | 0.0498 | 2.1703 | 2.7465 | 2.1464 | 0.2996 | 0.1764 | 0.5313 | 2.3446
63.0069 | 63:00 | 0.0531 | 2.1799 | 2.7293 | 2.1371 | 0.2948 | 0.1728 | 0.5404 | 2.348
63.2572 | 63:15 | 0.0511 | 2.1863 | 2.7194 | 2.1167 | 0.291 | 0.1678 | 0.5543 | 2.3595
63.5075 | 63:30 | 0.0482 | 2.191 | 2.71 | 2.1115 | 0.2824 | 0.1706 | 0.5694 | 2.3658
63.7578 | 63:45 | 0.0513 | 2.2 | 2.696 | 2.1018 | 0.2738 | 0.1704 | 0.5807 | 2.3688
64.0081 | 64:00 | 0.0489 | 2.223 | 2.6838 | 2.0881 | 0.2699 | 0.168 | 0.5931 | 2.3785
64.2583 | 64:16 | 0.0494 | 2.2406 | 2.6729 | 2.0777 | 0.2652 | 0.1651 | 0.6068 | 2.3837
64.5086 | 64:31 | 0.0498 | 2.2592 | 2.6564 | 2.0617 | 0.2625 | 0.1602 | 0.6165 | 2.3929
64.7589 | 64:46 | 0.0508 | 2.2704 | 2.6447 | 2.0474 | 0.258 | 0.1592 | 0.6259 | 2.3974
65.0092 | 65:01 | 0.0518 | 2.2739 | 2.6365 | 2.0368 | 0.2459 | 0.161 | 0.6406 | 2.3978
65.2594 | 65:16 | 0.0544 | 2.2869 | 2.6207 | 2.0199 | 0.2442 | 0.1589 | 0.6493 | 2.3998
65.5097 | 65:31 | 0.0542 | 2.3097 | 2.6004 | 2.0023 | 0.2392 | 0.1538 | 0.659 | 2.4065
65.76 | 65:46 | 0.053 | 2.3112 | 2.5907 | 1.9957 | 0.2336 | 0.1553 | 0.671 | 2.4078
66.01 | 66:01 | 0.0513 | 2.3325 | 2.5638 | 1.9788 | 0.2294 | 0.1517 | 0.679 | 2.419
66.2603 | 66:16 | 0.053 | 2.3339 | 2.544 | 1.9676 | 0.2257 | 0.1479 | 0.6869 | 2.4211
66.5106 | 66:31 | 0.054 | 2.3376 | 2.529 | 1.952 | 0.2198 | 0.1466 | 0.6981 | 2.4203
66.7608 | 66:46 | 0.0496 | 2.3397 | 2.514 | 1.9459 | 0.2114 | 0.149 | 0.7095 | 2.4255
67.0111 | 67:01 | 0.0538 | 2.3517 | 2.489 | 1.9264 | 0.2117 | 0.1455 | 0.7181 | 2.4195
67.2614 | 67:16 | 0.0494 | 2.36 | 2.4732 | 1.915 | 0.203 | 0.1465 | 0.728 | 2.4278
67.5117 | 67:31 | 0.0524 | 2.3751 | 2.4503 | 1.8983 | 0.2039 | 0.1395 | 0.7351 | 2.4325
67.7619 | 67:46 | 0.0494 | 2.3954 | 2.436 | 1.8869 | 0.1961 | 0.1401 | 0.7464 | 2.4345
68.0122 | 68:01 | 0.0547 | 2.4029 | 2.4162 | 1.8681 | 0.1938 | 0.1369 | 0.7543 | 2.4309
68.2625 | 68:16 | 0.0499 | 2.4069 | 2.3957 | 1.8571 | 0.1861 | 0.1398 | 0.7637 | 2.439
68.5128 | 68:31 | 0.0523 | 2.4152 | 2.3688 | 1.8374 | 0.1848 | 0.1336 | 0.7675 | 2.4394
68.7631 | 68:46 | 0.0515 | 2.4296 | 2.3468 | 1.8209 | 0.1805 | 0.1336 | 0.7761 | 2.4438
69.0133 | 69:01 | 0.0506 | 2.4329 | 2.3302 | 1.8049 | 0.1758 | 0.1338 | 0.7878 | 2.4397
69.2636 | 69:16 | 0.0528 | 2.4395 | 2.3047 | 1.7864 | 0.1733 | 0.1315 | 0.7914 | 2.4368
69.5139 | 69:31 | 0.051 | 2.4398 | 2.2878 | 1.775 | 0.1692 | 0.1306 | 0.7995 | 2.4343
69.7642 | 69:46 | 0.0547 | 2.451 | 2.2663 | 1.7569 | 0.1683 | 0.1244 | 0.8053 | 2.4364
70.0144 | 70:01 | 0.0518 | 2.4584 | 2.2514 | 1.746 | 0.1618 | 0.1262 | 0.809 | 2.448
70.2647 | 70:16 | 0.0534 | 2.4711 | 2.2309 | 1.7249 | 0.1601 | 0.1227 | 0.8152 | 2.4409
70.515 | 70:31 | 0.0514 | 2.4886 | 2.214 | 1.7156 | 0.1552 | 0.1228 | 0.8179 | 2.448
70.7653 | 70:46 | 0.0547 | 2.5014 | 2.1912 | 1.6962 | 0.1544 | 0.1172 | 0.823 | 2.4484
71.0156 | 71:01 | 0.053 | 2.5076 | 2.1682 | 1.6728 | 0.1512 | 0.1176 | 0.832 | 2.4428
71.2658 | 71:16 | 0.0541 | 2.5243 | 2.1503 | 1.6596 | 0.1478 | 0.1146 | 0.8338 | 2.4488
71.5161 | 71:31 | 0.0556 | 2.5239 | 2.1254 | 1.6403 | 0.1435 | 0.1121 | 0.8374 | 2.4477
71.7664 | 71:46 | 0.0515 | 2.5255 | 2.1001 | 1.6233 | 0.139 | 0.1154 | 0.8443 | 2.4388
72.0167 | 72:01 | 0.0542 | 2.5332 | 2.0769 | 1.6071 | 0.1395 | 0.1121 | 0.848 | 2.4381
72.2669 | 72:16 | 0.0508 | 2.5338 | 2.058 | 1.5904 | 0.1346 | 0.1133 | 0.8518 | 2.4354
72.5172 | 72:31 | 0.0515 | 2.5356 | 2.0413 | 1.5784 | 0.1295 | 0.1096 | 0.8528 | 2.4412
72.7675 | 72:46 | 0.0512 | 2.548 | 2.0126 | 1.5556 | 0.1294 | 0.1088 | 0.8626 | 2.4316
73.0178 | 73:01 | 0.0513 | 2.5626 | 1.9923 | 1.5353 | 0.1264 | 0.1075 | 0.8637 | 2.4302
73.2681 | 73:16 | 0.0544 | 2.5686 | 1.9756 | 1.5241 | 0.1221 | 0.1037 | 0.8602 | 2.4367
73.5183 | 73:31 | 0.0515 | 2.5706 | 1.9464 | 1.5059 | 0.12 | 0.1036 | 0.8672 | 2.4243
73.7686 | 73:46 | 0.0529 | 2.5825 | 1.9297 | 1.49 | 0.1201 | 0.1024 | 0.871 | 2.4245
74.0189 | 74:01 | 0.0547 | 2.5908 | 1.9127 | 1.4752 | 0.1196 | 0.0979 | 0.8743 | 2.4298
74.2692 | 74:16 | 0.0498 | 2.5951 | 1.8869 | 1.4509 | 0.1124 | 0.101 | 0.8745 | 2.4194
74.5194 | 74:31 | 0.0544 | 2.6026 | 1.867 | 1.4406 | 0.1155 | 0.0968 | 0.8766 | 2.4175
74.7697 | 74:46 | 0.0529 | 2.5946 | 1.8457 | 1.4196 | 0.1124 | 0.096 | 0.8771 | 2.4129
75.02 | 75:01 | 0.0504 | 2.5979 | 1.8207 | 1.3978 | 0.1086 | 0.0964 | 0.877 | 2.4092
75.2703 | 75:16 | 0.0549 | 2.5923 | 1.8083 | 1.3833 | 0.1069 | 0.0907 | 0.8727 | 2.4086
75.5206 | 75:31 | 0.0532 | 2.5946 | 1.7829 | 1.3648 | 0.1038 | 0.0927 | 0.8716 | 2.4076
75.7706 | 75:46 | 0.0557 | 2.5923 | 1.7646 | 1.3511 | 0.1065 | 0.0873 | 0.8762 | 2.4078
76.0208 | 76:01 | 0.0538 | 2.6093 | 1.7425 | 1.333 | 0.1026 | 0.0879 | 0.8793 | 2.4036
76.2711 | 76:16 | 0.0554 | 2.63 | 1.7229 | 1.3168 | 0.1031 | 0.0852 | 0.8756 | 2.4037
76.5214 | 76:31 | 0.0491 | 2.6384 | 1.6975 | 1.3024 | 0.0974 | 0.087 | 0.8792 | 2.3926
76.7717 | 76:46 | 0.0552 | 2.6419 | 1.6859 | 1.289 | 0.0984 | 0.0806 | 0.8776 | 2.3943

## Well Graph
Auto Scale
Maximum: | 0
Minimize: | 0
Time Points(s) | A1 | A2 | A3 | A4 | A5 | A6 | B1 | B2 | B3 | B4 | B5 | B6 | C1 | C2 | C3 | C4 | C5 | C6 | D1 | D2 | D3 | D4 | D5 | D6 | E1 | E2 | E3 | E4 | E5 | E6 | F1 | F2 | F3 | F4 | F5 | F6 | G1 | G2 | G3 | G4 | G5 | G6 | H1 | H2 | H3 | H4 | H5 | H6
1
2
3
4
5
6
7
8
9
10
11
12
A
B
C
D
E
F
G
H

## Message
Time | ID | Message
2024-12-12 11:43 | m06 | Abort Step [Seq.2]. Time interval: 76:59:12
2024-12-10 11:57 | m04 | Continue Experiment.
2024-12-10 11:57 | m21 | Plate Scanned. Connections ok.
2024-12-10 11:57 | m31 | Scan Plate (auto). (D3)
2024-12-10 11:57 | m91 | Engage Device. (D3)
2024-12-10 11:42 | w11 | No Device! (D3)
2024-12-10 11:42 | m03 | Pause Experiment. Time interval: 28:57:56
2024-12-09 10:16 | m05 | Start Step [Seq.2]. Time interval: 3:32:07
2024-12-09 10:12 | m21 | Plate Scanned. Connections ok.
2024-12-09 10:12 | m31 | Scan Plate (auto). (D3)
2024-12-09 10:12 | m91 | Engage Device. (D3)
2024-12-09 09:59 | w11 | No Device! (D3)
2024-12-09 06:44 | m07 | Finish Step [Seq.1]. Time interval: 0:00:07
2024-12-09 06:44 | m00 | Measure Background. Selected wells are ok.
2024-12-09 06:44 | m22 | Experiment Started. RTCA Software 1.2.1.1002
2024-12-09 06:44 | m02 | Start Experiment.
2024-12-09 06:40 | m21 | Plate Scanned. Connections ok.
2024-12-09 06:40 | m31 | Scan Plate (auto). (D3)
2024-12-09 06:40 | m91 | Engage Device. (D3)

## Well Graph Hide (hidden)
A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12